## Data
computer_timestamp | elapsed_seconds | elapsed_minutes | sample_number | arduino_millis | raw_adc | raw_sd | voltage | ph | delta_ph | ph_change_from_previous | ph_rate_from_previous_per_min
2026-07-24T13:15:59.307-04:00 | 0.281 | 0.0046833 | 1 | 3190195 | 317.48 | 0.5728 | 1.5517 | 6.8752 | 0 | 0
2026-07-24T13:16:04.299-04:00 | 5.281 | 0.088017 | 2 | 3195195 | 315.64 | 0.476 | 1.5427 | 6.9272 | 0.05204 | 0.05204 | 0.62448
2026-07-24T13:16:09.290-04:00 | 10.265 | 0.17108 | 3 | 3200195 | 329.6 | 6.2224 | 1.6109 | 6.5324 | -0.34277 | -0.39481 | -4.7529
2026-07-24T13:16:14.295-04:00 | 15.281 | 0.25468 | 4 | 3205195 | 349.8 | 16.7047 | 1.7097 | 5.9611 | -0.91405 | -0.57128 | -6.8335
2026-07-24T13:16:19.287-04:00 | 20.265 | 0.33775 | 5 | 3210194 | 325.8 | 0.405 | 1.5924 | 6.6399 | -0.2353 | 0.67875 | 8.1711
2026-07-24T13:16:24.293-04:00 | 25.265 | 0.42108 | 6 | 3215195 | 336.48 | 1.6979 | 1.6446 | 6.3378 | -0.53734 | -0.30204 | -3.6245
2026-07-24T13:16:29.286-04:00 | 30.265 | 0.50442 | 7 | 3220195 | 326.6 | 0.4841 | 1.5963 | 6.6173 | -0.25792 | 0.27942 | 3.353
2026-07-24T13:16:34.275-04:00 | 35.25 | 0.5875 | 8 | 3225195 | 329.52 | 0.5796 | 1.6106 | 6.5347 | -0.3405 | -0.08258 | -0.99394
2026-07-24T13:16:39.283-04:00 | 40.265 | 0.67108 | 9 | 3230195 | 331.64 | 0.4677 | 1.6209 | 6.4747 | -0.40046 | -0.05996 | -0.71737
2026-07-24T13:16:44.273-04:00 | 45.25 | 0.75417 | 10 | 3235195 | 333.52 | 0.5796 | 1.6301 | 6.4215 | -0.45363 | -0.05317 | -0.63996
2026-07-24T13:16:49.265-04:00 | 50.25 | 0.8375 | 11 | 3240195 | 335.68 | 0.552 | 1.6407 | 6.3605 | -0.51472 | -0.06109 | -0.73308
2026-07-24T13:16:54.272-04:00 | 55.25 | 0.92083 | 12 | 3245195 | 338.04 | 0.5929 | 1.6522 | 6.2937 | -0.58146 | -0.06674 | -0.80088
2026-07-24T13:16:59.262-04:00 | 60.234 | 1.0039 | 13 | 3250195 | 340.88 | 0.4239 | 1.6661 | 6.2134 | -0.66178 | -0.08032 | -0.96693
2026-07-24T13:17:04.270-04:00 | 65.25 | 1.0875 | 14 | 3255195 | 343.32 | 0.5449 | 1.678 | 6.1444 | -0.73079 | -0.06901 | -0.82548
2026-07-24T13:17:09.261-04:00 | 70.234 | 1.1706 | 15 | 3260195 | 345.88 | 0.3187 | 1.6905 | 6.072 | -0.80319 | -0.0724 | -0.87159
2026-07-24T13:17:14.251-04:00 | 75.234 | 1.2539 | 16 | 3265195 | 348.84 | 0.5449 | 1.705 | 5.9883 | -0.8869 | -0.08371 | -1.0045
2026-07-24T13:17:19.259-04:00 | 80.234 | 1.3372 | 17 | 3270195 | 351.56 | 0.5 | 1.7183 | 5.9113 | -0.96383 | -0.07693 | -0.92316
2026-07-24T13:17:24.249-04:00 | 85.234 | 1.4206 | 18 | 3275195 | 355 | 0.3953 | 1.7351 | 5.8141 | -1.0611 | -0.09729 | -1.1675
2026-07-24T13:17:29.256-04:00 | 90.234 | 1.5039 | 19 | 3280195 | 361.48 | 1.3863 | 1.7668 | 5.6308 | -1.2444 | -0.18326 | -2.1991
2026-07-24T13:17:34.247-04:00 | 95.234 | 1.5872 | 20 | 3285195 | 364.12 | 0.5154 | 1.7797 | 5.5561 | -1.319 | -0.07466 | -0.89592
2026-07-24T13:17:39.238-04:00 | 100.219 | 1.6703 | 21 | 3290194 | 369.36 | 0.5 | 1.8053 | 5.4079 | -1.4672 | -0.1482 | -1.7838
2026-07-24T13:17:44.246-04:00 | 105.219 | 1.7536 | 22 | 3295195 | 374.92 | 0.4677 | 1.8325 | 5.2507 | -1.6245 | -0.15725 | -1.887
2026-07-24T13:17:49.236-04:00 | 110.219 | 1.837 | 23 | 3300195 | 380.6 | 0.4841 | 1.8602 | 5.0901 | -1.7851 | -0.16063 | -1.9276
2026-07-24T13:17:54.228-04:00 | 115.203 | 1.92 | 24 | 3305195 | 385.24 | 0.5303 | 1.8829 | 4.9588 | -1.9163 | -0.13123 | -1.5798
2026-07-24T13:17:59.234-04:00 | 120.219 | 2.0036 | 25 | 3310195 | 390.84 | 0.375 | 1.9103 | 4.8004 | -2.0747 | -0.15838 | -1.8945
2026-07-24T13:18:04.225-04:00 | 125.203 | 2.0867 | 26 | 3315195 | 395.8 | 0.5 | 1.9345 | 4.6602 | -2.215 | -0.14027 | -1.6886
2026-07-24T13:18:09.217-04:00 | 130.203 | 2.17 | 27 | 3320195 | 400.08 | 0.3953 | 1.9554 | 4.5391 | -2.3361 | -0.12105 | -1.4526
2026-07-24T13:18:14.224-04:00 | 135.203 | 2.2534 | 28 | 3325195 | 404.12 | 0.5863 | 1.9752 | 4.4249 | -2.4503 | -0.11425 | -1.371
2026-07-24T13:18:19.214-04:00 | 140.187 | 2.3364 | 29 | 3330195 | 408.32 | 0.4507 | 1.9957 | 4.3061 | -2.5691 | -0.11879 | -1.4301
2026-07-24T13:18:24.221-04:00 | 145.203 | 2.42 | 30 | 3335195 | 411.8 | 0.5 | 2.0127 | 4.2077 | -2.6675 | -0.09842 | -1.1773
2026-07-24T13:18:29.213-04:00 | 150.187 | 2.5031 | 31 | 3340195 | 415.36 | 0.4841 | 2.0301 | 4.107 | -2.7682 | -0.10068 | -1.212
2026-07-24T13:18:34.203-04:00 | 155.187 | 2.5864 | 32 | 3345195 | 418.96 | 0.5449 | 2.0477 | 4.0052 | -2.87 | -0.10181 | -1.2217
2026-07-24T13:18:39.209-04:00 | 160.187 | 2.6698 | 33 | 3350195 | 421.32 | 0.6124 | 2.0592 | 3.9384 | -2.9367 | -0.06674 | -0.80088
2026-07-24T13:18:44.201-04:00 | 165.187 | 2.7531 | 34 | 3355195 | 423.52 | 0.5728 | 2.07 | 3.8762 | -2.999 | -0.06222 | -0.74664
2026-07-24T13:18:49.207-04:00 | 170.187 | 2.8364 | 35 | 3360195 | 425.12 | 0.3307 | 2.0778 | 3.831 | -3.0442 | -0.04525 | -0.543
2026-07-24T13:18:54.198-04:00 | 175.172 | 2.9195 | 36 | 3365195 | 426.64 | 0.5449 | 2.0852 | 3.788 | -3.0872 | -0.04299 | -0.51743
2026-07-24T13:18:59.189-04:00 | 180.172 | 3.0029 | 37 | 3370194 | 428.08 | 0.3062 | 2.0923 | 3.7473 | -3.1279 | -0.04073 | -0.48876
2026-07-24T13:19:04.196-04:00 | 185.172 | 3.0862 | 38 | 3375195 | 429.36 | 0.4841 | 2.0985 | 3.7111 | -3.1641 | -0.0362 | -0.4344
2026-07-24T13:19:09.187-04:00 | 190.172 | 3.1695 | 39 | 3380195 | 430.88 | 0.5154 | 2.106 | 3.6681 | -3.2071 | -0.04299 | -0.51588
2026-07-24T13:19:14.178-04:00 | 195.156 | 3.2526 | 40 | 3385195 | 432.12 | 0.433 | 2.112 | 3.633 | -3.2422 | -0.03506 | -0.42207
2026-07-24T13:19:19.185-04:00 | 200.172 | 3.3362 | 41 | 3390195 | 433.2 | 0.3953 | 2.1173 | 3.6025 | -3.2727 | -0.03055 | -0.36543
2026-07-24T13:19:24.177-04:00 | 205.156 | 3.4193 | 42 | 3395195 | 433.92 | 0.5449 | 2.1208 | 3.5821 | -3.2931 | -0.02036 | -0.2451
2026-07-24T13:19:29.182-04:00 | 210.156 | 3.5026 | 43 | 3400195 | 435.08 | 0.4146 | 2.1265 | 3.5493 | -3.3259 | -0.03281 | -0.39372
2026-07-24T13:19:34.174-04:00 | 215.156 | 3.5859 | 44 | 3405195 | 435.88 | 0.433 | 2.1304 | 3.5267 | -3.3485 | -0.02262 | -0.27144
2026-07-24T13:19:39.165-04:00 | 220.14 | 3.669 | 45 | 3410195 | 437.6 | 0.559 | 2.1388 | 3.478 | -3.3972 | -0.04865 | -0.58567
2026-07-24T13:19:44.172-04:00 | 225.156 | 3.7526 | 46 | 3415195 | 438.16 | 0.3536 | 2.1415 | 3.4622 | -3.413 | -0.01583 | -0.18935
2026-07-24T13:19:49.162-04:00 | 230.14 | 3.8357 | 47 | 3420195 | 438.76 | 0.5 | 2.1445 | 3.4452 | -3.43 | -0.01697 | -0.20429
2026-07-24T13:19:54.154-04:00 | 235.14 | 3.919 | 48 | 3425195 | 440 | 0.4841 | 2.1505 | 3.4101 | -3.465 | -0.03507 | -0.42084
2026-07-24T13:19:59.161-04:00 | 240.14 | 4.0023 | 49 | 3430195 | 440.08 | 0.5728 | 2.1509 | 3.4079 | -3.4673 | -0.00226 | -0.02712
2026-07-24T13:20:04.152-04:00 | 245.125 | 4.0854 | 50 | 3435195 | 440.36 | 0.4841 | 2.1523 | 3.4 | -3.4752 | -0.00792 | -0.095326
2026-07-24T13:20:09.158-04:00 | 250.14 | 4.169 | 51 | 3440195 | 441.16 | 0.4507 | 2.1562 | 3.3773 | -3.4979 | -0.02263 | -0.27075
2026-07-24T13:20:14.150-04:00 | 255.125 | 4.2521 | 52 | 3445195 | 441.6 | 0.4841 | 2.1584 | 3.3649 | -3.5103 | -0.01244 | -0.14973
2026-07-24T13:20:19.141-04:00 | 260.125 | 4.3354 | 53 | 3450194 | 442.04 | 0.3307 | 2.1605 | 3.3524 | -3.5227 | -0.01245 | -0.1494
2026-07-24T13:20:24.148-04:00 | 265.125 | 4.4188 | 54 | 3455195 | 442.48 | 0.4841 | 2.1627 | 3.34 | -3.5352 | -0.01244 | -0.14928
2026-07-24T13:20:29.139-04:00 | 270.125 | 4.5021 | 55 | 3460195 | 442.76 | 0.5863 | 2.164 | 3.3321 | -3.5431 | -0.00792 | -0.09504
2026-07-24T13:20:34.130-04:00 | 275.109 | 4.5851 | 56 | 3465195 | 442.92 | 0.25 | 2.1648 | 3.3276 | -3.5476 | -0.00453 | -0.054535
2026-07-24T13:20:39.137-04:00 | 280.109 | 4.6685 | 57 | 3470195 | 443.2 | 0.4841 | 2.1662 | 3.3196 | -3.5555 | -0.00791 | -0.09492
2026-07-24T13:20:44.127-04:00 | 285.109 | 4.7518 | 58 | 3475195 | 443.8 | 0.4146 | 2.1691 | 3.3027 | -3.5725 | -0.01697 | -0.20364
2026-07-24T13:20:49.135-04:00 | 290.109 | 4.8351 | 59 | 3480195 | 444.16 | 0.3536 | 2.1709 | 3.2925 | -3.5827 | -0.01018 | -0.12216
2026-07-24T13:20:54.125-04:00 | 295.109 | 4.9185 | 60 | 3485195 | 444.84 | 0.4677 | 2.1742 | 3.2733 | -3.6019 | -0.01923 | -0.23076
2026-07-24T13:20:59.116-04:00 | 300.094 | 5.0016 | 61 | 3490195 | 445.36 | 0.5 | 2.1767 | 3.2586 | -3.6166 | -0.01471 | -0.17705
2026-07-24T13:21:04.123-04:00 | 305.109 | 5.0851 | 62 | 3495195 | 445.16 | 0.375 | 2.1758 | 3.2642 | -3.611 | 0.00565 | 0.067597
2026-07-24T13:21:09.114-04:00 | 310.094 | 5.1682 | 63 | 3500195 | 445.84 | 0.5449 | 2.1791 | 3.245 | -3.6302 | -0.01923 | -0.23145
2026-07-24T13:21:14.105-04:00 | 315.078 | 5.2513 | 64 | 3505195 | 446.84 | 0.375 | 2.184 | 3.2167 | -3.6585 | -0.02828 | -0.34045
2026-07-24T13:21:19.112-04:00 | 320.094 | 5.3349 | 65 | 3510195 | 446.92 | 0.375 | 2.1844 | 3.2144 | -3.6608 | -0.00226 | -0.027033
2026-07-24T13:21:24.104-04:00 | 325.078 | 5.418 | 66 | 3515195 | 447.4 | 0.5 | 2.1867 | 3.2008 | -3.6743 | -0.01358 | -0.16348
2026-07-24T13:21:29.111-04:00 | 330.094 | 5.5016 | 67 | 3520195 | 447.68 | 0.559 | 2.1881 | 3.1929 | -3.6822 | -0.00791 | -0.094617
2026-07-24T13:21:34.101-04:00 | 335.078 | 5.5846 | 68 | 3525195 | 448.04 | 0.1768 | 2.1898 | 3.1827 | -3.6924 | -0.01019 | -0.12267
2026-07-24T13:21:39.092-04:00 | 340.078 | 5.668 | 69 | 3530194 | 448.32 | 0.4677 | 2.1912 | 3.1748 | -3.7003 | -0.00791 | -0.09492
2026-07-24T13:21:44.099-04:00 | 345.078 | 5.7513 | 70 | 3535195 | 449.08 | 0.5728 | 2.1949 | 3.1533 | -3.7218 | -0.0215 | -0.258
2026-07-24T13:21:49.090-04:00 | 350.062 | 5.8344 | 71 | 3540195 | 449.92 | 0.375 | 2.199 | 3.1296 | -3.7456 | -0.02376 | -0.28604
2026-07-24T13:21:54.080-04:00 | 355.062 | 5.9177 | 72 | 3545195 | 450.44 | 0.4841 | 2.2016 | 3.1149 | -3.7603 | -0.0147 | -0.1764
2026-07-24T13:21:59.087-04:00 | 360.062 | 6.001 | 73 | 3550195 | 450.88 | 0.3062 | 2.2037 | 3.1024 | -3.7727 | -0.01244 | -0.14928
2026-07-24T13:22:04.079-04:00 | 365.062 | 6.0844 | 74 | 3555195 | 450.96 | 0.5449 | 2.2041 | 3.1002 | -3.775 | -0.00227 | -0.02724
2026-07-24T13:22:09.086-04:00 | 370.062 | 6.1677 | 75 | 3560195 | 451.4 | 0.5 | 2.2063 | 3.0877 | -3.7875 | -0.01244 | -0.14928
2026-07-24T13:22:14.077-04:00 | 375.062 | 6.251 | 76 | 3565195 | 451.56 | 0.5 | 2.207 | 3.0832 | -3.792 | -0.00453 | -0.05436
2026-07-24T13:22:19.067-04:00 | 380.047 | 6.3341 | 77 | 3570195 | 452.4 | 0.5 | 2.2111 | 3.0595 | -3.8157 | -0.02375 | -0.28586
2026-07-24T13:22:24.074-04:00 | 385.047 | 6.4174 | 78 | 3575195 | 452.32 | 0.6124 | 2.2108 | 3.0617 | -3.8135 | 0.00226 | 0.02712
2026-07-24T13:22:29.065-04:00 | 390.047 | 6.5008 | 79 | 3580195 | 452.56 | 0.5 | 2.2119 | 3.0549 | -3.8203 | -0.00679 | -0.08148
2026-07-24T13:22:34.056-04:00 | 395.031 | 6.5838 | 80 | 3585195 | 453.36 | 0.4841 | 2.2158 | 3.0323 | -3.8429 | -0.02262 | -0.27231
2026-07-24T13:22:39.064-04:00 | 400.047 | 6.6674 | 81 | 3590195 | 453.16 | 0.4677 | 2.2149 | 3.0379 | -3.8372 | 0.00565 | 0.067584
2026-07-24T13:22:44.053-04:00 | 405.031 | 6.7505 | 82 | 3595195 | 451.68 | 1.6677 | 2.2076 | 3.0798 | -3.7954 | 0.04186 | 0.50393
2026-07-24T13:22:49.062-04:00 | 410.047 | 6.8341 | 83 | 3600195 | 445.56 | 0.4841 | 2.1777 | 3.2529 | -3.6223 | 0.17308 | 2.0703
2026-07-24T13:22:54.053-04:00 | 415.031 | 6.9172 | 84 | 3605195 | 445.2 | 0.3953 | 2.176 | 3.2631 | -3.6121 | 0.01018 | 0.12255
2026-07-24T13:22:59.043-04:00 | 420.015 | 7.0002 | 85 | 3610194 | 445.88 | 0.5 | 2.1793 | 3.2438 | -3.6313 | -0.01923 | -0.2315
2026-07-24T13:23:04.050-04:00 | 425.031 | 7.0838 | 86 | 3615195 | 447.04 | 0.5303 | 2.1849 | 3.211 | -3.6641 | -0.0328 | -0.39234
2026-07-24T13:23:09.040-04:00 | 430.015 | 7.1669 | 87 | 3620195 | 447.68 | 0.4677 | 2.1881 | 3.1929 | -3.6822 | -0.0181 | -0.2179
2026-07-24T13:23:14.048-04:00 | 435.031 | 7.2505 | 88 | 3625195 | 447.84 | 0.5449 | 2.1889 | 3.1884 | -3.6868 | -0.00453 | -0.054187
2026-07-24T13:23:19.038-04:00 | 440.015 | 7.3336 | 89 | 3630195 | 448.32 | 0.4677 | 2.1912 | 3.1748 | -3.7003 | -0.01357 | -0.16336
2026-07-24T13:23:24.030-04:00 | 445.015 | 7.4169 | 90 | 3635195 | 448.4 | 0.5728 | 2.1916 | 3.1726 | -3.7026 | -0.00227 | -0.02724
2026-07-24T13:23:29.037-04:00 | 450.015 | 7.5002 | 91 | 3640195 | 448.4 | 0.5 | 2.1916 | 3.1726 | -3.7026 | 0 | 0
2026-07-24T13:23:34.028-04:00 | 455.015 | 7.5836 | 92 | 3645195 | 448.72 | 0.5303 | 2.1932 | 3.1635 | -3.7117 | -0.00905 | -0.1086
2026-07-24T13:23:39.019-04:00 | 460 | 7.6667 | 93 | 3650195 | 449 | 0.3953 | 2.1945 | 3.1556 | -3.7196 | -0.00792 | -0.095326
2026-07-24T13:23:44.025-04:00 | 465 | 7.75 | 94 | 3655195 | 449.2 | 0.375 | 2.1955 | 3.15 | -3.7252 | -0.00565 | -0.0678
2026-07-24T13:23:49.017-04:00 | 470 | 7.8333 | 95 | 3660195 | 449.24 | 0.5303 | 2.1957 | 3.1488 | -3.7264 | -0.00113 | -0.01356
2026-07-24T13:23:54.022-04:00 | 475 | 7.9167 | 96 | 3665195 | 449.96 | 0.4507 | 2.1992 | 3.1284 | -3.7467 | -0.02037 | -0.24444
2026-07-24T13:23:59.014-04:00 | 480 | 8 | 97 | 3670195 | 450.04 | 0.3307 | 2.1996 | 3.1262 | -3.749 | -0.00226 | -0.02712
2026-07-24T13:24:04.006-04:00 | 484.984 | 8.0831 | 98 | 3675195 | 450.12 | 0.433 | 2.2 | 3.1239 | -3.7513 | -0.00226 | -0.027207
2026-07-24T13:24:09.012-04:00 | 489.984 | 8.1664 | 99 | 3680195 | 450.68 | 0.4841 | 2.2027 | 3.1081 | -3.7671 | -0.01584 | -0.19008
2026-07-24T13:24:14.003-04:00 | 494.984 | 8.2497 | 100 | 3685196 | 450.84 | 0.6124 | 2.2035 | 3.1036 | -3.7716 | -0.00452 | -0.05424
2026-07-24T13:24:18.995-04:00 | 499.969 | 8.3328 | 101 | 3690195 | 451.4 | 0.5 | 2.2063 | 3.0877 | -3.7875 | -0.01584 | -0.19065
2026-07-24T13:24:24.001-04:00 | 504.984 | 8.4164 | 102 | 3695196 | 451.56 | 0.5 | 2.207 | 3.0832 | -3.792 | -0.00453 | -0.054197
2026-07-24T13:24:28.992-04:00 | 509.969 | 8.4995 | 103 | 3700196 | 452.08 | 0.5728 | 2.2096 | 3.0685 | -3.8067 | -0.0147 | -0.17693
2026-07-24T13:24:33.999-04:00 | 514.984 | 8.5831 | 104 | 3705195 | 452.08 | 0.4146 | 2.2096 | 3.0685 | -3.8067 | 0 | 0
2026-07-24T13:24:38.989-04:00 | 519.969 | 8.6661 | 105 | 3710195 | 452.48 | 0.5 | 2.2115 | 3.0572 | -3.818 | -0.01132 | -0.13625
2026-07-24T13:24:43.981-04:00 | 524.953 | 8.7492 | 106 | 3715196 | 452.48 | 0.5 | 2.2115 | 3.0572 | -3.818 | 0 | 0
2026-07-24T13:24:48.987-04:00 | 529.969 | 8.8328 | 107 | 3720196 | 452.64 | 0.5449 | 2.2123 | 3.0527 | -3.8225 | -0.00452 | -0.054067
2026-07-24T13:24:53.979-04:00 | 534.953 | 8.9159 | 108 | 3725196 | 453.28 | 0.4507 | 2.2154 | 3.0346 | -3.8406 | -0.0181 | -0.2179
2026-07-24T13:24:58.969-04:00 | 539.953 | 8.9992 | 109 | 3730196 | 453.84 | 0.3536 | 2.2182 | 3.0187 | -3.8565 | -0.01584 | -0.19008
2026-07-24T13:25:03.976-04:00 | 544.953 | 9.0825 | 110 | 3735196 | 453.64 | 0.4677 | 2.2172 | 3.0244 | -3.8508 | 0.00566 | 0.06792
2026-07-24T13:25:08.968-04:00 | 549.953 | 9.1659 | 111 | 3740196 | 454.04 | 0.5154 | 2.2192 | 3.0131 | -3.8621 | -0.01131 | -0.13572
2026-07-24T13:25:13.974-04:00 | 554.953 | 9.2492 | 112 | 3745196 | 454.4 | 0.4841 | 2.2209 | 3.0029 | -3.8723 | -0.01019 | -0.12228
2026-07-24T13:25:18.966-04:00 | 559.953 | 9.3325 | 113 | 3750196 | 454.2 | 0.375 | 2.2199 | 3.0085 | -3.8666 | 0.00566 | 0.06792
2026-07-24T13:25:23.956-04:00 | 564.937 | 9.4156 | 114 | 3755195 | 454.44 | 0.4841 | 2.2211 | 3.0017 | -3.8734 | -0.00679 | -0.081742
2026-07-24T13:25:28.963-04:00 | 569.937 | 9.4989 | 115 | 3760196 | 454.68 | 0.559 | 2.2223 | 2.995 | -3.8802 | -0.00678 | -0.08136
2026-07-24T13:25:33.955-04:00 | 574.937 | 9.5823 | 116 | 3765195 | 454.92 | 0.25 | 2.2235 | 2.9882 | -3.887 | -0.00679 | -0.08148
2026-07-24T13:25:38.945-04:00 | 579.922 | 9.6654 | 117 | 3770195 | 455.12 | 0.3307 | 2.2244 | 2.9825 | -3.8927 | -0.00566 | -0.068124
2026-07-24T13:25:43.953-04:00 | 584.937 | 9.7489 | 118 | 3775195 | 455.12 | 0.5303 | 2.2244 | 2.9825 | -3.8927 | 0 | 0
2026-07-24T13:25:48.943-04:00 | 589.922 | 9.832 | 119 | 3780195 | 455.4 | 0.5 | 2.2258 | 2.9746 | -3.9006 | -0.00792 | -0.095326
2026-07-24T13:25:53.950-04:00 | 594.922 | 9.9154 | 120 | 3785196 | 455.52 | 0.5863 | 2.2264 | 2.9712 | -3.904 | -0.00339 | -0.04068
2026-07-24T13:25:58.941-04:00 | 599.922 | 9.9987 | 121 | 3790196 | 455.8 | 0.5 | 2.2278 | 2.9633 | -3.9119 | -0.00792 | -0.09504
2026-07-24T13:26:03.932-04:00 | 604.906 | 10.0818 | 122 | 3795196 | 455.84 | 0.5449 | 2.228 | 2.9622 | -3.913 | -0.00113 | -0.013604
2026-07-24T13:26:08.939-04:00 | 609.922 | 10.1654 | 123 | 3800196 | 455.88 | 0.3307 | 2.2282 | 2.961 | -3.9141 | -0.00113 | -0.013517
2026-07-24T13:26:13.930-04:00 | 614.906 | 10.2484 | 124 | 3805196 | 456.4 | 0.5 | 2.2307 | 2.9463 | -3.9289 | -0.01471 | -0.17709
2026-07-24T13:26:18.920-04:00 | 619.906 | 10.3318 | 125 | 3810196 | 456.92 | 0.2165 | 2.2332 | 2.9316 | -3.9436 | -0.01471 | -0.17652
2026-07-24T13:26:23.928-04:00 | 624.906 | 10.4151 | 126 | 3815196 | 456.92 | 0.4677 | 2.2332 | 2.9316 | -3.9436 | 0 | 0
2026-07-24T13:26:28.919-04:00 | 629.906 | 10.4984 | 127 | 3820196 | 456.52 | 0.5154 | 2.2313 | 2.9429 | -3.9322 | 0.01132 | 0.13584
2026-07-24T13:26:33.924-04:00 | 634.906 | 10.5818 | 128 | 3825196 | 457.56 | 0.5728 | 2.2364 | 2.9135 | -3.9617 | -0.02942 | -0.35304
2026-07-24T13:26:38.917-04:00 | 639.89 | 10.6648 | 129 | 3830196 | 457.36 | 0.5 | 2.2354 | 2.9192 | -3.956 | 0.00566 | 0.068138
2026-07-24T13:26:43.908-04:00 | 644.89 | 10.7482 | 130 | 3835196 | 457.44 | 0.4841 | 2.2358 | 2.9169 | -3.9583 | -0.00226 | -0.02712
2026-07-24T13:26:48.915-04:00 | 649.89 | 10.8315 | 131 | 3840196 | 457.72 | 0.4507 | 2.2371 | 2.909 | -3.9662 | -0.00792 | -0.09504
2026-07-24T13:26:53.906-04:00 | 654.89 | 10.9148 | 132 | 3845196 | 457.52 | 0.5 | 2.2362 | 2.9146 | -3.9605 | 0.00566 | 0.06792
2026-07-24T13:26:58.896-04:00 | 659.875 | 10.9979 | 133 | 3850195 | 457.92 | 0.559 | 2.2381 | 2.9033 | -3.9718 | -0.01132 | -0.13625
2026-07-24T13:27:03.903-04:00 | 664.875 | 11.0813 | 134 | 3855195 | 458.08 | 0.559 | 2.2389 | 2.8988 | -3.9764 | -0.00452 | -0.05424
2026-07-24T13:27:08.895-04:00 | 669.875 | 11.1646 | 135 | 3860196 | 458 | 0.3953 | 2.2385 | 2.9011 | -3.9741 | 0.00226 | 0.02712
2026-07-24T13:27:13.901-04:00 | 674.875 | 11.2479 | 136 | 3865195 | 458.32 | 0.5303 | 2.2401 | 2.892 | -3.9832 | -0.00905 | -0.1086
2026-07-24T13:27:18.892-04:00 | 679.875 | 11.3313 | 137 | 3870196 | 458.24 | 0.433 | 2.2397 | 2.8943 | -3.9809 | 0.00226 | 0.02712
2026-07-24T13:27:23.882-04:00 | 684.859 | 11.4143 | 138 | 3875195 | 458.68 | 0.4841 | 2.2418 | 2.8818 | -3.9933 | -0.01244 | -0.14976
2026-07-24T13:27:28.889-04:00 | 689.875 | 11.4979 | 139 | 3880196 | 458.56 | 0.5 | 2.2413 | 2.8852 | -3.9899 | 0.00339 | 0.04055
2026-07-24T13:27:33.881-04:00 | 694.859 | 11.581 | 140 | 3885196 | 458.88 | 0.5863 | 2.2428 | 2.8762 | -3.999 | -0.00905 | -0.10895

## Summary
Metric | Value
Experiment name | DOPC_pH_change
Start time | 2026-07-24T13:15:59-04:00
End time | 2026-07-24T13:27:36-04:00
Stop reason | stopped by user
Operator notes | Add sample conditions, treatment, concentration, temperature, and UV timing here.
Serial port | COM3
Sample interval (s) | 5
Requested duration (min) | 60
Number of readings | 140
Initial pH | 6.8752
Final pH | 2.8762
Net pH change | -3.999
Minimum pH | 2.8762
Maximum pH | 6.9272
Mean pH | 3.7454
pH standard deviation | 1.1467
Linear pH rate (pH/min) | -0.27636
Calibration slope | -0.028281
Calibration intercept | 15.854
Calibration R² | 0.99966
Calibration point count | 3