## Data
computer_timestamp | elapsed_seconds | elapsed_minutes | sample_number | arduino_millis | raw_adc | raw_sd | voltage | ph | delta_ph | ph_change_from_previous | ph_rate_from_previous_per_min
2026-07-30T11:32:31.008-04:00 | 0.281 | 0.0046833 | 1 | 1027968 | 284.92 | 0.3853 | 1.3926 | 7.8875 | 0 | 0
2026-07-30T11:32:35.999-04:00 | 5.281 | 0.088017 | 2 | 1032967 | 284.96 | 0.4507 | 1.3928 | 7.8864 | -0.00113 | -0.00113 | -0.01356
2026-07-30T11:32:40.990-04:00 | 10.266 | 0.1711 | 3 | 1037967 | 285.16 | 0.4593 | 1.3937 | 7.8807 | -0.0068 | -0.00567 | -0.068245
2026-07-30T11:32:45.998-04:00 | 15.281 | 0.25468 | 4 | 1042967 | 285.84 | 0.5449 | 1.3971 | 7.8615 | -0.02608 | -0.01928 | -0.23067
2026-07-30T11:32:50.990-04:00 | 20.266 | 0.33777 | 5 | 1047967 | 286.6 | 0.4841 | 1.4008 | 7.8399 | -0.04763 | -0.02155 | -0.25938
2026-07-30T11:32:55.982-04:00 | 25.266 | 0.4211 | 6 | 1052967 | 287.64 | 0.4677 | 1.4059 | 7.8104 | -0.07711 | -0.02948 | -0.35376
2026-07-30T11:33:00.989-04:00 | 30.266 | 0.50443 | 7 | 1057968 | 288.4 | 0.4921 | 1.4096 | 7.7889 | -0.09866 | -0.02155 | -0.2586
2026-07-30T11:33:05.981-04:00 | 35.266 | 0.58777 | 8 | 1062968 | 289.24 | 0.433 | 1.4137 | 7.7651 | -0.12247 | -0.02381 | -0.28572
2026-07-30T11:33:10.972-04:00 | 40.25 | 0.67083 | 9 | 1067968 | 290.24 | 0.433 | 1.4186 | 7.7367 | -0.15082 | -0.02835 | -0.34129
2026-07-30T11:33:15.980-04:00 | 45.266 | 0.75443 | 10 | 1072968 | 291.16 | 0.4593 | 1.4231 | 7.7106 | -0.1769 | -0.02608 | -0.31196
2026-07-30T11:33:20.971-04:00 | 50.25 | 0.8375 | 11 | 1077968 | 291.96 | 0.3536 | 1.427 | 7.688 | -0.19958 | -0.02268 | -0.27303
2026-07-30T11:33:25.963-04:00 | 55.25 | 0.92083 | 12 | 1082968 | 293.08 | 0.405 | 1.4325 | 7.6562 | -0.23133 | -0.03175 | -0.381
2026-07-30T11:33:30.971-04:00 | 60.25 | 1.0042 | 13 | 1087968 | 294.24 | 0.433 | 1.4381 | 7.6233 | -0.26422 | -0.03289 | -0.39468
2026-07-30T11:33:35.962-04:00 | 65.25 | 1.0875 | 14 | 1092968 | 294.96 | 0.3536 | 1.4416 | 7.6029 | -0.28463 | -0.02041 | -0.24492
2026-07-30T11:33:40.969-04:00 | 70.25 | 1.1708 | 15 | 1097968 | 296.08 | 0.2795 | 1.4471 | 7.5712 | -0.31638 | -0.03175 | -0.381
2026-07-30T11:33:45.961-04:00 | 75.234 | 1.2539 | 16 | 1102968 | 296.92 | 0.2652 | 1.4512 | 7.5473 | -0.3402 | -0.02382 | -0.28676
2026-07-30T11:33:50.953-04:00 | 80.234 | 1.3372 | 17 | 1107968 | 297.84 | 0.3644 | 1.4557 | 7.5213 | -0.36628 | -0.02608 | -0.31296
2026-07-30T11:33:55.945-04:00 | 85.219 | 1.4203 | 18 | 1112968 | 298.84 | 0.3644 | 1.4606 | 7.4929 | -0.39463 | -0.02835 | -0.34122
2026-07-30T11:34:00.953-04:00 | 90.234 | 1.5039 | 19 | 1117968 | 299.64 | 0.4677 | 1.4645 | 7.4702 | -0.41731 | -0.02268 | -0.27135
2026-07-30T11:34:05.944-04:00 | 95.219 | 1.587 | 20 | 1122968 | 300.6 | 0.559 | 1.4692 | 7.443 | -0.44453 | -0.02722 | -0.32762
2026-07-30T11:34:10.952-04:00 | 100.234 | 1.6706 | 21 | 1127968 | 301.2 | 0.3953 | 1.4721 | 7.426 | -0.46154 | -0.01701 | -0.20351
2026-07-30T11:34:15.944-04:00 | 105.219 | 1.7537 | 22 | 1132967 | 302.24 | 0.5929 | 1.4772 | 7.3965 | -0.49102 | -0.02948 | -0.35482
2026-07-30T11:34:20.935-04:00 | 110.219 | 1.837 | 23 | 1137968 | 303.12 | 0.3307 | 1.4815 | 7.3716 | -0.51597 | -0.02495 | -0.2994
2026-07-30T11:34:25.942-04:00 | 115.219 | 1.9203 | 24 | 1142968 | 303.88 | 0.433 | 1.4852 | 7.35 | -0.53751 | -0.02154 | -0.25848
2026-07-30T11:34:30.934-04:00 | 120.219 | 2.0037 | 25 | 1147968 | 304.64 | 0.4677 | 1.489 | 7.3285 | -0.55906 | -0.02155 | -0.2586
2026-07-30T11:34:35.926-04:00 | 125.203 | 2.0867 | 26 | 1152968 | 305.16 | 0.3644 | 1.4915 | 7.3137 | -0.5738 | -0.01474 | -0.17745
2026-07-30T11:34:40.933-04:00 | 130.219 | 2.1703 | 27 | 1157968 | 306 | 0.3953 | 1.4956 | 7.2899 | -0.59762 | -0.02382 | -0.28493
2026-07-30T11:34:45.925-04:00 | 135.203 | 2.2534 | 28 | 1162968 | 306.84 | 0.5449 | 1.4997 | 7.2661 | -0.62143 | -0.02381 | -0.28664
2026-07-30T11:34:50.917-04:00 | 140.203 | 2.3367 | 29 | 1167968 | 307.28 | 0.4507 | 1.5019 | 7.2536 | -0.6339 | -0.01247 | -0.14964
2026-07-30T11:34:55.924-04:00 | 145.203 | 2.42 | 30 | 1172968 | 307.96 | 0.3423 | 1.5052 | 7.2344 | -0.65318 | -0.01928 | -0.23136
2026-07-30T11:35:00.916-04:00 | 150.203 | 2.5034 | 31 | 1177968 | 308.44 | 0.4921 | 1.5075 | 7.2207 | -0.66679 | -0.01361 | -0.16332
2026-07-30T11:35:05.907-04:00 | 155.187 | 2.5864 | 32 | 1182968 | 309.16 | 0.3644 | 1.511 | 7.2003 | -0.6872 | -0.02041 | -0.24571
2026-07-30T11:35:10.899-04:00 | 160.187 | 2.6698 | 33 | 1187968 | 309.72 | 0.5303 | 1.5138 | 7.1845 | -0.70308 | -0.01588 | -0.19056
2026-07-30T11:35:15.906-04:00 | 165.187 | 2.7531 | 34 | 1192968 | 310.12 | 0.433 | 1.5157 | 7.1731 | -0.71442 | -0.01134 | -0.13608
2026-07-30T11:35:20.899-04:00 | 170.172 | 2.8362 | 35 | 1197968 | 310.68 | 0.476 | 1.5185 | 7.1573 | -0.73029 | -0.01587 | -0.19101
2026-07-30T11:35:25.905-04:00 | 175.187 | 2.9198 | 36 | 1202968 | 311.04 | 0.3307 | 1.5202 | 7.147 | -0.7405 | -0.01021 | -0.12215
2026-07-30T11:35:30.897-04:00 | 180.172 | 3.0029 | 37 | 1207968 | 311.72 | 0.4507 | 1.5236 | 7.1278 | -0.75978 | -0.01928 | -0.23206
2026-07-30T11:35:35.889-04:00 | 185.172 | 3.0862 | 38 | 1212967 | 312.04 | 0.433 | 1.5251 | 7.1187 | -0.76885 | -0.00907 | -0.10884
2026-07-30T11:35:40.896-04:00 | 190.172 | 3.1695 | 39 | 1217968 | 312.36 | 0.4921 | 1.5267 | 7.1096 | -0.77792 | -0.00907 | -0.10884
2026-07-30T11:35:45.888-04:00 | 195.172 | 3.2529 | 40 | 1222968 | 312.84 | 0.4593 | 1.529 | 7.096 | -0.79153 | -0.01361 | -0.16332
2026-07-30T11:35:50.879-04:00 | 200.156 | 3.3359 | 41 | 1227968 | 313.04 | 0.1768 | 1.53 | 7.0903 | -0.7972 | -0.00567 | -0.068258
2026-07-30T11:35:55.887-04:00 | 205.172 | 3.4195 | 42 | 1232968 | 313.72 | 0.4419 | 1.5333 | 7.0711 | -0.81648 | -0.01928 | -0.23062
2026-07-30T11:36:00.879-04:00 | 210.156 | 3.5026 | 43 | 1237968 | 313.76 | 0.6435 | 1.5335 | 7.0699 | -0.81761 | -0.00113 | -0.013604
2026-07-30T11:36:05.870-04:00 | 215.156 | 3.5859 | 44 | 1242968 | 314.28 | 0.4507 | 1.5361 | 7.0552 | -0.83235 | -0.01474 | -0.17688
2026-07-30T11:36:10.878-04:00 | 220.156 | 3.6693 | 45 | 1247968 | 314.64 | 0.476 | 1.5378 | 7.045 | -0.84256 | -0.01021 | -0.12252
2026-07-30T11:36:15.870-04:00 | 225.156 | 3.7526 | 46 | 1252968 | 314.76 | 0.4146 | 1.5384 | 7.0416 | -0.84596 | -0.0034 | -0.0408
2026-07-30T11:36:20.862-04:00 | 230.141 | 3.8357 | 47 | 1257968 | 315 | 0.3953 | 1.5396 | 7.0348 | -0.85276 | -0.0068 | -0.081846
2026-07-30T11:36:25.869-04:00 | 235.156 | 3.9193 | 48 | 1262968 | 315.2 | 0.4841 | 1.5406 | 7.0291 | -0.85844 | -0.00568 | -0.067956
2026-07-30T11:36:30.860-04:00 | 240.141 | 4.0023 | 49 | 1267968 | 315.4 | 0.4921 | 1.5415 | 7.0234 | -0.8641 | -0.00566 | -0.068124
2026-07-30T11:36:35.852-04:00 | 245.125 | 4.0854 | 50 | 1272968 | 315.6 | 0.4841 | 1.5425 | 7.0178 | -0.86978 | -0.00568 | -0.068379
2026-07-30T11:36:40.859-04:00 | 250.141 | 4.169 | 51 | 1277968 | 315.64 | 0.476 | 1.5427 | 7.0166 | -0.87091 | -0.00113 | -0.013517
2026-07-30T11:36:45.851-04:00 | 255.125 | 4.2521 | 52 | 1282968 | 316 | 0.4921 | 1.5445 | 7.0064 | -0.88111 | -0.0102 | -0.12279
2026-07-30T11:36:50.842-04:00 | 260.125 | 4.3354 | 53 | 1287968 | 316.04 | 0.3307 | 1.5447 | 7.0053 | -0.88225 | -0.00114 | -0.01368
2026-07-30T11:36:55.850-04:00 | 265.125 | 4.4188 | 54 | 1292967 | 316.16 | 0.3644 | 1.5453 | 7.0019 | -0.88565 | -0.0034 | -0.0408
2026-07-30T11:37:00.843-04:00 | 270.125 | 4.5021 | 55 | 1297968 | 316.44 | 0.5 | 1.5466 | 6.9939 | -0.89359 | -0.00794 | -0.09528
2026-07-30T11:37:05.834-04:00 | 275.109 | 4.5851 | 56 | 1302968 | 316.6 | 0.4841 | 1.5474 | 6.9894 | -0.89813 | -0.00454 | -0.054655
2026-07-30T11:37:10.841-04:00 | 280.125 | 4.6688 | 57 | 1307968 | 316.48 | 0.5 | 1.5468 | 6.9928 | -0.89472 | 0.00341 | 0.040789
2026-07-30T11:37:15.833-04:00 | 285.109 | 4.7518 | 58 | 1312968 | 317 | 0.3953 | 1.5494 | 6.9781 | -0.90947 | -0.01475 | -0.17757
2026-07-30T11:37:20.824-04:00 | 290.109 | 4.8351 | 59 | 1317968 | 316.92 | 0.375 | 1.549 | 6.9803 | -0.9072 | 0.00227 | 0.02724
2026-07-30T11:37:25.831-04:00 | 295.109 | 4.9185 | 60 | 1322968 | 317 | 0.3953 | 1.5494 | 6.9781 | -0.90947 | -0.00227 | -0.02724
2026-07-30T11:37:30.824-04:00 | 300.109 | 5.0018 | 61 | 1327968 | 317.28 | 0.4507 | 1.5507 | 6.9701 | -0.9174 | -0.00793 | -0.09516
2026-07-30T11:37:35.815-04:00 | 305.094 | 5.0849 | 62 | 1332968 | 317.24 | 0.433 | 1.5505 | 6.9713 | -0.91627 | 0.00113 | 0.013601
2026-07-30T11:37:40.822-04:00 | 310.109 | 5.1685 | 63 | 1337968 | 317.56 | 0.5 | 1.5521 | 6.9622 | -0.92534 | -0.00907 | -0.10851
2026-07-30T11:37:45.814-04:00 | 315.094 | 5.2516 | 64 | 1342968 | 317.68 | 0.4677 | 1.5527 | 6.9588 | -0.92874 | -0.0034 | -0.040923
2026-07-30T11:37:50.806-04:00 | 320.094 | 5.3349 | 65 | 1347968 | 317.76 | 0.4239 | 1.5531 | 6.9565 | -0.93101 | -0.00227 | -0.02724
2026-07-30T11:37:55.813-04:00 | 325.094 | 5.4182 | 66 | 1352968 | 317.96 | 0.4507 | 1.5541 | 6.9509 | -0.93668 | -0.00567 | -0.06804
2026-07-30T11:38:00.806-04:00 | 330.094 | 5.5016 | 67 | 1357968 | 317.76 | 0.5078 | 1.5531 | 6.9565 | -0.93101 | 0.00567 | 0.06804
2026-07-30T11:38:05.797-04:00 | 335.078 | 5.5846 | 68 | 1362968 | 317.96 | 0.4507 | 1.5541 | 6.9509 | -0.93668 | -0.00567 | -0.068258
2026-07-30T11:38:10.805-04:00 | 340.078 | 5.668 | 69 | 1367968 | 318.08 | 0.2932 | 1.5546 | 6.9475 | -0.94008 | -0.0034 | -0.0408
2026-07-30T11:38:15.796-04:00 | 345.078 | 5.7513 | 70 | 1372967 | 318.16 | 0.3644 | 1.555 | 6.9452 | -0.94235 | -0.00227 | -0.02724
2026-07-30T11:38:20.787-04:00 | 350.062 | 5.8344 | 71 | 1377968 | 318 | 0.2795 | 1.5543 | 6.9497 | -0.93782 | 0.00453 | 0.054535
2026-07-30T11:38:25.795-04:00 | 355.078 | 5.918 | 72 | 1382968 | 318.32 | 0.4677 | 1.5558 | 6.9406 | -0.94689 | -0.00907 | -0.10849
2026-07-30T11:38:30.787-04:00 | 360.062 | 6.001 | 73 | 1387968 | 318.48 | 0.4921 | 1.5566 | 6.9361 | -0.95142 | -0.00453 | -0.054535
2026-07-30T11:38:35.778-04:00 | 365.062 | 6.0844 | 74 | 1392968 | 318.76 | 0.4146 | 1.558 | 6.9282 | -0.95936 | -0.00794 | -0.09528
2026-07-30T11:38:40.786-04:00 | 370.062 | 6.1677 | 75 | 1397968 | 318.64 | 0.4677 | 1.5574 | 6.9316 | -0.95596 | 0.0034 | 0.0408
2026-07-30T11:38:45.777-04:00 | 375.062 | 6.251 | 76 | 1402968 | 318.68 | 0.4677 | 1.5576 | 6.9305 | -0.95709 | -0.00113 | -0.01356
2026-07-30T11:38:50.769-04:00 | 380.047 | 6.3341 | 77 | 1407968 | 318.8 | 0.4146 | 1.5582 | 6.9271 | -0.96049 | -0.0034 | -0.040923
2026-07-30T11:38:55.776-04:00 | 385.062 | 6.4177 | 78 | 1412968 | 318.92 | 0.375 | 1.5587 | 6.9236 | -0.9639 | -0.00341 | -0.040798
2026-07-30T11:39:00.769-04:00 | 390.047 | 6.5008 | 79 | 1417968 | 318.88 | 0.3187 | 1.5586 | 6.9248 | -0.96276 | 0.00114 | 0.013721
2026-07-30T11:39:05.760-04:00 | 395.047 | 6.5841 | 80 | 1422968 | 319.16 | 0.3644 | 1.5599 | 6.9168 | -0.9707 | -0.00794 | -0.09528
2026-07-30T11:39:10.767-04:00 | 400.047 | 6.6674 | 81 | 1427968 | 319.16 | 0.3644 | 1.5599 | 6.9168 | -0.9707 | 0 | 0
2026-07-30T11:39:15.759-04:00 | 405.047 | 6.7508 | 82 | 1432968 | 319.12 | 0.433 | 1.5597 | 6.918 | -0.96957 | 0.00113 | 0.01356
2026-07-30T11:39:20.750-04:00 | 410.031 | 6.8338 | 83 | 1437968 | 319.4 | 0.4921 | 1.5611 | 6.91 | -0.9775 | -0.00793 | -0.095465
2026-07-30T11:39:25.759-04:00 | 415.047 | 6.9174 | 84 | 1442968 | 319.16 | 0.3644 | 1.5599 | 6.9168 | -0.9707 | 0.0068 | 0.08134
2026-07-30T11:39:30.750-04:00 | 420.031 | 7.0005 | 85 | 1447968 | 319.52 | 0.5078 | 1.5617 | 6.9066 | -0.98091 | -0.01021 | -0.12291
2026-07-30T11:39:35.742-04:00 | 425.031 | 7.0838 | 86 | 1452967 | 319.68 | 0.476 | 1.5625 | 6.9021 | -0.98544 | -0.00453 | -0.05436
2026-07-30T11:39:40.749-04:00 | 430.031 | 7.1672 | 87 | 1457968 | 319.56 | 0.5 | 1.5619 | 6.9055 | -0.98204 | 0.0034 | 0.0408
2026-07-30T11:39:45.741-04:00 | 435.016 | 7.2503 | 88 | 1462968 | 319.72 | 0.4419 | 1.5627 | 6.901 | -0.98658 | -0.00454 | -0.054644
2026-07-30T11:39:50.733-04:00 | 440.016 | 7.3336 | 89 | 1467968 | 319.96 | 0.3536 | 1.5638 | 6.8942 | -0.99338 | -0.0068 | -0.0816
2026-07-30T11:39:55.740-04:00 | 445.016 | 7.4169 | 90 | 1472968 | 319.84 | 0.3644 | 1.5632 | 6.8976 | -0.98998 | 0.0034 | 0.0408
2026-07-30T11:40:00.731-04:00 | 450.016 | 7.5003 | 91 | 1477968 | 320 | 0.2795 | 1.564 | 6.893 | -0.99451 | -0.00453 | -0.05436
2026-07-30T11:40:05.724-04:00 | 455 | 7.5833 | 92 | 1482968 | 319.96 | 0.4507 | 1.5638 | 6.8942 | -0.99338 | 0.00113 | 0.013604
2026-07-30T11:40:10.730-04:00 | 460.016 | 7.6669 | 93 | 1487968 | 320.12 | 0.3307 | 1.5646 | 6.8896 | -0.99792 | -0.00454 | -0.054306
2026-07-30T11:40:15.722-04:00 | 465 | 7.75 | 94 | 1492968 | 320.2 | 0.3953 | 1.565 | 6.8873 | -1.0002 | -0.00227 | -0.027327
2026-07-30T11:40:20.714-04:00 | 470 | 7.8333 | 95 | 1497968 | 320.2 | 0.3953 | 1.565 | 6.8873 | -1.0002 | 0 | 0
2026-07-30T11:40:25.722-04:00 | 475 | 7.9167 | 96 | 1502968 | 320.36 | 0.4841 | 1.5658 | 6.8828 | -1.0047 | -0.00453 | -0.05436
2026-07-30T11:40:30.713-04:00 | 480 | 8 | 97 | 1507968 | 320.48 | 0.4921 | 1.5664 | 6.8794 | -1.0081 | -0.0034 | -0.0408
2026-07-30T11:40:35.705-04:00 | 484.984 | 8.0831 | 98 | 1512968 | 320.6 | 0.4841 | 1.567 | 6.876 | -1.0115 | -0.0034 | -0.040931
2026-07-30T11:40:40.712-04:00 | 490 | 8.1667 | 99 | 1517968 | 320.56 | 0.5 | 1.5668 | 6.8772 | -1.0104 | 0.00113 | 0.013517
2026-07-30T11:40:45.705-04:00 | 494.984 | 8.2497 | 100 | 1522969 | 320.68 | 0.476 | 1.5674 | 6.8738 | -1.0138 | -0.0034 | -0.040931
2026-07-30T11:40:50.696-04:00 | 499.984 | 8.3331 | 101 | 1527969 | 320.92 | 0.375 | 1.5685 | 6.8669 | -1.0206 | -0.00681 | -0.08172
2026-07-30T11:40:55.703-04:00 | 504.984 | 8.4164 | 102 | 1532968 | 320.92 | 0.476 | 1.5685 | 6.8669 | -1.0206 | 0 | 0
2026-07-30T11:41:00.694-04:00 | 509.969 | 8.4995 | 103 | 1537969 | 321.04 | 0.4419 | 1.5691 | 6.8635 | -1.024 | -0.0034 | -0.040923
2026-07-30T11:41:05.686-04:00 | 514.969 | 8.5828 | 104 | 1542969 | 320.92 | 0.375 | 1.5685 | 6.8669 | -1.0206 | 0.0034 | 0.0408
2026-07-30T11:41:10.693-04:00 | 519.969 | 8.6662 | 105 | 1547969 | 321.04 | 0.3307 | 1.5691 | 6.8635 | -1.024 | -0.0034 | -0.0408
2026-07-30T11:41:15.685-04:00 | 524.969 | 8.7495 | 106 | 1552969 | 321.24 | 0.433 | 1.5701 | 6.8579 | -1.0297 | -0.00567 | -0.06804
2026-07-30T11:41:20.693-04:00 | 529.969 | 8.8328 | 107 | 1557969 | 321.28 | 0.4507 | 1.5703 | 6.8567 | -1.0308 | -0.00113 | -0.01356
2026-07-30T11:41:25.685-04:00 | 534.969 | 8.9162 | 108 | 1562969 | 321.4 | 0.5 | 1.5709 | 6.8533 | -1.0342 | -0.0034 | -0.0408
2026-07-30T11:41:30.676-04:00 | 539.953 | 8.9992 | 109 | 1567969 | 321.48 | 0.4921 | 1.5713 | 6.8511 | -1.0365 | -0.00227 | -0.027327
2026-07-30T11:41:35.683-04:00 | 544.969 | 9.0828 | 110 | 1572969 | 321.52 | 0.5078 | 1.5715 | 6.8499 | -1.0376 | -0.00114 | -0.013636
2026-07-30T11:41:40.676-04:00 | 549.953 | 9.1659 | 111 | 1577969 | 321.8 | 0.405 | 1.5728 | 6.842 | -1.0455 | -0.00793 | -0.095465
2026-07-30T11:41:45.667-04:00 | 554.953 | 9.2492 | 112 | 1582969 | 321.84 | 0.4677 | 1.573 | 6.8409 | -1.0467 | -0.00114 | -0.01368
2026-07-30T11:41:50.659-04:00 | 559.937 | 9.3323 | 113 | 1587969 | 321.88 | 0.433 | 1.5732 | 6.8397 | -1.0478 | -0.00113 | -0.013604
2026-07-30T11:41:55.667-04:00 | 564.953 | 9.4159 | 114 | 1592969 | 322.08 | 0.2932 | 1.5742 | 6.8341 | -1.0535 | -0.00567 | -0.067823
2026-07-30T11:42:00.658-04:00 | 569.937 | 9.4989 | 115 | 1597969 | 322.2 | 0.476 | 1.5748 | 6.8307 | -1.0569 | -0.00341 | -0.041051
2026-07-30T11:42:05.665-04:00 | 574.953 | 9.5825 | 116 | 1602969 | 322.12 | 0.3307 | 1.5744 | 6.8329 | -1.0546 | 0.00227 | 0.027153
2026-07-30T11:42:10.657-04:00 | 579.937 | 9.6656 | 117 | 1607969 | 322.2 | 0.3853 | 1.5748 | 6.8307 | -1.0569 | -0.00227 | -0.027327
2026-07-30T11:42:15.648-04:00 | 584.922 | 9.7487 | 118 | 1612968 | 322.2 | 0.3853 | 1.5748 | 6.8307 | -1.0569 | 0 | 0
2026-07-30T11:42:20.656-04:00 | 589.937 | 9.8323 | 119 | 1617969 | 322.32 | 0.4593 | 1.5754 | 6.8273 | -1.0603 | -0.0034 | -0.040678
2026-07-30T11:42:25.648-04:00 | 594.922 | 9.9154 | 120 | 1622969 | 322.4 | 0.4921 | 1.5758 | 6.825 | -1.0626 | -0.00226 | -0.027202
2026-07-30T11:42:30.639-04:00 | 599.922 | 9.9987 | 121 | 1627969 | 322.52 | 0.5078 | 1.5763 | 6.8216 | -1.066 | -0.00341 | -0.04092
2026-07-30T11:42:35.647-04:00 | 604.922 | 10.082 | 122 | 1632969 | 322.64 | 0.552 | 1.5769 | 6.8182 | -1.0694 | -0.0034 | -0.0408
2026-07-30T11:42:40.639-04:00 | 609.922 | 10.1654 | 123 | 1637969 | 322.72 | 0.5303 | 1.5773 | 6.8159 | -1.0716 | -0.00227 | -0.02724
2026-07-30T11:42:45.631-04:00 | 614.906 | 10.2484 | 124 | 1642969 | 322.92 | 0.25 | 1.5783 | 6.8102 | -1.0773 | -0.00567 | -0.068258
2026-07-30T11:42:50.638-04:00 | 619.922 | 10.332 | 125 | 1647969 | 322.84 | 0.4677 | 1.5779 | 6.8125 | -1.075 | 0.00227 | 0.027153
2026-07-30T11:42:55.630-04:00 | 624.906 | 10.4151 | 126 | 1652969 | 323 | 0.3953 | 1.5787 | 6.808 | -1.0796 | -0.00453 | -0.054535
2026-07-30T11:43:00.621-04:00 | 629.906 | 10.4984 | 127 | 1657969 | 322.92 | 0.25 | 1.5783 | 6.8102 | -1.0773 | 0.00226 | 0.02712
2026-07-30T11:43:05.628-04:00 | 634.906 | 10.5818 | 128 | 1662969 | 323.04 | 0.3423 | 1.5789 | 6.8068 | -1.0807 | -0.0034 | -0.0408
2026-07-30T11:43:10.620-04:00 | 639.906 | 10.6651 | 129 | 1667969 | 323.16 | 0.3644 | 1.5795 | 6.8034 | -1.0841 | -0.0034 | -0.0408
2026-07-30T11:43:15.612-04:00 | 644.891 | 10.7482 | 130 | 1672969 | 323.32 | 0.4593 | 1.5803 | 6.7989 | -1.0886 | -0.00454 | -0.054644
2026-07-30T11:43:20.619-04:00 | 649.906 | 10.8318 | 131 | 1677969 | 323.36 | 0.4921 | 1.5804 | 6.7978 | -1.0898 | -0.00113 | -0.013519
2026-07-30T11:43:25.611-04:00 | 654.891 | 10.9148 | 132 | 1682969 | 323.28 | 0.4419 | 1.5801 | 6.8 | -1.0875 | 0.00227 | 0.027322
2026-07-30T11:43:30.603-04:00 | 659.891 | 10.9982 | 133 | 1687969 | 323.6 | 0.4921 | 1.5816 | 6.791 | -1.0966 | -0.00907 | -0.10884
2026-07-30T11:43:35.610-04:00 | 664.891 | 11.0815 | 134 | 1692968 | 323.76 | 0.5 | 1.5824 | 6.7864 | -1.1011 | -0.00454 | -0.05448
2026-07-30T11:43:40.602-04:00 | 669.891 | 11.1648 | 135 | 1697969 | 323.68 | 0.476 | 1.582 | 6.7887 | -1.0988 | 0.00227 | 0.02724
2026-07-30T11:43:45.593-04:00 | 674.875 | 11.2479 | 136 | 1702969 | 323.68 | 0.476 | 1.582 | 6.7887 | -1.0988 | 0 | 0
2026-07-30T11:43:50.601-04:00 | 679.875 | 11.3313 | 137 | 1707969 | 323.84 | 0.4677 | 1.5828 | 6.7842 | -1.1034 | -0.00454 | -0.05448
2026-07-30T11:43:55.592-04:00 | 684.875 | 11.4146 | 138 | 1712969 | 323.96 | 0.4507 | 1.5834 | 6.7808 | -1.1068 | -0.0034 | -0.0408
2026-07-30T11:44:00.584-04:00 | 689.859 | 11.4976 | 139 | 1717969 | 324.04 | 0.5229 | 1.5838 | 6.7785 | -1.1091 | -0.00227 | -0.027327
2026-07-30T11:44:05.592-04:00 | 694.875 | 11.5813 | 140 | 1722969 | 324.12 | 0.433 | 1.5842 | 6.7762 | -1.1113 | -0.00227 | -0.027153
2026-07-30T11:44:10.583-04:00 | 699.859 | 11.6643 | 141 | 1727969 | 324.24 | 0.433 | 1.5848 | 6.7728 | -1.1147 | -0.0034 | -0.040931
2026-07-30T11:44:15.575-04:00 | 704.859 | 11.7476 | 142 | 1732969 | 324.44 | 0.5 | 1.5857 | 6.7671 | -1.1204 | -0.00567 | -0.06804
2026-07-30T11:44:20.582-04:00 | 709.859 | 11.831 | 143 | 1737969 | 324.36 | 0.4921 | 1.5853 | 6.7694 | -1.1181 | 0.00227 | 0.02724
2026-07-30T11:44:25.574-04:00 | 714.859 | 11.9143 | 144 | 1742969 | 324.44 | 0.5 | 1.5857 | 6.7671 | -1.1204 | -0.00227 | -0.02724
2026-07-30T11:44:30.565-04:00 | 719.844 | 11.9974 | 145 | 1747969 | 324.6 | 0.4841 | 1.5865 | 6.7626 | -1.1249 | -0.00453 | -0.054524
2026-07-30T11:44:35.573-04:00 | 724.859 | 12.081 | 146 | 1752969 | 324.72 | 0.4507 | 1.5871 | 6.7592 | -1.1283 | -0.00341 | -0.040798
2026-07-30T11:44:40.565-04:00 | 729.844 | 12.1641 | 147 | 1757969 | 324.76 | 0.4239 | 1.5873 | 6.7581 | -1.1295 | -0.00113 | -0.013601
2026-07-30T11:44:45.557-04:00 | 734.844 | 12.2474 | 148 | 1762969 | 324.88 | 0.433 | 1.5879 | 6.7547 | -1.1329 | -0.0034 | -0.0408
2026-07-30T11:44:50.564-04:00 | 739.844 | 12.3307 | 149 | 1767969 | 324.92 | 0.476 | 1.5881 | 6.7535 | -1.134 | -0.00114 | -0.01368
2026-07-30T11:44:55.556-04:00 | 744.844 | 12.4141 | 150 | 1772968 | 325.04 | 0.1768 | 1.5887 | 6.7501 | -1.1374 | -0.0034 | -0.0408
2026-07-30T11:45:00.547-04:00 | 749.828 | 12.4971 | 151 | 1777969 | 325.08 | 0.3953 | 1.5889 | 6.749 | -1.1385 | -0.00113 | -0.013604
2026-07-30T11:45:05.554-04:00 | 754.828 | 12.5805 | 152 | 1782969 | 325.2 | 0.3953 | 1.5894 | 6.7456 | -1.1419 | -0.0034 | -0.0408
2026-07-30T11:45:10.547-04:00 | 759.828 | 12.6638 | 153 | 1787969 | 325.24 | 0.433 | 1.5896 | 6.7445 | -1.1431 | -0.00114 | -0.01368
2026-07-30T11:45:15.538-04:00 | 764.812 | 12.7469 | 154 | 1792969 | 325.44 | 0.4921 | 1.5906 | 6.7388 | -1.1487 | -0.00567 | -0.068258
2026-07-30T11:45:20.546-04:00 | 769.828 | 12.8305 | 155 | 1797969 | 325.48 | 0.4921 | 1.5908 | 6.7377 | -1.1499 | -0.00113 | -0.013517
2026-07-30T11:45:25.537-04:00 | 774.812 | 12.9135 | 156 | 1802969 | 325.44 | 0.4921 | 1.5906 | 6.7388 | -1.1487 | 0.00113 | 0.013604
2026-07-30T11:45:30.530-04:00 | 779.812 | 12.9969 | 157 | 1807969 | 325.52 | 0.5078 | 1.591 | 6.7365 | -1.151 | -0.00227 | -0.02724
2026-07-30T11:45:35.536-04:00 | 784.812 | 13.0802 | 158 | 1812969 | 325.96 | 0.2165 | 1.5932 | 6.7241 | -1.1635 | -0.01247 | -0.14964

## Summary
Metric | Value
Experiment name | DOPC_pH_change
Start time | 2026-07-30T11:32:30-04:00
End time | 2026-07-30T11:45:36-04:00
Stop reason | stopped by user
Operator notes | Add sample conditions, treatment, concentration, temperature, and UV timing here.
Serial port | COM3
Sample interval (s) | 5
Requested duration (min) | 60
Number of readings | 158
Initial pH | 7.8875
Final pH | 6.7241
Net pH change | -1.1635
Minimum pH | 6.7241
Maximum pH | 7.8875
Mean pH | 7.0266
pH standard deviation | 0.29715
Linear pH rate (pH/min) | -0.068033
Calibration slope | -0.02835
Calibration intercept | 15.965
Calibration R² | 0.99981
Calibration point count | 3