## Data
computer_timestamp | elapsed_seconds | elapsed_minutes | sample_number | arduino_millis | raw_adc | raw_sd | voltage | ph | delta_ph | ph_change_from_previous | ph_rate_from_previous_per_min
2026-07-30T11:47:16.856-04:00 | 0.297 | 0.00495 | 1 | 1914350 | 303.04 | 0.433 | 1.4811 | 7.3738 | 0 | 0
2026-07-30T11:47:21.848-04:00 | 5.281 | 0.088017 | 2 | 1919349 | 303.12 | 0.433 | 1.4815 | 7.3716 | -0.00227 | -0.00227 | -0.027327
2026-07-30T11:47:26.839-04:00 | 10.281 | 0.17135 | 3 | 1924348 | 304 | 0.3953 | 1.4858 | 7.3466 | -0.02722 | -0.02495 | -0.2994
2026-07-30T11:47:31.847-04:00 | 15.281 | 0.25468 | 4 | 1929349 | 305 | 0.3953 | 1.4907 | 7.3183 | -0.05557 | -0.02835 | -0.3402
2026-07-30T11:47:36.839-04:00 | 20.281 | 0.33802 | 5 | 1934349 | 308.08 | 0.2795 | 1.5058 | 7.231 | -0.14288 | -0.08731 | -1.0477
2026-07-30T11:47:41.831-04:00 | 25.265 | 0.42108 | 6 | 1939349 | 308.04 | 0.1768 | 1.5056 | 7.2321 | -0.14175 | 0.00113 | 0.013604
2026-07-30T11:47:46.838-04:00 | 30.281 | 0.50468 | 7 | 1944349 | 308.28 | 0.4507 | 1.5067 | 7.2253 | -0.14855 | -0.0068 | -0.08134
2026-07-30T11:47:51.830-04:00 | 35.265 | 0.58775 | 8 | 1949349 | 309.12 | 0.3307 | 1.5109 | 7.2015 | -0.17237 | -0.02382 | -0.28676
2026-07-30T11:47:56.821-04:00 | 40.265 | 0.67108 | 9 | 1954349 | 309.48 | 0.4921 | 1.5126 | 7.1913 | -0.18257 | -0.0102 | -0.1224
2026-07-30T11:48:01.828-04:00 | 45.265 | 0.75442 | 10 | 1959349 | 310.2 | 0.3953 | 1.5161 | 7.1708 | -0.20299 | -0.02042 | -0.24504
2026-07-30T11:48:06.821-04:00 | 50.265 | 0.83775 | 11 | 1964349 | 310.36 | 0.4921 | 1.5169 | 7.1663 | -0.20752 | -0.00453 | -0.05436
2026-07-30T11:48:11.812-04:00 | 55.25 | 0.92083 | 12 | 1969349 | 311.12 | 0.3307 | 1.5206 | 7.1448 | -0.22907 | -0.02155 | -0.25938
2026-07-30T11:48:16.820-04:00 | 60.25 | 1.0042 | 13 | 1974349 | 311.04 | 0.1768 | 1.5202 | 7.147 | -0.2268 | 0.00227 | 0.02724
2026-07-30T11:48:21.811-04:00 | 65.25 | 1.0875 | 14 | 1979348 | 311.8 | 0.405 | 1.5239 | 7.1255 | -0.24834 | -0.02154 | -0.25848
2026-07-30T11:48:26.803-04:00 | 70.234 | 1.1706 | 15 | 1984349 | 312.04 | 0.3307 | 1.5251 | 7.1187 | -0.25515 | -0.00681 | -0.081982
2026-07-30T11:48:31.810-04:00 | 75.25 | 1.2542 | 16 | 1989349 | 312.52 | 0.5796 | 1.5275 | 7.1051 | -0.26876 | -0.01361 | -0.1628
2026-07-30T11:48:36.802-04:00 | 80.234 | 1.3372 | 17 | 1994349 | 312.84 | 0.3644 | 1.529 | 7.096 | -0.27783 | -0.00907 | -0.10919
2026-07-30T11:48:41.794-04:00 | 85.234 | 1.4206 | 18 | 1999349 | 313.36 | 0.4921 | 1.5316 | 7.0813 | -0.29257 | -0.01474 | -0.17688
2026-07-30T11:48:46.801-04:00 | 90.234 | 1.5039 | 19 | 2004348 | 313.56 | 0.4921 | 1.5326 | 7.0756 | -0.29824 | -0.00567 | -0.06804
2026-07-30T11:48:51.793-04:00 | 95.234 | 1.5872 | 20 | 2009349 | 314.28 | 0.4507 | 1.5361 | 7.0552 | -0.31865 | -0.02041 | -0.24492
2026-07-30T11:48:56.784-04:00 | 100.218 | 1.6703 | 21 | 2014349 | 314.24 | 0.433 | 1.5359 | 7.0563 | -0.31752 | 0.00113 | 0.013604
2026-07-30T11:49:01.792-04:00 | 105.234 | 1.7539 | 22 | 2019349 | 314.96 | 0.3536 | 1.5394 | 7.0359 | -0.33793 | -0.02041 | -0.24414
2026-07-30T11:49:06.784-04:00 | 110.218 | 1.837 | 23 | 2024349 | 315.36 | 0.4841 | 1.5413 | 7.0246 | -0.34927 | -0.01134 | -0.13652
2026-07-30T11:49:11.776-04:00 | 115.218 | 1.9203 | 24 | 2029349 | 315.72 | 0.4507 | 1.5431 | 7.0144 | -0.35948 | -0.01021 | -0.12252
2026-07-30T11:49:16.782-04:00 | 120.218 | 2.0036 | 25 | 2034349 | 315.88 | 0.4239 | 1.5439 | 7.0098 | -0.36401 | -0.00453 | -0.05436
2026-07-30T11:49:21.775-04:00 | 125.218 | 2.087 | 26 | 2039349 | 316.48 | 0.5 | 1.5468 | 6.9928 | -0.38102 | -0.01701 | -0.20412
2026-07-30T11:49:26.766-04:00 | 130.203 | 2.17 | 27 | 2044349 | 316.96 | 0.3536 | 1.5492 | 6.9792 | -0.39463 | -0.01361 | -0.16381
2026-07-30T11:49:31.773-04:00 | 135.203 | 2.2534 | 28 | 2049349 | 317.28 | 0.4507 | 1.5507 | 6.9701 | -0.4037 | -0.00907 | -0.10884
2026-07-30T11:49:36.766-04:00 | 140.203 | 2.3367 | 29 | 2054349 | 317.56 | 0.5 | 1.5521 | 6.9622 | -0.41164 | -0.00794 | -0.09528
2026-07-30T11:49:41.757-04:00 | 145.187 | 2.4198 | 30 | 2059348 | 318.04 | 0.3423 | 1.5544 | 6.9486 | -0.42525 | -0.01361 | -0.16384
2026-07-30T11:49:46.765-04:00 | 150.203 | 2.5034 | 31 | 2064349 | 318.16 | 0.3644 | 1.555 | 6.9452 | -0.42865 | -0.0034 | -0.04067
2026-07-30T11:49:51.756-04:00 | 155.187 | 2.5864 | 32 | 2069349 | 318.68 | 0.4677 | 1.5576 | 6.9305 | -0.44339 | -0.01474 | -0.17745
2026-07-30T11:49:56.748-04:00 | 160.187 | 2.6698 | 33 | 2074349 | 319.12 | 0.3307 | 1.5597 | 6.918 | -0.45587 | -0.01248 | -0.14976
2026-07-30T11:50:01.756-04:00 | 165.187 | 2.7531 | 34 | 2079349 | 319.12 | 0.433 | 1.5597 | 6.918 | -0.45587 | 0 | 0
2026-07-30T11:50:06.747-04:00 | 170.187 | 2.8364 | 35 | 2084348 | 319.76 | 0.4239 | 1.5629 | 6.8998 | -0.47401 | -0.01814 | -0.21768
2026-07-30T11:50:11.738-04:00 | 175.172 | 2.9195 | 36 | 2089349 | 320.12 | 0.433 | 1.5646 | 6.8896 | -0.48422 | -0.01021 | -0.12289
2026-07-30T11:50:16.745-04:00 | 180.187 | 3.0031 | 37 | 2094349 | 320.52 | 0.5078 | 1.5666 | 6.8783 | -0.49556 | -0.01134 | -0.13567
2026-07-30T11:50:21.737-04:00 | 185.172 | 3.0862 | 38 | 2099349 | 320.6 | 0.559 | 1.567 | 6.876 | -0.49782 | -0.00226 | -0.027202
2026-07-30T11:50:26.730-04:00 | 190.172 | 3.1695 | 39 | 2104349 | 321 | 0.3953 | 1.5689 | 6.8647 | -0.50916 | -0.01134 | -0.13608
2026-07-30T11:50:31.737-04:00 | 195.172 | 3.2529 | 40 | 2109349 | 321.12 | 0.433 | 1.5695 | 6.8613 | -0.51257 | -0.00341 | -0.04092
2026-07-30T11:50:36.729-04:00 | 200.172 | 3.3362 | 41 | 2114349 | 321.64 | 0.476 | 1.572 | 6.8465 | -0.52731 | -0.01474 | -0.17688
2026-07-30T11:50:41.720-04:00 | 205.156 | 3.4193 | 42 | 2119349 | 321.88 | 0.5154 | 1.5732 | 6.8397 | -0.53411 | -0.0068 | -0.081862
2026-07-30T11:50:46.727-04:00 | 210.172 | 3.5029 | 43 | 2124349 | 322.32 | 0.4593 | 1.5754 | 6.8273 | -0.54659 | -0.01248 | -0.14928
2026-07-30T11:50:51.719-04:00 | 215.156 | 3.5859 | 44 | 2129349 | 322.36 | 0.4921 | 1.5756 | 6.8261 | -0.54772 | -0.00113 | -0.013604
2026-07-30T11:50:56.726-04:00 | 220.156 | 3.6693 | 45 | 2134349 | 323 | 0.2795 | 1.5787 | 6.808 | -0.56586 | -0.01814 | -0.21768
2026-07-30T11:51:01.718-04:00 | 225.156 | 3.7526 | 46 | 2139348 | 323.04 | 0.4419 | 1.5789 | 6.8068 | -0.567 | -0.00114 | -0.01368
2026-07-30T11:51:06.710-04:00 | 230.14 | 3.8357 | 47 | 2144349 | 323.28 | 0.4419 | 1.5801 | 6.8 | -0.5738 | -0.0068 | -0.081862
2026-07-30T11:51:11.717-04:00 | 235.156 | 3.9193 | 48 | 2149349 | 323.44 | 0.4921 | 1.5808 | 6.7955 | -0.57834 | -0.00454 | -0.054306
2026-07-30T11:51:16.709-04:00 | 240.14 | 4.0023 | 49 | 2154349 | 323.88 | 0.4239 | 1.583 | 6.783 | -0.59081 | -0.01247 | -0.15012
2026-07-30T11:51:21.701-04:00 | 245.14 | 4.0857 | 50 | 2159349 | 323.84 | 0.3644 | 1.5828 | 6.7842 | -0.58968 | 0.00113 | 0.01356
2026-07-30T11:51:26.693-04:00 | 250.125 | 4.1688 | 51 | 2164348 | 324.2 | 0.3853 | 1.5846 | 6.774 | -0.59988 | -0.0102 | -0.12277
2026-07-30T11:51:31.700-04:00 | 255.14 | 4.2523 | 52 | 2169349 | 324.48 | 0.4921 | 1.5859 | 6.766 | -0.60782 | -0.00794 | -0.094995
2026-07-30T11:51:36.692-04:00 | 260.125 | 4.3354 | 53 | 2174349 | 324.88 | 0.5154 | 1.5879 | 6.7547 | -0.61916 | -0.01134 | -0.13649
2026-07-30T11:51:41.698-04:00 | 265.14 | 4.419 | 54 | 2179349 | 324.96 | 0.3536 | 1.5883 | 6.7524 | -0.62143 | -0.00227 | -0.027159
2026-07-30T11:51:46.691-04:00 | 270.125 | 4.5021 | 55 | 2184349 | 325.36 | 0.4921 | 1.5902 | 6.7411 | -0.63277 | -0.01134 | -0.13649
2026-07-30T11:51:51.682-04:00 | 275.125 | 4.5854 | 56 | 2189349 | 325.4 | 0.4921 | 1.5904 | 6.7399 | -0.6339 | -0.00113 | -0.01356
2026-07-30T11:51:56.689-04:00 | 280.125 | 4.6688 | 57 | 2194349 | 325.92 | 0.3853 | 1.593 | 6.7252 | -0.64865 | -0.01475 | -0.177
2026-07-30T11:52:01.681-04:00 | 285.125 | 4.7521 | 58 | 2199349 | 325.88 | 0.4239 | 1.5928 | 6.7263 | -0.64751 | 0.00114 | 0.01368
2026-07-30T11:52:06.674-04:00 | 290.109 | 4.8351 | 59 | 2204349 | 326.44 | 0.4921 | 1.5955 | 6.7104 | -0.66339 | -0.01588 | -0.19117
2026-07-30T11:52:11.680-04:00 | 295.125 | 4.9188 | 60 | 2209349 | 326.56 | 0.5 | 1.5961 | 6.707 | -0.66679 | -0.0034 | -0.04067
2026-07-30T11:52:16.672-04:00 | 300.109 | 5.0018 | 61 | 2214349 | 326.96 | 0.2165 | 1.598 | 6.6957 | -0.67813 | -0.01134 | -0.13652
2026-07-30T11:52:21.664-04:00 | 305.093 | 5.0849 | 62 | 2219348 | 327.08 | 0.3953 | 1.5986 | 6.6923 | -0.68153 | -0.0034 | -0.040931
2026-07-30T11:52:26.671-04:00 | 310.109 | 5.1685 | 63 | 2224349 | 327.44 | 0.5 | 1.6004 | 6.6821 | -0.69174 | -0.01021 | -0.12213
2026-07-30T11:52:31.663-04:00 | 315.093 | 5.2515 | 64 | 2229349 | 327.76 | 0.4146 | 1.602 | 6.673 | -0.70081 | -0.00907 | -0.10919
2026-07-30T11:52:36.655-04:00 | 320.093 | 5.3349 | 65 | 2234349 | 327.96 | 0.1976 | 1.6029 | 6.6674 | -0.70648 | -0.00567 | -0.06804
2026-07-30T11:52:41.662-04:00 | 325.093 | 5.4182 | 66 | 2239349 | 328.24 | 0.433 | 1.6043 | 6.6594 | -0.71442 | -0.00794 | -0.09528
2026-07-30T11:52:46.654-04:00 | 330.093 | 5.5015 | 67 | 2244348 | 328.48 | 0.4921 | 1.6055 | 6.6526 | -0.72122 | -0.0068 | -0.0816
2026-07-30T11:52:51.646-04:00 | 335.078 | 5.5846 | 68 | 2249349 | 329 | 0.2795 | 1.608 | 6.6379 | -0.73596 | -0.01474 | -0.17741
2026-07-30T11:52:56.653-04:00 | 340.093 | 5.6682 | 69 | 2254349 | 329.16 | 0.3644 | 1.6088 | 6.6333 | -0.7405 | -0.00454 | -0.054317
2026-07-30T11:53:01.645-04:00 | 345.078 | 5.7513 | 70 | 2259349 | 329.24 | 0.433 | 1.6092 | 6.6311 | -0.74277 | -0.00227 | -0.027322
2026-07-30T11:53:06.637-04:00 | 350.078 | 5.8346 | 71 | 2264349 | 329.76 | 0.4239 | 1.6117 | 6.6163 | -0.75751 | -0.01474 | -0.17688
2026-07-30T11:53:11.644-04:00 | 355.078 | 5.918 | 72 | 2269349 | 329.92 | 0.375 | 1.6125 | 6.6118 | -0.76205 | -0.00454 | -0.05448
2026-07-30T11:53:16.636-04:00 | 360.078 | 6.0013 | 73 | 2274349 | 330.04 | 0.3423 | 1.6131 | 6.6084 | -0.76545 | -0.0034 | -0.0408
2026-07-30T11:53:21.628-04:00 | 365.062 | 6.0844 | 74 | 2279349 | 330.52 | 0.5078 | 1.6154 | 6.5948 | -0.77906 | -0.01361 | -0.16384
2026-07-30T11:53:26.635-04:00 | 370.078 | 6.168 | 75 | 2284349 | 330.56 | 0.4921 | 1.6156 | 6.5937 | -0.78019 | -0.00113 | -0.013517
2026-07-30T11:53:31.626-04:00 | 375.062 | 6.251 | 76 | 2289349 | 331.12 | 0.3307 | 1.6184 | 6.5778 | -0.79607 | -0.01588 | -0.19117
2026-07-30T11:53:36.618-04:00 | 380.062 | 6.3344 | 77 | 2294349 | 331.2 | 0.3953 | 1.6188 | 6.5755 | -0.79833 | -0.00226 | -0.02712
2026-07-30T11:53:41.625-04:00 | 385.062 | 6.4177 | 78 | 2299348 | 331.76 | 0.4239 | 1.6215 | 6.5596 | -0.81421 | -0.01588 | -0.19056
2026-07-30T11:53:46.617-04:00 | 390.047 | 6.5008 | 79 | 2304349 | 332.04 | 0.3307 | 1.6229 | 6.5517 | -0.82215 | -0.00794 | -0.095567
2026-07-30T11:53:51.609-04:00 | 395.047 | 6.5841 | 80 | 2309349 | 332.32 | 0.4593 | 1.6242 | 6.5438 | -0.83009 | -0.00794 | -0.09528
2026-07-30T11:53:56.616-04:00 | 400.047 | 6.6674 | 81 | 2314349 | 332.6 | 0.4841 | 1.6256 | 6.5358 | -0.83802 | -0.00793 | -0.09516
2026-07-30T11:54:01.608-04:00 | 405.047 | 6.7508 | 82 | 2319349 | 333.16 | 0.3644 | 1.6283 | 6.5199 | -0.8539 | -0.01588 | -0.19056
2026-07-30T11:54:06.600-04:00 | 410.031 | 6.8338 | 83 | 2324348 | 333.52 | 0.5078 | 1.6301 | 6.5097 | -0.86411 | -0.01021 | -0.12291
2026-07-30T11:54:11.607-04:00 | 415.047 | 6.9174 | 84 | 2329349 | 333.52 | 0.5078 | 1.6301 | 6.5097 | -0.86411 | 0 | 0
2026-07-30T11:54:16.599-04:00 | 420.031 | 7.0005 | 85 | 2334349 | 334.32 | 0.4593 | 1.634 | 6.487 | -0.88679 | -0.02268 | -0.27303
2026-07-30T11:54:21.591-04:00 | 425.031 | 7.0838 | 86 | 2339349 | 334.44 | 0.4921 | 1.6346 | 6.4836 | -0.89019 | -0.0034 | -0.0408
2026-07-30T11:54:26.598-04:00 | 430.031 | 7.1672 | 87 | 2344349 | 334.92 | 0.3853 | 1.6369 | 6.47 | -0.9038 | -0.01361 | -0.16332
2026-07-30T11:54:31.590-04:00 | 435.031 | 7.2505 | 88 | 2349349 | 335.2 | 0.3953 | 1.6383 | 6.4621 | -0.91173 | -0.00793 | -0.09516
2026-07-30T11:54:36.582-04:00 | 440.015 | 7.3336 | 89 | 2354349 | 335.88 | 0.5154 | 1.6416 | 6.4428 | -0.93101 | -0.01928 | -0.2321
2026-07-30T11:54:41.589-04:00 | 445.031 | 7.4172 | 90 | 2359349 | 335.92 | 0.25 | 1.6418 | 6.4417 | -0.93215 | -0.00114 | -0.013636
2026-07-30T11:54:46.581-04:00 | 450.015 | 7.5002 | 91 | 2364349 | 336.92 | 0.3853 | 1.6467 | 6.4133 | -0.9605 | -0.02835 | -0.34129
2026-07-30T11:54:51.572-04:00 | 455.015 | 7.5836 | 92 | 2369349 | 337.12 | 0.3307 | 1.6477 | 6.4077 | -0.96617 | -0.00567 | -0.06804
2026-07-30T11:54:56.579-04:00 | 460.015 | 7.6669 | 93 | 2374349 | 337.76 | 0.4239 | 1.6508 | 6.3895 | -0.98431 | -0.01814 | -0.21768
2026-07-30T11:55:01.571-04:00 | 465.015 | 7.7502 | 94 | 2379348 | 338.32 | 0.4593 | 1.6536 | 6.3736 | -1.0002 | -0.01588 | -0.19056
2026-07-30T11:55:06.563-04:00 | 470 | 7.8333 | 95 | 2384349 | 339.08 | 0.405 | 1.6573 | 6.3521 | -1.0217 | -0.02154 | -0.25926
2026-07-30T11:55:11.571-04:00 | 475.015 | 7.9169 | 96 | 2389349 | 339.8 | 0.4146 | 1.6608 | 6.3317 | -1.0421 | -0.02041 | -0.24419
2026-07-30T11:55:16.563-04:00 | 480 | 8 | 97 | 2394349 | 340.36 | 0.4841 | 1.6635 | 6.3158 | -1.058 | -0.01588 | -0.19113
2026-07-30T11:55:21.554-04:00 | 484.984 | 8.0831 | 98 | 2399349 | 341.28 | 0.4507 | 1.668 | 6.2897 | -1.0841 | -0.02608 | -0.31396
2026-07-30T11:55:26.561-04:00 | 490 | 8.1667 | 99 | 2404348 | 341.84 | 0.3644 | 1.6708 | 6.2739 | -1.1 | -0.01588 | -0.18995
2026-07-30T11:55:31.553-04:00 | 494.984 | 8.2497 | 100 | 2409350 | 343.04 | 0.1768 | 1.6766 | 6.2398 | -1.134 | -0.03402 | -0.40955
2026-07-30T11:55:36.545-04:00 | 499.984 | 8.3331 | 101 | 2414350 | 343.88 | 0.3187 | 1.6807 | 6.216 | -1.1578 | -0.02381 | -0.28572
2026-07-30T11:55:41.552-04:00 | 504.984 | 8.4164 | 102 | 2419350 | 345.24 | 0.4419 | 1.6874 | 6.1775 | -1.1964 | -0.03856 | -0.46272
2026-07-30T11:55:46.544-04:00 | 509.984 | 8.4997 | 103 | 2424350 | 346.04 | 0.3307 | 1.6913 | 6.1548 | -1.219 | -0.02268 | -0.27216
2026-07-30T11:55:51.535-04:00 | 514.968 | 8.5828 | 104 | 2429350 | 347.6 | 0.4841 | 1.6989 | 6.1106 | -1.2633 | -0.04422 | -0.53234
2026-07-30T11:55:56.543-04:00 | 519.984 | 8.6664 | 105 | 2434350 | 348.72 | 0.5303 | 1.7044 | 6.0788 | -1.295 | -0.03175 | -0.37978
2026-07-30T11:56:01.534-04:00 | 524.968 | 8.7495 | 106 | 2439350 | 349.92 | 0.375 | 1.7103 | 6.0448 | -1.3291 | -0.03403 | -0.40967
2026-07-30T11:56:06.526-04:00 | 529.968 | 8.8328 | 107 | 2444350 | 351.24 | 0.433 | 1.7167 | 6.0074 | -1.3665 | -0.03742 | -0.44904
2026-07-30T11:56:11.533-04:00 | 534.968 | 8.9161 | 108 | 2449350 | 352.44 | 0.5 | 1.7226 | 5.9733 | -1.4005 | -0.03402 | -0.40824
2026-07-30T11:56:16.525-04:00 | 539.968 | 8.9995 | 109 | 2454350 | 353.88 | 0.3187 | 1.7296 | 5.9325 | -1.4413 | -0.04082 | -0.48984
2026-07-30T11:56:21.517-04:00 | 544.953 | 9.0825 | 110 | 2459350 | 355 | 0 | 1.7351 | 5.9008 | -1.4731 | -0.03175 | -0.38215
2026-07-30T11:56:26.525-04:00 | 549.968 | 9.1661 | 111 | 2464350 | 356.52 | 0.5078 | 1.7425 | 5.8577 | -1.5162 | -0.04309 | -0.51553
2026-07-30T11:56:31.516-04:00 | 554.953 | 9.2492 | 112 | 2469350 | 357.44 | 0.5 | 1.747 | 5.8316 | -1.5422 | -0.02609 | -0.31402
2026-07-30T11:56:36.507-04:00 | 559.937 | 9.3323 | 113 | 2474350 | 359.08 | 0.405 | 1.755 | 5.7851 | -1.5887 | -0.04649 | -0.55967
2026-07-30T11:56:41.516-04:00 | 564.953 | 9.4159 | 114 | 2479350 | 360.12 | 0.3307 | 1.7601 | 5.7556 | -1.6182 | -0.02948 | -0.35263
2026-07-30T11:56:46.507-04:00 | 569.937 | 9.4989 | 115 | 2484349 | 361.6 | 0.4841 | 1.7674 | 5.7137 | -1.6602 | -0.04196 | -0.50514
2026-07-30T11:56:51.499-04:00 | 574.937 | 9.5823 | 116 | 2489350 | 363.04 | 0.5154 | 1.7744 | 5.6728 | -1.701 | -0.04083 | -0.48996
2026-07-30T11:56:56.506-04:00 | 579.937 | 9.6656 | 117 | 2494350 | 363.96 | 0.4507 | 1.7789 | 5.6468 | -1.7271 | -0.02608 | -0.31296
2026-07-30T11:57:01.498-04:00 | 584.937 | 9.7489 | 118 | 2499350 | 365.44 | 0.5 | 1.7861 | 5.6048 | -1.769 | -0.04196 | -0.50352
2026-07-30T11:57:06.489-04:00 | 589.922 | 9.832 | 119 | 2504349 | 366.36 | 0.4841 | 1.7906 | 5.5787 | -1.7951 | -0.02608 | -0.3139
2026-07-30T11:57:11.498-04:00 | 594.937 | 9.9156 | 120 | 2509350 | 367.76 | 0.4146 | 1.7975 | 5.539 | -1.8348 | -0.03969 | -0.47486
2026-07-30T11:57:16.489-04:00 | 599.922 | 9.9987 | 121 | 2514350 | 368.72 | 0.4507 | 1.8021 | 5.5118 | -1.862 | -0.02721 | -0.3275
2026-07-30T11:57:21.480-04:00 | 604.922 | 10.082 | 122 | 2519349 | 369.8 | 0.4146 | 1.8074 | 5.4812 | -1.8926 | -0.03062 | -0.36744
2026-07-30T11:57:26.487-04:00 | 609.922 | 10.1654 | 123 | 2524350 | 370.96 | 0.3536 | 1.8131 | 5.4483 | -1.9255 | -0.03289 | -0.39468
2026-07-30T11:57:31.479-04:00 | 614.922 | 10.2487 | 124 | 2529349 | 371.96 | 0.3536 | 1.818 | 5.42 | -1.9539 | -0.02835 | -0.3402
2026-07-30T11:57:36.471-04:00 | 619.906 | 10.3318 | 125 | 2534350 | 372.72 | 0.4507 | 1.8217 | 5.3984 | -1.9754 | -0.02154 | -0.25931
2026-07-30T11:57:41.478-04:00 | 624.922 | 10.4154 | 126 | 2539350 | 373.68 | 0.4677 | 1.8264 | 5.3712 | -2.0026 | -0.02722 | -0.3256
2026-07-30T11:57:46.470-04:00 | 629.906 | 10.4984 | 127 | 2544349 | 375 | 0.3953 | 1.8328 | 5.3338 | -2.0401 | -0.03742 | -0.45048
2026-07-30T11:57:51.461-04:00 | 634.906 | 10.5818 | 128 | 2549350 | 375.44 | 0.4841 | 1.835 | 5.3213 | -2.0525 | -0.01248 | -0.14976
2026-07-30T11:57:56.469-04:00 | 639.906 | 10.6651 | 129 | 2554350 | 376.24 | 0.433 | 1.8389 | 5.2986 | -2.0752 | -0.02268 | -0.27216
2026-07-30T11:58:01.461-04:00 | 644.89 | 10.7482 | 130 | 2559350 | 377 | 0.3953 | 1.8426 | 5.2771 | -2.0968 | -0.02154 | -0.25931
2026-07-30T11:58:06.452-04:00 | 649.89 | 10.8315 | 131 | 2564349 | 377.88 | 0.3307 | 1.8469 | 5.2521 | -2.1217 | -0.02495 | -0.2994
2026-07-30T11:58:11.460-04:00 | 654.89 | 10.9148 | 132 | 2569350 | 378.84 | 0.4507 | 1.8516 | 5.2249 | -2.1489 | -0.02722 | -0.32664
2026-07-30T11:58:16.452-04:00 | 659.89 | 10.9982 | 133 | 2574350 | 379.28 | 0.4507 | 1.8538 | 5.2124 | -2.1614 | -0.01247 | -0.14964
2026-07-30T11:58:21.443-04:00 | 664.875 | 11.0813 | 134 | 2579350 | 380.2 | 0.3953 | 1.8583 | 5.1864 | -2.1875 | -0.02608 | -0.3139
2026-07-30T11:58:26.451-04:00 | 669.89 | 11.1648 | 135 | 2584350 | 380.64 | 0.4677 | 1.8604 | 5.1739 | -2.2 | -0.01248 | -0.14931
2026-07-30T11:58:31.442-04:00 | 674.875 | 11.2479 | 136 | 2589350 | 381.48 | 0.4841 | 1.8645 | 5.1501 | -2.2238 | -0.02381 | -0.28658
2026-07-30T11:58:36.434-04:00 | 679.875 | 11.3313 | 137 | 2594350 | 382.12 | 0.433 | 1.8676 | 5.1319 | -2.2419 | -0.01814 | -0.21768
2026-07-30T11:58:41.441-04:00 | 684.875 | 11.4146 | 138 | 2599349 | 382.44 | 0.4841 | 1.8692 | 5.1228 | -2.251 | -0.00908 | -0.10896
2026-07-30T11:58:46.433-04:00 | 689.875 | 11.4979 | 139 | 2604350 | 382.96 | 0.3536 | 1.8718 | 5.1081 | -2.2657 | -0.01474 | -0.17688
2026-07-30T11:58:51.440-04:00 | 694.875 | 11.5813 | 140 | 2609350 | 383.56 | 0.5 | 1.8747 | 5.0911 | -2.2827 | -0.01701 | -0.20412
2026-07-30T11:58:56.433-04:00 | 699.875 | 11.6646 | 141 | 2614349 | 384.12 | 0.3307 | 1.8774 | 5.0752 | -2.2986 | -0.01587 | -0.19044
2026-07-30T11:59:01.424-04:00 | 704.859 | 11.7476 | 142 | 2619350 | 384.44 | 0.5 | 1.879 | 5.0662 | -2.3077 | -0.00907 | -0.10919
2026-07-30T11:59:06.416-04:00 | 709.859 | 11.831 | 143 | 2624350 | 385.2 | 0.3953 | 1.8827 | 5.0446 | -2.3292 | -0.02155 | -0.2586
2026-07-30T11:59:11.424-04:00 | 714.859 | 11.9143 | 144 | 2629350 | 385.44 | 0.4841 | 1.8839 | 5.0378 | -2.336 | -0.00681 | -0.08172
2026-07-30T11:59:16.415-04:00 | 719.859 | 11.9976 | 145 | 2634350 | 386.12 | 0.3307 | 1.8872 | 5.0185 | -2.3553 | -0.01927 | -0.23124
2026-07-30T11:59:21.422-04:00 | 724.859 | 12.081 | 146 | 2639350 | 386.6 | 0.4841 | 1.8895 | 5.0049 | -2.3689 | -0.01361 | -0.16332
2026-07-30T11:59:26.414-04:00 | 729.843 | 12.164 | 147 | 2644349 | 386.96 | 0.3536 | 1.8913 | 4.9947 | -2.3791 | -0.01021 | -0.12291
2026-07-30T11:59:31.406-04:00 | 734.843 | 12.2474 | 148 | 2649350 | 387.52 | 0.5154 | 1.894 | 4.9788 | -2.395 | -0.01587 | -0.19044
2026-07-30T11:59:36.413-04:00 | 739.843 | 12.3307 | 149 | 2654350 | 387.36 | 0.4841 | 1.8933 | 4.9834 | -2.3905 | 0.00453 | 0.05436
2026-07-30T11:59:41.405-04:00 | 744.843 | 12.414 | 150 | 2659350 | 388.04 | 0.5154 | 1.8966 | 4.9641 | -2.4098 | -0.01928 | -0.23136
2026-07-30T11:59:46.397-04:00 | 749.828 | 12.4971 | 151 | 2664350 | 388 | 0.2795 | 1.8964 | 4.9652 | -2.4086 | 0.00114 | 0.013721
2026-07-30T11:59:51.403-04:00 | 754.843 | 12.5807 | 152 | 2669350 | 388.76 | 0.5863 | 1.9001 | 4.9437 | -2.4302 | -0.02155 | -0.25783
2026-07-30T11:59:56.396-04:00 | 759.828 | 12.6638 | 153 | 2674350 | 389.04 | 0.3307 | 1.9015 | 4.9357 | -2.4381 | -0.00793 | -0.095446
2026-07-30T12:00:01.387-04:00 | 764.828 | 12.7471 | 154 | 2679350 | 389.16 | 0.4507 | 1.9021 | 4.9323 | -2.4415 | -0.00341 | -0.04092
2026-07-30T12:00:06.394-04:00 | 769.828 | 12.8305 | 155 | 2684349 | 390.08 | 0.4146 | 1.9065 | 4.9063 | -2.4676 | -0.02608 | -0.31296
2026-07-30T12:00:11.387-04:00 | 774.828 | 12.9138 | 156 | 2689350 | 389.88 | 0.3062 | 1.9056 | 4.9119 | -2.4619 | 0.00567 | 0.06804
2026-07-30T12:00:16.379-04:00 | 779.812 | 12.9969 | 157 | 2694350 | 390.4 | 0.5 | 1.9081 | 4.8972 | -2.4766 | -0.01474 | -0.17745
2026-07-30T12:00:21.385-04:00 | 784.828 | 13.0805 | 158 | 2699350 | 390.6 | 0.4841 | 1.9091 | 4.8915 | -2.4823 | -0.00567 | -0.067823
2026-07-30T12:00:26.378-04:00 | 789.812 | 13.1635 | 159 | 2704350 | 390.92 | 0.25 | 1.9107 | 4.8825 | -2.4914 | -0.00907 | -0.10919
2026-07-30T12:00:31.369-04:00 | 794.812 | 13.2469 | 160 | 2709350 | 391.28 | 0.4507 | 1.9124 | 4.8722 | -2.5016 | -0.01021 | -0.12252
2026-07-30T12:00:36.376-04:00 | 799.812 | 13.3302 | 161 | 2714350 | 391.36 | 0.4841 | 1.9128 | 4.87 | -2.5039 | -0.00227 | -0.02724
2026-07-30T12:00:41.369-04:00 | 804.812 | 13.4135 | 162 | 2719350 | 392 | 0.2795 | 1.9159 | 4.8518 | -2.522 | -0.01814 | -0.21768
2026-07-30T12:00:46.360-04:00 | 809.797 | 13.4966 | 163 | 2724349 | 392.28 | 0.4507 | 1.9173 | 4.8439 | -2.5299 | -0.00794 | -0.095567
2026-07-30T12:00:51.367-04:00 | 814.797 | 13.5799 | 164 | 2729350 | 392.72 | 0.4507 | 1.9195 | 4.8314 | -2.5424 | -0.01247 | -0.14964
2026-07-30T12:00:56.359-04:00 | 819.797 | 13.6633 | 165 | 2734350 | 392.92 | 0.375 | 1.9204 | 4.8258 | -2.5481 | -0.00567 | -0.06804
2026-07-30T12:01:01.350-04:00 | 824.781 | 13.7463 | 166 | 2739349 | 393.12 | 0.3307 | 1.9214 | 4.8201 | -2.5538 | -0.00567 | -0.068258
2026-07-30T12:01:06.358-04:00 | 829.797 | 13.8299 | 167 | 2744350 | 393.36 | 0.4841 | 1.9226 | 4.8133 | -2.5606 | -0.00681 | -0.081459
2026-07-30T12:01:11.349-04:00 | 834.781 | 13.913 | 168 | 2749350 | 393.52 | 0.5 | 1.9234 | 4.8087 | -2.5651 | -0.00453 | -0.054535
2026-07-30T12:01:16.342-04:00 | 839.781 | 13.9963 | 169 | 2754350 | 394.04 | 0.3307 | 1.9259 | 4.794 | -2.5798 | -0.01475 | -0.177
2026-07-30T12:01:21.349-04:00 | 844.781 | 14.0797 | 170 | 2759350 | 394.12 | 0.3307 | 1.9263 | 4.7917 | -2.5821 | -0.00226 | -0.02712
2026-07-30T12:01:26.340-04:00 | 849.781 | 14.163 | 171 | 2764350 | 394.64 | 0.4677 | 1.9288 | 4.777 | -2.5969 | -0.01475 | -0.177
2026-07-30T12:01:31.332-04:00 | 854.765 | 14.2461 | 172 | 2769350 | 395.12 | 0.5154 | 1.9312 | 4.7634 | -2.6105 | -0.0136 | -0.16372
2026-07-30T12:01:36.339-04:00 | 859.781 | 14.3297 | 173 | 2774350 | 395.48 | 0.5 | 1.9329 | 4.7532 | -2.6207 | -0.01021 | -0.12213
2026-07-30T12:01:41.331-04:00 | 864.765 | 14.4127 | 174 | 2779350 | 395.64 | 0.4677 | 1.9337 | 4.7486 | -2.6252 | -0.00453 | -0.054535
2026-07-30T12:01:46.323-04:00 | 869.765 | 14.4961 | 175 | 2784350 | 395.8 | 0.5 | 1.9345 | 4.7441 | -2.6297 | -0.00454 | -0.05448
2026-07-30T12:01:51.330-04:00 | 874.765 | 14.5794 | 176 | 2789350 | 396.16 | 0.3536 | 1.9363 | 4.7339 | -2.64 | -0.01021 | -0.12252
2026-07-30T12:01:56.322-04:00 | 879.765 | 14.6627 | 177 | 2794349 | 396.76 | 0.433 | 1.9392 | 4.7169 | -2.657 | -0.01701 | -0.20412
2026-07-30T12:02:01.314-04:00 | 884.75 | 14.7458 | 178 | 2799350 | 397.08 | 0.4146 | 1.9408 | 4.7078 | -2.666 | -0.00907 | -0.10917
2026-07-30T12:02:06.321-04:00 | 889.765 | 14.8294 | 179 | 2804349 | 397.36 | 0.5 | 1.9421 | 4.6999 | -2.674 | -0.00794 | -0.094995
2026-07-30T12:02:11.313-04:00 | 894.75 | 14.9125 | 180 | 2809350 | 397.44 | 0.4841 | 1.9425 | 4.6976 | -2.6762 | -0.00226 | -0.027202
2026-07-30T12:02:16.305-04:00 | 899.734 | 14.9956 | 181 | 2814350 | 398.08 | 0.3062 | 1.9457 | 4.6795 | -2.6944 | -0.01815 | -0.2185
2026-07-30T12:02:21.312-04:00 | 904.75 | 15.0792 | 182 | 2819350 | 398.08 | 0.5728 | 1.9457 | 4.6795 | -2.6944 | 0 | 0
2026-07-30T12:02:26.304-04:00 | 909.734 | 15.1622 | 183 | 2824350 | 398.44 | 0.5 | 1.9474 | 4.6693 | -2.7046 | -0.0102 | -0.12279
2026-07-30T12:02:31.295-04:00 | 914.734 | 15.2456 | 184 | 2829350 | 398.72 | 0.4507 | 1.9488 | 4.6613 | -2.7125 | -0.00794 | -0.09528
2026-07-30T12:02:36.303-04:00 | 919.734 | 15.3289 | 185 | 2834350 | 398.84 | 0.375 | 1.9494 | 4.6579 | -2.7159 | -0.0034 | -0.0408
2026-07-30T12:02:41.295-04:00 | 924.734 | 15.4122 | 186 | 2839349 | 398.96 | 0.4507 | 1.95 | 4.6545 | -2.7193 | -0.00341 | -0.04092
2026-07-30T12:02:46.286-04:00 | 929.718 | 15.4953 | 187 | 2844349 | 399.4 | 0.4841 | 1.9521 | 4.642 | -2.7318 | -0.01247 | -0.15012
2026-07-30T12:02:51.293-04:00 | 934.734 | 15.5789 | 188 | 2849350 | 399.72 | 0.4507 | 1.9537 | 4.633 | -2.7409 | -0.00907 | -0.10849
2026-07-30T12:02:56.285-04:00 | 939.718 | 15.662 | 189 | 2854350 | 399.96 | 0.4507 | 1.9548 | 4.6262 | -2.7477 | -0.00681 | -0.081982
2026-07-30T12:03:01.277-04:00 | 944.718 | 15.7453 | 190 | 2859350 | 400.24 | 0.433 | 1.9562 | 4.6182 | -2.7556 | -0.00793 | -0.09516
2026-07-30T12:03:06.284-04:00 | 949.718 | 15.8286 | 191 | 2864350 | 400.88 | 0.4146 | 1.9593 | 4.6001 | -2.7738 | -0.01815 | -0.2178
2026-07-30T12:03:11.276-04:00 | 954.718 | 15.912 | 192 | 2869350 | 400.88 | 0.5154 | 1.9593 | 4.6001 | -2.7738 | 0 | 0
2026-07-30T12:03:16.268-04:00 | 959.703 | 15.995 | 193 | 2874350 | 401.16 | 0.4677 | 1.9607 | 4.5921 | -2.7817 | -0.00794 | -0.095567
2026-07-30T12:03:21.275-04:00 | 964.718 | 16.0786 | 194 | 2879350 | 401.28 | 0.4507 | 1.9613 | 4.5887 | -2.7851 | -0.0034 | -0.040678
2026-07-30T12:03:26.267-04:00 | 969.703 | 16.1617 | 195 | 2884349 | 401.72 | 0.4507 | 1.9634 | 4.5763 | -2.7976 | -0.01247 | -0.15009
2026-07-30T12:03:31.259-04:00 | 974.703 | 16.245 | 196 | 2889350 | 402.48 | 0.5 | 1.9672 | 4.5547 | -2.8191 | -0.02155 | -0.2586
2026-07-30T12:03:36.266-04:00 | 979.703 | 16.3284 | 197 | 2894350 | 403.88 | 0.3062 | 1.974 | 4.515 | -2.8588 | -0.03969 | -0.47628
2026-07-30T12:03:41.258-04:00 | 984.687 | 16.4114 | 198 | 2899350 | 404.24 | 0.433 | 1.9758 | 4.5048 | -2.869 | -0.0102 | -0.12279
2026-07-30T12:03:46.249-04:00 | 989.687 | 16.4948 | 199 | 2904349 | 404.4 | 0.4841 | 1.9765 | 4.5003 | -2.8736 | -0.00454 | -0.05448
2026-07-30T12:03:51.257-04:00 | 994.687 | 16.5781 | 200 | 2909350 | 404.56 | 0.5 | 1.9773 | 4.4958 | -2.8781 | -0.00454 | -0.05448
2026-07-30T12:03:56.248-04:00 | 999.687 | 16.6614 | 201 | 2914349 | 404.88 | 0.433 | 1.9789 | 4.4867 | -2.8872 | -0.00907 | -0.10884
2026-07-30T12:04:01.240-04:00 | 1004.672 | 16.7445 | 202 | 2919350 | 405.08 | 0.2795 | 1.9799 | 4.481 | -2.8928 | -0.00567 | -0.068245
2026-07-30T12:04:06.248-04:00 | 1009.687 | 16.8281 | 203 | 2924350 | 405.24 | 0.433 | 1.9806 | 4.4765 | -2.8974 | -0.00453 | -0.054197
2026-07-30T12:04:11.239-04:00 | 1014.672 | 16.9112 | 204 | 2929350 | 405.36 | 0.4841 | 1.9812 | 4.4731 | -2.9008 | -0.00341 | -0.041043
2026-07-30T12:04:16.231-04:00 | 1019.672 | 16.9945 | 205 | 2934349 | 405.48 | 0.4841 | 1.9818 | 4.4697 | -2.9042 | -0.0034 | -0.0408
2026-07-30T12:04:21.238-04:00 | 1024.672 | 17.0779 | 206 | 2939348 | 405.76 | 0.4146 | 1.9832 | 4.4617 | -2.9121 | -0.00794 | -0.09528
2026-07-30T12:04:26.230-04:00 | 1029.672 | 17.1612 | 207 | 2944350 | 405.72 | 0.4507 | 1.983 | 4.4629 | -2.911 | 0.00114 | 0.01368
2026-07-30T12:04:31.222-04:00 | 1034.656 | 17.2443 | 208 | 2949349 | 405.84 | 0.3536 | 1.9836 | 4.4595 | -2.9144 | -0.0034 | -0.040931
2026-07-30T12:04:36.229-04:00 | 1039.672 | 17.3279 | 209 | 2954350 | 405.88 | 0.3307 | 1.9838 | 4.4583 | -2.9155 | -0.00114 | -0.013636
2026-07-30T12:04:41.221-04:00 | 1044.656 | 17.4109 | 210 | 2959350 | 405.96 | 0.4507 | 1.9842 | 4.4561 | -2.9178 | -0.00227 | -0.027327
2026-07-30T12:04:46.212-04:00 | 1049.656 | 17.4943 | 211 | 2964349 | 406.08 | 0.4146 | 1.9848 | 4.4527 | -2.9212 | -0.0034 | -0.0408
2026-07-30T12:04:51.219-04:00 | 1054.656 | 17.5776 | 212 | 2969350 | 406.28 | 0.4507 | 1.9857 | 4.447 | -2.9268 | -0.00567 | -0.06804

## Summary
Metric | Value
Experiment name | DOPC_pH_change
Start time | 2026-07-30T11:47:16-04:00
End time | 2026-07-30T12:04:55-04:00
Stop reason | stopped by user
Operator notes | Add sample conditions, treatment, concentration, temperature, and UV timing here.
Serial port | COM3
Sample interval (s) | 5
Requested duration (min) | 60
Number of readings | 212
Initial pH | 7.3738
Final pH | 4.447
Net pH change | -2.9268
Minimum pH | 4.447
Maximum pH | 7.3738
Mean pH | 5.8614
pH standard deviation | 0.96518
Linear pH rate (pH/min) | -0.18585
Calibration slope | -0.02835
Calibration intercept | 15.965
Calibration R² | 0.99981
Calibration point count | 3