## Data
computer_timestamp | elapsed_seconds | elapsed_minutes | sample_number | arduino_millis | raw_adc | raw_sd | voltage | ph | delta_ph | ph_change_from_previous | ph_rate_from_previous_per_min
2026-07-24T13:50:53.169-04:00 | 0.281 | 0.0046833 | 1 | 5285325 | 331.4 | 0.5728 | 1.6197 | 6.4815 | 0 | 0
2026-07-24T13:50:58.160-04:00 | 5.281 | 0.088017 | 2 | 5290323 | 334.44 | 2.467 | 1.6346 | 6.3955 | -0.08598 | -0.08598 | -1.0318
2026-07-24T13:51:03.151-04:00 | 10.266 | 0.1711 | 3 | 5295324 | 328.68 | 0.7856 | 1.6065 | 6.5584 | 0.07692 | 0.1629 | 1.9607
2026-07-24T13:51:08.157-04:00 | 15.281 | 0.25468 | 4 | 5300324 | 365.24 | 2.7329 | 1.7851 | 5.5245 | -0.95705 | -1.034 | -12.3705
2026-07-24T13:51:13.149-04:00 | 20.266 | 0.33777 | 5 | 5305324 | 351.84 | 1.5687 | 1.7196 | 5.9034 | -0.57808 | 0.37897 | 4.5613
2026-07-24T13:51:18.155-04:00 | 25.281 | 0.42135 | 6 | 5310324 | 345.72 | 0.5303 | 1.6897 | 6.0765 | -0.405 | 0.17308 | 2.0707
2026-07-24T13:51:23.146-04:00 | 30.266 | 0.50443 | 7 | 5315324 | 346.36 | 0.4841 | 1.6929 | 6.0584 | -0.42309 | -0.01809 | -0.21773
2026-07-24T13:51:28.137-04:00 | 35.25 | 0.5875 | 8 | 5320325 | 347.92 | 0.476 | 1.7005 | 6.0143 | -0.46721 | -0.04412 | -0.53114
2026-07-24T13:51:33.144-04:00 | 40.266 | 0.6711 | 9 | 5325325 | 350.08 | 0.4921 | 1.711 | 5.9532 | -0.5283 | -0.06109 | -0.73074
2026-07-24T13:51:38.135-04:00 | 45.25 | 0.75417 | 10 | 5330325 | 348.48 | 0.8927 | 1.7032 | 5.9985 | -0.48305 | 0.04525 | 0.54474
2026-07-24T13:51:43.143-04:00 | 50.266 | 0.83777 | 11 | 5335326 | 353.24 | 0.5154 | 1.7265 | 5.8638 | -0.61767 | -0.13462 | -1.6103
2026-07-24T13:51:48.133-04:00 | 55.25 | 0.92083 | 12 | 5340325 | 355.68 | 0.552 | 1.7384 | 5.7948 | -0.68668 | -0.06901 | -0.83078
2026-07-24T13:51:53.124-04:00 | 60.25 | 1.0042 | 13 | 5345325 | 357.92 | 1.1924 | 1.7494 | 5.7315 | -0.75003 | -0.06335 | -0.7602
2026-07-24T13:51:58.132-04:00 | 65.25 | 1.0875 | 14 | 5350325 | 358.4 | 0.4921 | 1.7517 | 5.7179 | -0.7636 | -0.01357 | -0.16284
2026-07-24T13:52:03.123-04:00 | 70.25 | 1.1708 | 15 | 5355325 | 361.48 | 0.6374 | 1.7668 | 5.6308 | -0.85071 | -0.08711 | -1.0453
2026-07-24T13:52:08.113-04:00 | 75.235 | 1.2539 | 16 | 5360325 | 364 | 0.559 | 1.7791 | 5.5595 | -0.92198 | -0.07127 | -0.85781
2026-07-24T13:52:13.120-04:00 | 80.235 | 1.3373 | 17 | 5365325 | 366.56 | 0.5 | 1.7916 | 5.4871 | -0.99438 | -0.0724 | -0.8688
2026-07-24T13:52:18.112-04:00 | 85.235 | 1.4206 | 18 | 5370324 | 369.48 | 0.4841 | 1.8059 | 5.4046 | -1.077 | -0.08258 | -0.99096
2026-07-24T13:52:23.102-04:00 | 90.219 | 1.5036 | 19 | 5375325 | 372.92 | 0.5449 | 1.8227 | 5.3073 | -1.1743 | -0.09729 | -1.1712
2026-07-24T13:52:28.108-04:00 | 95.235 | 1.5873 | 20 | 5380325 | 376.88 | 0.5154 | 1.842 | 5.1953 | -1.2862 | -0.112 | -1.3397
2026-07-24T13:52:33.101-04:00 | 100.219 | 1.6703 | 21 | 5385325 | 380.92 | 0.4677 | 1.8618 | 5.081 | -1.4005 | -0.11425 | -1.3754
2026-07-24T13:52:38.107-04:00 | 105.235 | 1.7539 | 22 | 5390325 | 385.84 | 0.375 | 1.8858 | 4.9419 | -1.5396 | -0.13915 | -1.6645
2026-07-24T13:52:43.097-04:00 | 110.219 | 1.837 | 23 | 5395324 | 391.52 | 0.5 | 1.9136 | 4.7812 | -1.7003 | -0.16064 | -1.9339
2026-07-24T13:52:48.089-04:00 | 115.203 | 1.9201 | 24 | 5400325 | 396.68 | 0.5449 | 1.9388 | 4.6353 | -1.8462 | -0.14593 | -1.7568
2026-07-24T13:52:53.096-04:00 | 120.219 | 2.0036 | 25 | 5405325 | 400.84 | 0.5449 | 1.9591 | 4.5176 | -1.9639 | -0.11765 | -1.4073
2026-07-24T13:52:58.088-04:00 | 125.203 | 2.0867 | 26 | 5410325 | 404.72 | 0.5995 | 1.9781 | 4.4079 | -2.0736 | -0.10973 | -1.321
2026-07-24T13:53:03.094-04:00 | 130.219 | 2.1703 | 27 | 5415325 | 407.6 | 0.559 | 1.9922 | 4.3265 | -2.1551 | -0.08145 | -0.97428
2026-07-24T13:53:08.085-04:00 | 135.203 | 2.2534 | 28 | 5420325 | 409.72 | 0.5303 | 2.0025 | 4.2665 | -2.215 | -0.05996 | -0.72183
2026-07-24T13:53:13.075-04:00 | 140.188 | 2.3365 | 29 | 5425325 | 411.4 | 0.5728 | 2.0108 | 4.219 | -2.2625 | -0.04751 | -0.57184
2026-07-24T13:53:18.083-04:00 | 145.203 | 2.4201 | 30 | 5430325 | 412.6 | 0.559 | 2.0166 | 4.1851 | -2.2965 | -0.03394 | -0.40606
2026-07-24T13:53:23.074-04:00 | 150.188 | 2.5031 | 31 | 5435325 | 413.72 | 0.6731 | 2.0221 | 4.1534 | -2.3281 | -0.03168 | -0.3813
2026-07-24T13:53:28.065-04:00 | 155.188 | 2.5865 | 32 | 5440325 | 414.68 | 0.5449 | 2.0268 | 4.1262 | -2.3553 | -0.02715 | -0.3258
2026-07-24T13:53:33.072-04:00 | 160.188 | 2.6698 | 33 | 5445325 | 415.56 | 0.5728 | 2.0311 | 4.1013 | -2.3802 | -0.02488 | -0.29856
2026-07-24T13:53:38.063-04:00 | 165.188 | 2.7531 | 34 | 5450324 | 416.56 | 0.5 | 2.036 | 4.0731 | -2.4085 | -0.02828 | -0.33936
2026-07-24T13:53:43.069-04:00 | 170.188 | 2.8365 | 35 | 5455325 | 417.2 | 0.625 | 2.0391 | 4.0549 | -2.4266 | -0.01811 | -0.21732
2026-07-24T13:53:48.059-04:00 | 175.172 | 2.9195 | 36 | 5460325 | 416.8 | 0.4146 | 2.0371 | 4.0663 | -2.4152 | 0.01132 | 0.13628
2026-07-24T13:53:53.051-04:00 | 180.172 | 3.0029 | 37 | 5465325 | 416 | 0.559 | 2.0332 | 4.0889 | -2.3926 | 0.02262 | 0.27144
2026-07-24T13:53:58.058-04:00 | 185.172 | 3.0862 | 38 | 5470325 | 415.88 | 0.5154 | 2.0326 | 4.0923 | -2.3892 | 0.0034 | 0.0408
2026-07-24T13:54:03.049-04:00 | 190.172 | 3.1695 | 39 | 5475324 | 416.32 | 0.4677 | 2.0348 | 4.0798 | -2.4017 | -0.01245 | -0.1494
2026-07-24T13:54:08.040-04:00 | 195.156 | 3.2526 | 40 | 5480325 | 415.28 | 0.4507 | 2.0297 | 4.1093 | -2.3723 | 0.02942 | 0.35417
2026-07-24T13:54:13.047-04:00 | 200.172 | 3.3362 | 41 | 5485325 | 414.88 | 0.5154 | 2.0278 | 4.1206 | -2.3609 | 0.01131 | 0.13529
2026-07-24T13:54:18.039-04:00 | 205.156 | 3.4193 | 42 | 5490325 | 414.72 | 0.4507 | 2.027 | 4.1251 | -2.3564 | 0.00452 | 0.054414
2026-07-24T13:54:23.044-04:00 | 210.172 | 3.5029 | 43 | 5495325 | 415.48 | 0.4841 | 2.0307 | 4.1036 | -2.3779 | -0.02149 | -0.25706
2026-07-24T13:54:28.035-04:00 | 215.156 | 3.5859 | 44 | 5500325 | 415.64 | 0.5449 | 2.0315 | 4.0991 | -2.3824 | -0.00453 | -0.054535
2026-07-24T13:54:33.027-04:00 | 220.141 | 3.669 | 45 | 5505325 | 415.36 | 0.625 | 2.0301 | 4.107 | -2.3745 | 0.00792 | 0.095326
2026-07-24T13:54:38.034-04:00 | 225.156 | 3.7526 | 46 | 5510325 | 415.4 | 0.5728 | 2.0303 | 4.1059 | -2.3756 | -0.00113 | -0.013519
2026-07-24T13:54:43.025-04:00 | 230.141 | 3.8357 | 47 | 5515325 | 415.36 | 0.4841 | 2.0301 | 4.107 | -2.3745 | 0.00113 | 0.013601
2026-07-24T13:54:48.015-04:00 | 235.141 | 3.919 | 48 | 5520325 | 415.76 | 0.5728 | 2.0321 | 4.0957 | -2.3858 | -0.01131 | -0.13572
2026-07-24T13:54:53.023-04:00 | 240.141 | 4.0024 | 49 | 5525325 | 415.8 | 0.4146 | 2.0323 | 4.0945 | -2.387 | -0.00113 | -0.01356
2026-07-24T13:54:58.014-04:00 | 245.141 | 4.0857 | 50 | 5530324 | 416.28 | 0.6124 | 2.0346 | 4.081 | -2.4005 | -0.01358 | -0.16296
2026-07-24T13:55:03.021-04:00 | 250.141 | 4.169 | 51 | 5535325 | 416.24 | 0.433 | 2.0344 | 4.0821 | -2.3994 | 0.00114 | 0.01368
2026-07-24T13:55:08.011-04:00 | 255.125 | 4.2521 | 52 | 5540325 | 415.56 | 0.5 | 2.0311 | 4.1013 | -2.3802 | 0.01923 | 0.2315
2026-07-24T13:55:13.003-04:00 | 260.125 | 4.3354 | 53 | 5545325 | 415.48 | 0.4841 | 2.0307 | 4.1036 | -2.3779 | 0.00226 | 0.02712
2026-07-24T13:55:18.008-04:00 | 265.125 | 4.4188 | 54 | 5550325 | 416.08 | 0.4841 | 2.0336 | 4.0866 | -2.3949 | -0.01697 | -0.20364
2026-07-24T13:55:23.000-04:00 | 270.125 | 4.5021 | 55 | 5555324 | 415.52 | 0.7071 | 2.0309 | 4.1025 | -2.379 | 0.01584 | 0.19008
2026-07-24T13:55:27.992-04:00 | 275.11 | 4.5852 | 56 | 5560325 | 416.08 | 0.625 | 2.0336 | 4.0866 | -2.3949 | -0.01584 | -0.19065
2026-07-24T13:55:32.998-04:00 | 280.125 | 4.6688 | 57 | 5565325 | 415.08 | 0.696 | 2.0287 | 4.1149 | -2.3666 | 0.02828 | 0.33834
2026-07-24T13:55:37.990-04:00 | 285.11 | 4.7518 | 58 | 5570325 | 415.36 | 0.4841 | 2.0301 | 4.107 | -2.3745 | -0.00792 | -0.095326
2026-07-24T13:55:42.996-04:00 | 290.11 | 4.8352 | 59 | 5575325 | 414.32 | 0.6124 | 2.025 | 4.1364 | -2.3451 | 0.02941 | 0.35292
2026-07-24T13:55:47.987-04:00 | 295.11 | 4.9185 | 60 | 5580325 | 414.68 | 0.5449 | 2.0268 | 4.1262 | -2.3553 | -0.01018 | -0.12216
2026-07-24T13:55:52.978-04:00 | 300.094 | 5.0016 | 61 | 5585325 | 414.68 | 0.5449 | 2.0268 | 4.1262 | -2.3553 | 0 | 0
2026-07-24T13:55:57.985-04:00 | 305.11 | 5.0852 | 62 | 5590325 | 414.68 | 0.5449 | 2.0268 | 4.1262 | -2.3553 | 0 | 0
2026-07-24T13:56:02.976-04:00 | 310.094 | 5.1682 | 63 | 5595325 | 413.64 | 0.4677 | 2.0217 | 4.1556 | -2.3259 | 0.02942 | 0.35417
2026-07-24T13:56:07.982-04:00 | 315.11 | 5.2518 | 64 | 5600325 | 413.6 | 0.559 | 2.0215 | 4.1568 | -2.3247 | 0.00113 | 0.013517
2026-07-24T13:56:12.974-04:00 | 320.094 | 5.3349 | 65 | 5605325 | 414.88 | 0.5863 | 2.0278 | 4.1206 | -2.3609 | -0.0362 | -0.43579
2026-07-24T13:56:17.964-04:00 | 325.078 | 5.418 | 66 | 5610324 | 414.12 | 0.433 | 2.024 | 4.1421 | -2.3394 | 0.02149 | 0.25871
2026-07-24T13:56:22.972-04:00 | 330.094 | 5.5016 | 67 | 5615325 | 413.24 | 0.5154 | 2.0197 | 4.1669 | -2.3146 | 0.02489 | 0.29773
2026-07-24T13:56:27.962-04:00 | 335.078 | 5.5846 | 68 | 5620325 | 413.2 | 0.559 | 2.0196 | 4.1681 | -2.3134 | 0.00113 | 0.013604
2026-07-24T13:56:32.954-04:00 | 340.078 | 5.668 | 69 | 5625325 | 411.96 | 0.5303 | 2.0135 | 4.2031 | -2.2784 | 0.03507 | 0.42084
2026-07-24T13:56:37.961-04:00 | 345.078 | 5.7513 | 70 | 5630325 | 411.6 | 0.559 | 2.0117 | 4.2133 | -2.2682 | 0.01018 | 0.12216
2026-07-24T13:56:42.950-04:00 | 350.078 | 5.8346 | 71 | 5635324 | 411.36 | 0.5 | 2.0106 | 4.2201 | -2.2614 | 0.00679 | 0.08148
2026-07-24T13:56:47.958-04:00 | 355.078 | 5.918 | 72 | 5640325 | 411.52 | 0.5 | 2.0113 | 4.2156 | -2.2659 | -0.00453 | -0.05436
2026-07-24T13:56:52.948-04:00 | 360.063 | 6.0011 | 73 | 5645325 | 411.76 | 0.5728 | 2.0125 | 4.2088 | -2.2727 | -0.00678 | -0.081605
2026-07-24T13:56:57.940-04:00 | 365.063 | 6.0844 | 74 | 5650325 | 411.24 | 0.5995 | 2.01 | 4.2235 | -2.258 | 0.0147 | 0.1764
2026-07-24T13:57:02.947-04:00 | 370.063 | 6.1677 | 75 | 5655325 | 410.76 | 0.5863 | 2.0076 | 4.2371 | -2.2444 | 0.01358 | 0.16296
2026-07-24T13:57:07.939-04:00 | 375.063 | 6.2511 | 76 | 5660325 | 410.2 | 0.559 | 2.0049 | 4.2529 | -2.2286 | 0.01583 | 0.18996
2026-07-24T13:57:12.930-04:00 | 380.047 | 6.3341 | 77 | 5665325 | 409.48 | 0.5 | 2.0014 | 4.2733 | -2.2082 | 0.02037 | 0.24522
2026-07-24T13:57:17.936-04:00 | 385.063 | 6.4177 | 78 | 5670325 | 409.24 | 0.5863 | 2.0002 | 4.2801 | -2.2014 | 0.00679 | 0.08122
2026-07-24T13:57:22.927-04:00 | 390.047 | 6.5008 | 79 | 5675325 | 409.6 | 0.4841 | 2.002 | 4.2699 | -2.2116 | -0.01019 | -0.12267
2026-07-24T13:57:27.934-04:00 | 395.047 | 6.5841 | 80 | 5680325 | 410.56 | 0.5 | 2.0066 | 4.2427 | -2.2388 | -0.02715 | -0.3258
2026-07-24T13:57:32.925-04:00 | 400.047 | 6.6674 | 81 | 5685325 | 409.04 | 0.5863 | 1.9992 | 4.2857 | -2.1958 | 0.04299 | 0.51588
2026-07-24T13:57:37.916-04:00 | 405.031 | 6.7505 | 82 | 5690324 | 408.4 | 0.4841 | 1.9961 | 4.3038 | -2.1777 | 0.0181 | 0.2179
2026-07-24T13:57:42.922-04:00 | 410.047 | 6.8341 | 83 | 5695325 | 406.76 | 0.5 | 1.9881 | 4.3502 | -2.1313 | 0.04638 | 0.55478
2026-07-24T13:57:47.913-04:00 | 415.031 | 6.9172 | 84 | 5700325 | 408.64 | 0.5449 | 1.9973 | 4.297 | -2.1845 | -0.05317 | -0.64009
2026-07-24T13:57:52.904-04:00 | 420.031 | 7.0005 | 85 | 5705325 | 406.88 | 0.5 | 1.9887 | 4.3468 | -2.1347 | 0.04978 | 0.59736
2026-07-24T13:57:57.912-04:00 | 425.031 | 7.0839 | 86 | 5710325 | 405.84 | 0.4507 | 1.9836 | 4.3762 | -2.1053 | 0.02941 | 0.35292
2026-07-24T13:58:02.902-04:00 | 430.016 | 7.1669 | 87 | 5715324 | 405.92 | 0.5449 | 1.984 | 4.374 | -2.1075 | -0.00226 | -0.027202
2026-07-24T13:58:07.908-04:00 | 435.031 | 7.2505 | 88 | 5720325 | 404.8 | 0.5 | 1.9785 | 4.4056 | -2.0759 | 0.03168 | 0.37902
2026-07-24T13:58:12.901-04:00 | 440.016 | 7.3336 | 89 | 5725325 | 405.64 | 0.5449 | 1.9826 | 4.3819 | -2.0996 | -0.02376 | -0.28598
2026-07-24T13:58:17.891-04:00 | 445.016 | 7.4169 | 90 | 5730325 | 405.84 | 0.5449 | 1.9836 | 4.3762 | -2.1053 | -0.00566 | -0.06792
2026-07-24T13:58:22.897-04:00 | 450.016 | 7.5003 | 91 | 5735325 | 406.52 | 0.5154 | 1.9869 | 4.357 | -2.1245 | -0.01923 | -0.23076
2026-07-24T13:58:27.889-04:00 | 455.016 | 7.5836 | 92 | 5740325 | 405.48 | 0.4841 | 1.9818 | 4.3864 | -2.0951 | 0.02941 | 0.35292
2026-07-24T13:58:32.880-04:00 | 460 | 7.6667 | 93 | 5745325 | 405.4 | 0.5 | 1.9814 | 4.3887 | -2.0928 | 0.00227 | 0.027327
2026-07-24T13:58:37.886-04:00 | 465 | 7.75 | 94 | 5750325 | 405.36 | 0.4841 | 1.9812 | 4.3898 | -2.0917 | 0.00113 | 0.01356
2026-07-24T13:58:42.878-04:00 | 470 | 7.8333 | 95 | 5755325 | 405.36 | 0.4841 | 1.9812 | 4.3898 | -2.0917 | 0 | 0
2026-07-24T13:58:47.885-04:00 | 475 | 7.9167 | 96 | 5760325 | 404.36 | 0.6374 | 1.9763 | 4.4181 | -2.0634 | 0.02828 | 0.33936
2026-07-24T13:58:52.876-04:00 | 480 | 8 | 97 | 5765325 | 402.68 | 0.625 | 1.9681 | 4.4656 | -2.0159 | 0.04751 | 0.57012
2026-07-24T13:58:57.866-04:00 | 484.985 | 8.0831 | 98 | 5770324 | 400.04 | 0.433 | 1.9552 | 4.5403 | -1.9412 | 0.07466 | 0.89862

## Summary
Metric | Value
Experiment name | DOPC_pH_change
Start time | 2026-07-24T13:50:52-04:00
End time | 2026-07-24T13:59:02-04:00
Stop reason | stopped by user
Operator notes | Add sample conditions, treatment, concentration, temperature, and UV timing here.
Serial port | COM3
Sample interval (s) | 5
Requested duration (min) | 60
Number of readings | 98
Initial pH | 6.4815
Final pH | 4.5403
Net pH change | -1.9412
Minimum pH | 4.0549
Maximum pH | 6.5584
Mean pH | 4.5703
pH standard deviation | 0.68549
Linear pH rate (pH/min) | -0.19094
Calibration slope | -0.028281
Calibration intercept | 15.854
Calibration R² | 0.99966
Calibration point count | 3