## Data
computer_timestamp | elapsed_seconds | elapsed_minutes | sample_number | arduino_millis | raw_adc | raw_sd | voltage | ph | delta_ph | ph_change_from_previous | ph_rate_from_previous_per_min
2026-07-30T12:26:34.172-04:00 | 0.281 | 0.0046833 | 1 | 4273087 | 220.16 | 0.3644 | 1.0761 | 9.7235 | 0 | 0
2026-07-30T12:26:39.163-04:00 | 5.265 | 0.08775 | 2 | 4278086 | 220.48 | 0.5 | 1.0776 | 9.7144 | -0.00907 | -0.00907 | -0.10919
2026-07-30T12:26:44.154-04:00 | 10.265 | 0.17108 | 3 | 4283086 | 221 | 0.2795 | 1.0802 | 9.6997 | -0.02381 | -0.01474 | -0.17688
2026-07-30T12:26:49.162-04:00 | 15.265 | 0.25442 | 4 | 4288086 | 221.48 | 0.5039 | 1.0825 | 9.6861 | -0.03742 | -0.01361 | -0.16332
2026-07-30T12:26:54.154-04:00 | 20.265 | 0.33775 | 5 | 4293086 | 221.76 | 0.4285 | 1.0839 | 9.6781 | -0.04536 | -0.00794 | -0.09528
2026-07-30T12:26:59.145-04:00 | 25.25 | 0.42083 | 6 | 4298086 | 222.12 | 0.6525 | 1.0856 | 9.6679 | -0.05556 | -0.0102 | -0.12277
2026-07-30T12:27:04.153-04:00 | 30.265 | 0.50442 | 7 | 4303086 | 222.6 | 0.4881 | 1.088 | 9.6543 | -0.06917 | -0.01361 | -0.16283
2026-07-30T12:27:09.145-04:00 | 35.25 | 0.5875 | 8 | 4308086 | 222.84 | 0.3698 | 1.0891 | 9.6475 | -0.07597 | -0.0068 | -0.081846
2026-07-30T12:27:14.136-04:00 | 40.25 | 0.67083 | 9 | 4313085 | 223.12 | 0.433 | 1.0905 | 9.6396 | -0.08391 | -0.00794 | -0.09528
2026-07-30T12:27:19.144-04:00 | 45.25 | 0.75417 | 10 | 4318086 | 223.48 | 0.5 | 1.0923 | 9.6294 | -0.09412 | -0.01021 | -0.12252
2026-07-30T12:27:24.136-04:00 | 50.25 | 0.8375 | 11 | 4323086 | 223.8 | 0.4002 | 1.0938 | 9.6203 | -0.10319 | -0.00907 | -0.10884
2026-07-30T12:27:29.128-04:00 | 55.234 | 0.92057 | 12 | 4328086 | 224.12 | 0.3248 | 1.0954 | 9.6112 | -0.11226 | -0.00907 | -0.10919
2026-07-30T12:27:34.135-04:00 | 60.25 | 1.0042 | 13 | 4333086 | 224.24 | 0.4285 | 1.096 | 9.6078 | -0.11566 | -0.0034 | -0.04067
2026-07-30T12:27:39.126-04:00 | 65.234 | 1.0872 | 14 | 4338086 | 224.64 | 0.4801 | 1.0979 | 9.5965 | -0.127 | -0.01134 | -0.13652
2026-07-30T12:27:44.118-04:00 | 70.234 | 1.1706 | 15 | 4343086 | 225.08 | 0.4801 | 1.1001 | 9.584 | -0.13948 | -0.01248 | -0.14976
2026-07-30T12:27:49.125-04:00 | 75.234 | 1.2539 | 16 | 4348086 | 225.36 | 0.4801 | 1.1015 | 9.5761 | -0.14742 | -0.00794 | -0.09528
2026-07-30T12:27:54.117-04:00 | 80.219 | 1.337 | 17 | 4353086 | 225.84 | 0.4677 | 1.1038 | 9.5625 | -0.16102 | -0.0136 | -0.16369
2026-07-30T12:27:59.109-04:00 | 85.219 | 1.4203 | 18 | 4358086 | 226.04 | 0.2073 | 1.1048 | 9.5568 | -0.16669 | -0.00567 | -0.06804
2026-07-30T12:28:04.116-04:00 | 90.219 | 1.5037 | 19 | 4363086 | 226.76 | 0.433 | 1.1083 | 9.5364 | -0.18711 | -0.02042 | -0.24504
2026-07-30T12:28:09.108-04:00 | 95.219 | 1.587 | 20 | 4368086 | 226.96 | 0.3423 | 1.1093 | 9.5307 | -0.19278 | -0.00567 | -0.06804
2026-07-30T12:28:14.099-04:00 | 100.203 | 1.6701 | 21 | 4373086 | 227.08 | 0.3903 | 1.1099 | 9.5273 | -0.19618 | -0.0034 | -0.040931
2026-07-30T12:28:19.107-04:00 | 105.219 | 1.7537 | 22 | 4378086 | 227.64 | 0.4801 | 1.1126 | 9.5114 | -0.21205 | -0.01587 | -0.18983
2026-07-30T12:28:24.099-04:00 | 110.203 | 1.8367 | 23 | 4383086 | 228.12 | 0.3307 | 1.115 | 9.4978 | -0.22566 | -0.01361 | -0.16384
2026-07-30T12:28:29.090-04:00 | 115.203 | 1.9201 | 24 | 4388086 | 228.28 | 0.4507 | 1.1157 | 9.4933 | -0.2302 | -0.00454 | -0.05448
2026-07-30T12:28:34.097-04:00 | 120.203 | 2.0034 | 25 | 4393085 | 228.76 | 0.4285 | 1.1181 | 9.4797 | -0.2438 | -0.0136 | -0.1632
2026-07-30T12:28:39.090-04:00 | 125.203 | 2.0867 | 26 | 4398086 | 229.08 | 0.3903 | 1.1196 | 9.4706 | -0.25288 | -0.00908 | -0.10896
2026-07-30T12:28:44.081-04:00 | 130.187 | 2.1698 | 27 | 4403086 | 229.28 | 0.4507 | 1.1206 | 9.4649 | -0.25855 | -0.00567 | -0.068258
2026-07-30T12:28:49.088-04:00 | 135.203 | 2.2534 | 28 | 4408086 | 230.04 | 0.348 | 1.1243 | 9.4434 | -0.28009 | -0.02154 | -0.25766
2026-07-30T12:28:54.081-04:00 | 140.187 | 2.3364 | 29 | 4413086 | 230.44 | 0.4961 | 1.1263 | 9.4321 | -0.29143 | -0.01134 | -0.13652
2026-07-30T12:28:59.072-04:00 | 145.187 | 2.4198 | 30 | 4418086 | 230.92 | 0.2724 | 1.1286 | 9.4184 | -0.30504 | -0.01361 | -0.16332
2026-07-30T12:29:04.079-04:00 | 150.187 | 2.5031 | 31 | 4423086 | 231.24 | 0.4239 | 1.1302 | 9.4094 | -0.31411 | -0.00907 | -0.10884
2026-07-30T12:29:09.071-04:00 | 155.187 | 2.5864 | 32 | 4428086 | 231.64 | 0.4801 | 1.1322 | 9.398 | -0.32545 | -0.01134 | -0.13608
2026-07-30T12:29:14.062-04:00 | 160.172 | 2.6695 | 33 | 4433086 | 232.24 | 0.4239 | 1.1351 | 9.381 | -0.34246 | -0.01701 | -0.20473
2026-07-30T12:29:19.070-04:00 | 165.172 | 2.7529 | 34 | 4438086 | 232.52 | 0.5 | 1.1365 | 9.3731 | -0.3504 | -0.00794 | -0.09528
2026-07-30T12:29:24.062-04:00 | 170.172 | 2.8362 | 35 | 4443086 | 233 | 0.2795 | 1.1388 | 9.3595 | -0.36401 | -0.01361 | -0.16332
2026-07-30T12:29:29.053-04:00 | 175.156 | 2.9193 | 36 | 4448086 | 233.8 | 0.4002 | 1.1427 | 9.3368 | -0.38669 | -0.02268 | -0.27303
2026-07-30T12:29:34.061-04:00 | 180.172 | 3.0029 | 37 | 4453086 | 234.16 | 0.3644 | 1.1445 | 9.3266 | -0.3969 | -0.01021 | -0.12213
2026-07-30T12:29:39.053-04:00 | 185.156 | 3.0859 | 38 | 4458086 | 234.72 | 0.4463 | 1.1472 | 9.3107 | -0.41277 | -0.01587 | -0.19105
2026-07-30T12:29:44.045-04:00 | 190.156 | 3.1693 | 39 | 4463086 | 235.16 | 0.3644 | 1.1494 | 9.2982 | -0.42525 | -0.01248 | -0.14976
2026-07-30T12:29:49.052-04:00 | 195.156 | 3.2526 | 40 | 4468086 | 235.88 | 0.5154 | 1.1529 | 9.2778 | -0.44566 | -0.02041 | -0.24492
2026-07-30T12:29:54.044-04:00 | 200.156 | 3.3359 | 41 | 4473085 | 236.16 | 0.3644 | 1.1543 | 9.2699 | -0.4536 | -0.00794 | -0.09528
2026-07-30T12:29:59.035-04:00 | 205.14 | 3.419 | 42 | 4478086 | 236.72 | 0.4463 | 1.157 | 9.254 | -0.46947 | -0.01587 | -0.19105
2026-07-30T12:30:04.042-04:00 | 210.156 | 3.5026 | 43 | 4483086 | 237.4 | 0.566 | 1.1603 | 9.2347 | -0.48875 | -0.01928 | -0.23062
2026-07-30T12:30:09.035-04:00 | 215.14 | 3.5857 | 44 | 4488086 | 238.08 | 0.3903 | 1.1636 | 9.2155 | -0.50803 | -0.01928 | -0.2321
2026-07-30T12:30:14.026-04:00 | 220.14 | 3.669 | 45 | 4493086 | 238.8 | 0.4002 | 1.1672 | 9.195 | -0.52844 | -0.02041 | -0.24492
2026-07-30T12:30:19.033-04:00 | 225.14 | 3.7523 | 46 | 4498086 | 239.04 | 0.4507 | 1.1683 | 9.1882 | -0.53524 | -0.0068 | -0.0816
2026-07-30T12:30:24.025-04:00 | 230.14 | 3.8357 | 47 | 4503086 | 239.68 | 0.4677 | 1.1715 | 9.1701 | -0.55339 | -0.01815 | -0.2178
2026-07-30T12:30:29.017-04:00 | 235.125 | 3.9188 | 48 | 4508086 | 240.48 | 0.5 | 1.1754 | 9.1474 | -0.57607 | -0.02268 | -0.27298
2026-07-30T12:30:34.024-04:00 | 240.14 | 4.0023 | 49 | 4513086 | 241.04 | 0.4507 | 1.1781 | 9.1315 | -0.59194 | -0.01587 | -0.18987
2026-07-30T12:30:39.017-04:00 | 245.125 | 4.0854 | 50 | 4518086 | 241.8 | 0.3953 | 1.1818 | 9.11 | -0.61349 | -0.02155 | -0.25938
2026-07-30T12:30:44.008-04:00 | 250.125 | 4.1688 | 51 | 4523086 | 242.6 | 0.4881 | 1.1857 | 9.0873 | -0.63617 | -0.02268 | -0.27216
2026-07-30T12:30:49.015-04:00 | 255.125 | 4.2521 | 52 | 4528086 | 243.28 | 0.4507 | 1.1891 | 9.068 | -0.65545 | -0.01928 | -0.23136
2026-07-30T12:30:54.007-04:00 | 260.109 | 4.3352 | 53 | 4533086 | 243.92 | 0.2724 | 1.1922 | 9.0499 | -0.67359 | -0.01814 | -0.21838
2026-07-30T12:30:58.999-04:00 | 265.109 | 4.4185 | 54 | 4538086 | 244.68 | 0.4719 | 1.1959 | 9.0283 | -0.69514 | -0.02155 | -0.2586
2026-07-30T12:31:04.006-04:00 | 270.109 | 4.5018 | 55 | 4543086 | 245.44 | 0.4961 | 1.1996 | 9.0068 | -0.71668 | -0.02154 | -0.25848
2026-07-30T12:31:08.998-04:00 | 275.109 | 4.5852 | 56 | 4548086 | 246.32 | 0.4635 | 1.2039 | 8.9818 | -0.74163 | -0.02495 | -0.2994
2026-07-30T12:31:13.990-04:00 | 280.094 | 4.6682 | 57 | 4553085 | 247 | 0.4881 | 1.2072 | 8.9626 | -0.76091 | -0.01928 | -0.23206
2026-07-30T12:31:18.997-04:00 | 285.109 | 4.7518 | 58 | 4558086 | 247.96 | 0.3423 | 1.2119 | 8.9354 | -0.78812 | -0.02721 | -0.32554
2026-07-30T12:31:23.989-04:00 | 290.094 | 4.8349 | 59 | 4563086 | 248.84 | 0.3698 | 1.2162 | 8.9104 | -0.81307 | -0.02495 | -0.3003
2026-07-30T12:31:28.980-04:00 | 295.094 | 4.9182 | 60 | 4568086 | 249.92 | 0.5625 | 1.2215 | 8.8798 | -0.84369 | -0.03062 | -0.36744
2026-07-30T12:31:33.987-04:00 | 300.094 | 5.0016 | 61 | 4573086 | 250.8 | 0.4002 | 1.2258 | 8.8548 | -0.86864 | -0.02495 | -0.2994
2026-07-30T12:31:38.980-04:00 | 305.094 | 5.0849 | 62 | 4578086 | 251.76 | 0.433 | 1.2305 | 8.8276 | -0.89585 | -0.02721 | -0.32652
2026-07-30T12:31:43.971-04:00 | 310.078 | 5.168 | 63 | 4583086 | 252.72 | 0.4507 | 1.2352 | 8.8004 | -0.92307 | -0.02722 | -0.32769
2026-07-30T12:31:48.979-04:00 | 315.094 | 5.2516 | 64 | 4588086 | 253.68 | 0.4719 | 1.2399 | 8.7732 | -0.95029 | -0.02722 | -0.3256
2026-07-30T12:31:53.971-04:00 | 320.078 | 5.3346 | 65 | 4593086 | 254.8 | 0.3953 | 1.2454 | 8.7414 | -0.98204 | -0.03175 | -0.38222
2026-07-30T12:31:58.977-04:00 | 325.094 | 5.4182 | 66 | 4598086 | 255.72 | 0.4507 | 1.2499 | 8.7154 | -1.0081 | -0.02608 | -0.31196
2026-07-30T12:32:03.969-04:00 | 330.078 | 5.5013 | 67 | 4603086 | 256.88 | 0.5154 | 1.2555 | 8.6825 | -1.041 | -0.03289 | -0.39595
2026-07-30T12:32:08.961-04:00 | 335.062 | 5.5844 | 68 | 4608086 | 257.84 | 0.375 | 1.2602 | 8.6553 | -1.0682 | -0.02721 | -0.32757
2026-07-30T12:32:13.952-04:00 | 340.062 | 5.6677 | 69 | 4613086 | 259 | 0.3953 | 1.2659 | 8.6224 | -1.1011 | -0.03289 | -0.39468
2026-07-30T12:32:18.960-04:00 | 345.062 | 5.751 | 70 | 4618086 | 260.04 | 0.3423 | 1.271 | 8.5929 | -1.1306 | -0.02948 | -0.35376
2026-07-30T12:32:23.951-04:00 | 350.062 | 5.8344 | 71 | 4623086 | 261.36 | 0.4921 | 1.2774 | 8.5555 | -1.168 | -0.03742 | -0.44904
2026-07-30T12:32:28.959-04:00 | 355.062 | 5.9177 | 72 | 4628086 | 262.36 | 0.4841 | 1.2823 | 8.5271 | -1.1964 | -0.02835 | -0.3402
2026-07-30T12:32:33.951-04:00 | 360.062 | 6.001 | 73 | 4633085 | 263.64 | 0.476 | 1.2886 | 8.4908 | -1.2327 | -0.03629 | -0.43548
2026-07-30T12:32:38.943-04:00 | 365.047 | 6.0841 | 74 | 4638086 | 264.96 | 0.3536 | 1.295 | 8.4534 | -1.2701 | -0.03742 | -0.45039
2026-07-30T12:32:43.949-04:00 | 370.062 | 6.1677 | 75 | 4643086 | 265.96 | 0.3536 | 1.2999 | 8.4251 | -1.2984 | -0.02835 | -0.33918
2026-07-30T12:32:48.942-04:00 | 375.047 | 6.2508 | 76 | 4648086 | 267.2 | 0.3953 | 1.306 | 8.3899 | -1.3336 | -0.03516 | -0.42319
2026-07-30T12:32:53.934-04:00 | 380.047 | 6.3341 | 77 | 4653086 | 268.52 | 0.5078 | 1.3124 | 8.3525 | -1.371 | -0.03742 | -0.44904
2026-07-30T12:32:58.940-04:00 | 385.047 | 6.4174 | 78 | 4658086 | 269.84 | 0.3644 | 1.3189 | 8.3151 | -1.4084 | -0.03742 | -0.44904
2026-07-30T12:33:03.933-04:00 | 390.047 | 6.5008 | 79 | 4663086 | 270.96 | 0.4507 | 1.3243 | 8.2833 | -1.4402 | -0.03175 | -0.381
2026-07-30T12:33:08.924-04:00 | 395.031 | 6.5838 | 80 | 4668086 | 272.16 | 0.3644 | 1.3302 | 8.2493 | -1.4742 | -0.03402 | -0.40955
2026-07-30T12:33:13.931-04:00 | 400.047 | 6.6674 | 81 | 4673086 | 273.4 | 0.4921 | 1.3363 | 8.2141 | -1.5093 | -0.03516 | -0.42057
2026-07-30T12:33:18.924-04:00 | 405.031 | 6.7505 | 82 | 4678086 | 274.56 | 0.4921 | 1.3419 | 8.1813 | -1.5422 | -0.03288 | -0.39583
2026-07-30T12:33:23.915-04:00 | 410.031 | 6.8338 | 83 | 4683086 | 275.72 | 0.4507 | 1.3476 | 8.1484 | -1.5751 | -0.03289 | -0.39468
2026-07-30T12:33:28.922-04:00 | 415.031 | 6.9172 | 84 | 4688086 | 276.8 | 0.4921 | 1.3529 | 8.1177 | -1.6057 | -0.03062 | -0.36744
2026-07-30T12:33:33.914-04:00 | 420.015 | 7.0003 | 85 | 4693086 | 278.04 | 0.1768 | 1.3589 | 8.0826 | -1.6409 | -0.03515 | -0.42315
2026-07-30T12:33:38.906-04:00 | 425.015 | 7.0836 | 86 | 4698086 | 279 | 0.3953 | 1.3636 | 8.0554 | -1.6681 | -0.02722 | -0.32664
2026-07-30T12:33:43.913-04:00 | 430.015 | 7.1669 | 87 | 4703086 | 280.12 | 0.433 | 1.3691 | 8.0236 | -1.6999 | -0.03175 | -0.381
2026-07-30T12:33:48.905-04:00 | 435.015 | 7.2503 | 88 | 4708086 | 281.4 | 0.5 | 1.3754 | 7.9873 | -1.7362 | -0.03629 | -0.43548
2026-07-30T12:33:53.897-04:00 | 440 | 7.3333 | 89 | 4713085 | 282.4 | 0.4921 | 1.3803 | 7.959 | -1.7645 | -0.02835 | -0.34122
2026-07-30T12:33:58.904-04:00 | 445.015 | 7.4169 | 90 | 4718086 | 283.8 | 0.5 | 1.3871 | 7.9193 | -1.8042 | -0.03969 | -0.47486
2026-07-30T12:34:03.896-04:00 | 450 | 7.5 | 91 | 4723086 | 284.96 | 0.4507 | 1.3928 | 7.8864 | -1.8371 | -0.03288 | -0.39575
2026-07-30T12:34:08.887-04:00 | 455 | 7.5833 | 92 | 4728086 | 286.16 | 0.3644 | 1.3986 | 7.8524 | -1.8711 | -0.03402 | -0.40824
2026-07-30T12:34:13.894-04:00 | 460 | 7.6667 | 93 | 4733086 | 287.36 | 0.4921 | 1.4045 | 7.8184 | -1.9051 | -0.03402 | -0.40824
2026-07-30T12:34:18.887-04:00 | 465 | 7.75 | 94 | 4738086 | 288.48 | 0.4921 | 1.41 | 7.7866 | -1.9369 | -0.03175 | -0.381
2026-07-30T12:34:23.878-04:00 | 469.984 | 7.8331 | 95 | 4743086 | 289.68 | 0.4677 | 1.4158 | 7.7526 | -1.9709 | -0.03402 | -0.40955
2026-07-30T12:34:28.886-04:00 | 475 | 7.9167 | 96 | 4748086 | 290.6 | 0.4841 | 1.4203 | 7.7265 | -1.997 | -0.02609 | -0.31208
2026-07-30T12:34:33.878-04:00 | 479.984 | 7.9997 | 97 | 4753086 | 291.96 | 0.5376 | 1.427 | 7.688 | -2.0355 | -0.03855 | -0.46409
2026-07-30T12:34:38.869-04:00 | 484.984 | 8.0831 | 98 | 4758086 | 292.88 | 0.3187 | 1.4315 | 7.6619 | -2.0616 | -0.02608 | -0.31296
2026-07-30T12:34:43.877-04:00 | 489.984 | 8.1664 | 99 | 4763086 | 294 | 0.3953 | 1.4369 | 7.6301 | -2.0934 | -0.03176 | -0.38112
2026-07-30T12:34:48.868-04:00 | 494.984 | 8.2497 | 100 | 4768087 | 294.88 | 0.4239 | 1.4413 | 7.6052 | -2.1183 | -0.02494 | -0.29928
2026-07-30T12:34:53.860-04:00 | 499.969 | 8.3328 | 101 | 4773087 | 295.92 | 0.476 | 1.4463 | 7.5757 | -2.1478 | -0.02949 | -0.35494
2026-07-30T12:34:58.867-04:00 | 504.969 | 8.4162 | 102 | 4778087 | 296.88 | 0.3307 | 1.451 | 7.5485 | -2.175 | -0.02721 | -0.32652
2026-07-30T12:35:03.859-04:00 | 509.969 | 8.4995 | 103 | 4783087 | 297.72 | 0.4507 | 1.4551 | 7.5247 | -2.1988 | -0.02382 | -0.28584
2026-07-30T12:35:08.851-04:00 | 514.953 | 8.5826 | 104 | 4788087 | 298.6 | 0.4921 | 1.4594 | 7.4997 | -2.2238 | -0.02495 | -0.30036
2026-07-30T12:35:13.858-04:00 | 519.969 | 8.6662 | 105 | 4793086 | 299.4 | 0.4921 | 1.4633 | 7.477 | -2.2464 | -0.02268 | -0.27129
2026-07-30T12:35:18.850-04:00 | 524.953 | 8.7492 | 106 | 4798087 | 300.2 | 0.3953 | 1.4673 | 7.4543 | -2.2691 | -0.02268 | -0.27303
2026-07-30T12:35:23.842-04:00 | 529.953 | 8.8326 | 107 | 4803087 | 300.92 | 0.3853 | 1.4708 | 7.4339 | -2.2895 | -0.02041 | -0.24492
2026-07-30T12:35:28.849-04:00 | 534.953 | 8.9159 | 108 | 4808087 | 301.8 | 0.4921 | 1.4751 | 7.409 | -2.3145 | -0.02495 | -0.2994
2026-07-30T12:35:33.841-04:00 | 539.953 | 8.9992 | 109 | 4813087 | 302.68 | 0.5449 | 1.4794 | 7.3841 | -2.3394 | -0.02494 | -0.29928
2026-07-30T12:35:38.833-04:00 | 544.937 | 9.0823 | 110 | 4818087 | 303.28 | 0.4507 | 1.4823 | 7.367 | -2.3564 | -0.01701 | -0.20478
2026-07-30T12:35:43.839-04:00 | 549.953 | 9.1659 | 111 | 4823087 | 304 | 0.2795 | 1.4858 | 7.3466 | -2.3769 | -0.02042 | -0.24426
2026-07-30T12:35:48.832-04:00 | 554.937 | 9.249 | 112 | 4828087 | 304.76 | 0.4239 | 1.4895 | 7.3251 | -2.3984 | -0.02154 | -0.25931
2026-07-30T12:35:53.823-04:00 | 559.937 | 9.3323 | 113 | 4833087 | 305.36 | 0.4921 | 1.4925 | 7.3081 | -2.4154 | -0.01701 | -0.20412
2026-07-30T12:35:58.830-04:00 | 564.937 | 9.4156 | 114 | 4838087 | 306.08 | 0.3953 | 1.496 | 7.2877 | -2.4358 | -0.02041 | -0.24492
2026-07-30T12:36:03.823-04:00 | 569.937 | 9.499 | 115 | 4843087 | 306.8 | 0.405 | 1.4995 | 7.2672 | -2.4562 | -0.02041 | -0.24492
2026-07-30T12:36:08.814-04:00 | 574.922 | 9.582 | 116 | 4848087 | 307.36 | 0.4841 | 1.5022 | 7.2514 | -2.4721 | -0.01588 | -0.19113
2026-07-30T12:36:13.822-04:00 | 579.937 | 9.6656 | 117 | 4853087 | 308.16 | 0.4593 | 1.5062 | 7.2287 | -2.4948 | -0.02268 | -0.27135
2026-07-30T12:36:18.813-04:00 | 584.922 | 9.7487 | 118 | 4858087 | 308.64 | 0.476 | 1.5085 | 7.2151 | -2.5084 | -0.01361 | -0.16381
2026-07-30T12:36:23.805-04:00 | 589.922 | 9.832 | 119 | 4863087 | 309.48 | 0.4921 | 1.5126 | 7.1913 | -2.5322 | -0.02381 | -0.28572
2026-07-30T12:36:28.813-04:00 | 594.922 | 9.9154 | 120 | 4868087 | 309.96 | 0.4507 | 1.515 | 7.1777 | -2.5458 | -0.01361 | -0.16332
2026-07-30T12:36:33.804-04:00 | 599.906 | 9.9984 | 121 | 4873086 | 310.56 | 0.4921 | 1.5179 | 7.1607 | -2.5628 | -0.01701 | -0.20478
2026-07-30T12:36:38.796-04:00 | 604.906 | 10.0818 | 122 | 4878087 | 311.16 | 0.3644 | 1.5208 | 7.1436 | -2.5798 | -0.01701 | -0.20412
2026-07-30T12:36:43.803-04:00 | 609.906 | 10.1651 | 123 | 4883087 | 312 | 0.3953 | 1.5249 | 7.1198 | -2.6037 | -0.02381 | -0.28572
2026-07-30T12:36:48.795-04:00 | 614.906 | 10.2484 | 124 | 4888087 | 312.52 | 0.5078 | 1.5275 | 7.1051 | -2.6184 | -0.01475 | -0.177
2026-07-30T12:36:53.787-04:00 | 619.89 | 10.3315 | 125 | 4893087 | 313.16 | 0.3644 | 1.5306 | 7.0869 | -2.6365 | -0.01814 | -0.21838
2026-07-30T12:36:58.794-04:00 | 624.906 | 10.4151 | 126 | 4898087 | 313.96 | 0.4507 | 1.5345 | 7.0643 | -2.6592 | -0.02268 | -0.27129
2026-07-30T12:37:03.786-04:00 | 629.89 | 10.4982 | 127 | 4903087 | 314.4 | 0.4921 | 1.5367 | 7.0518 | -2.6717 | -0.01247 | -0.15012
2026-07-30T12:37:08.777-04:00 | 634.89 | 10.5815 | 128 | 4908087 | 315.08 | 0.2795 | 1.54 | 7.0325 | -2.691 | -0.01928 | -0.23136
2026-07-30T12:37:13.785-04:00 | 639.89 | 10.6648 | 129 | 4913087 | 315.8 | 0.405 | 1.5435 | 7.0121 | -2.7114 | -0.02041 | -0.24492
2026-07-30T12:37:18.777-04:00 | 644.89 | 10.7482 | 130 | 4918087 | 316.32 | 0.4677 | 1.546 | 6.9973 | -2.7261 | -0.01475 | -0.177
2026-07-30T12:37:23.769-04:00 | 649.875 | 10.8313 | 131 | 4923087 | 317.2 | 0.3853 | 1.5503 | 6.9724 | -2.7511 | -0.02494 | -0.30018
2026-07-30T12:37:28.776-04:00 | 654.89 | 10.9148 | 132 | 4928087 | 317.6 | 0.4841 | 1.5523 | 6.9611 | -2.7624 | -0.01134 | -0.13567
2026-07-30T12:37:33.767-04:00 | 659.875 | 10.9979 | 133 | 4933087 | 318.48 | 0.4921 | 1.5566 | 6.9361 | -2.7874 | -0.02495 | -0.3003
2026-07-30T12:37:38.759-04:00 | 664.875 | 11.0813 | 134 | 4938087 | 318.76 | 0.4146 | 1.558 | 6.9282 | -2.7953 | -0.00794 | -0.09528
2026-07-30T12:37:43.766-04:00 | 669.875 | 11.1646 | 135 | 4943087 | 319.72 | 0.4419 | 1.5627 | 6.901 | -2.8225 | -0.02722 | -0.32664
2026-07-30T12:37:48.758-04:00 | 674.859 | 11.2476 | 136 | 4948087 | 320.24 | 0.4419 | 1.5652 | 6.8862 | -2.8373 | -0.01474 | -0.17745
2026-07-30T12:37:53.750-04:00 | 679.859 | 11.331 | 137 | 4953086 | 320.72 | 0.4507 | 1.5675 | 6.8726 | -2.8509 | -0.01361 | -0.16332
2026-07-30T12:37:58.757-04:00 | 684.859 | 11.4143 | 138 | 4958087 | 321.6 | 0.4841 | 1.5718 | 6.8477 | -2.8758 | -0.02494 | -0.29928
2026-07-30T12:38:03.749-04:00 | 689.859 | 11.4976 | 139 | 4963087 | 322.28 | 0.4507 | 1.5752 | 6.8284 | -2.8951 | -0.01928 | -0.23136
2026-07-30T12:38:08.741-04:00 | 694.844 | 11.5807 | 140 | 4968087 | 323 | 0.2795 | 1.5787 | 6.808 | -2.9155 | -0.02041 | -0.24566
2026-07-30T12:38:13.749-04:00 | 699.859 | 11.6643 | 141 | 4973087 | 323.76 | 0.5 | 1.5824 | 6.7864 | -2.9371 | -0.02155 | -0.25783
2026-07-30T12:38:18.740-04:00 | 704.844 | 11.7474 | 142 | 4978087 | 324.44 | 0.5 | 1.5857 | 6.7671 | -2.9563 | -0.01928 | -0.23206
2026-07-30T12:38:23.731-04:00 | 709.844 | 11.8307 | 143 | 4983087 | 325.12 | 0.3307 | 1.5891 | 6.7479 | -2.9756 | -0.01928 | -0.23136
2026-07-30T12:38:28.739-04:00 | 714.844 | 11.9141 | 144 | 4988087 | 325.96 | 0.4507 | 1.5932 | 6.7241 | -2.9994 | -0.02381 | -0.28572
2026-07-30T12:38:33.731-04:00 | 719.844 | 11.9974 | 145 | 4993087 | 326.8 | 0.405 | 1.5973 | 6.7002 | -3.0232 | -0.02381 | -0.28572
2026-07-30T12:38:38.722-04:00 | 724.828 | 12.0805 | 146 | 4998087 | 327.52 | 0.5078 | 1.6008 | 6.6798 | -3.0436 | -0.02042 | -0.24583
2026-07-30T12:38:43.730-04:00 | 729.844 | 12.1641 | 147 | 5003087 | 328.4 | 0.4921 | 1.6051 | 6.6549 | -3.0686 | -0.02494 | -0.29833
2026-07-30T12:38:48.721-04:00 | 734.828 | 12.2471 | 148 | 5008087 | 329.32 | 0.4677 | 1.6096 | 6.6288 | -3.0947 | -0.02609 | -0.31409
2026-07-30T12:38:53.713-04:00 | 739.828 | 12.3305 | 149 | 5013087 | 330.12 | 0.5154 | 1.6135 | 6.6061 | -3.1174 | -0.02268 | -0.27216
2026-07-30T12:38:58.721-04:00 | 744.828 | 12.4138 | 150 | 5018087 | 330.96 | 0.3536 | 1.6176 | 6.5823 | -3.1412 | -0.02381 | -0.28572
2026-07-30T12:39:03.713-04:00 | 749.828 | 12.4971 | 151 | 5023087 | 331.92 | 0.4677 | 1.6223 | 6.5551 | -3.1684 | -0.02722 | -0.32664
2026-07-30T12:39:08.704-04:00 | 754.812 | 12.5802 | 152 | 5028087 | 333.08 | 0.3953 | 1.628 | 6.5222 | -3.2013 | -0.03288 | -0.39583
2026-07-30T12:39:13.712-04:00 | 759.828 | 12.6638 | 153 | 5033086 | 333.88 | 0.3187 | 1.6319 | 6.4995 | -3.2239 | -0.02268 | -0.27129
2026-07-30T12:39:18.704-04:00 | 764.812 | 12.7469 | 154 | 5038087 | 334.88 | 0.4239 | 1.6368 | 6.4712 | -3.2523 | -0.02835 | -0.34129
2026-07-30T12:39:23.694-04:00 | 769.797 | 12.8299 | 155 | 5043087 | 335.88 | 0.3187 | 1.6416 | 6.4428 | -3.2807 | -0.02835 | -0.34122
2026-07-30T12:39:28.702-04:00 | 774.812 | 12.9135 | 156 | 5048087 | 336.92 | 0.552 | 1.6467 | 6.4133 | -3.3101 | -0.02949 | -0.35282
2026-07-30T12:39:33.694-04:00 | 779.797 | 12.9966 | 157 | 5053087 | 337.84 | 0.375 | 1.6512 | 6.3873 | -3.3362 | -0.02608 | -0.3139
2026-07-30T12:39:38.686-04:00 | 784.797 | 13.0799 | 158 | 5058087 | 339 | 0.2795 | 1.6569 | 6.3544 | -3.3691 | -0.03288 | -0.39456
2026-07-30T12:39:43.693-04:00 | 789.797 | 13.1633 | 159 | 5063087 | 340.04 | 0.1768 | 1.662 | 6.3249 | -3.3986 | -0.02949 | -0.35388
2026-07-30T12:39:48.685-04:00 | 794.797 | 13.2466 | 160 | 5068087 | 341.12 | 0.3307 | 1.6673 | 6.2943 | -3.4292 | -0.03061 | -0.36732
2026-07-30T12:39:53.677-04:00 | 799.781 | 13.3297 | 161 | 5073087 | 342 | 0.3953 | 1.6716 | 6.2693 | -3.4541 | -0.02495 | -0.30036
2026-07-30T12:39:58.684-04:00 | 804.797 | 13.4133 | 162 | 5078087 | 342.84 | 0.5449 | 1.6757 | 6.2455 | -3.478 | -0.02382 | -0.28493
2026-07-30T12:40:03.676-04:00 | 809.781 | 13.4963 | 163 | 5083087 | 343.8 | 0.5 | 1.6804 | 6.2183 | -3.5052 | -0.02721 | -0.32757
2026-07-30T12:40:08.667-04:00 | 814.781 | 13.5797 | 164 | 5088087 | 344.88 | 0.3187 | 1.6856 | 6.1877 | -3.5358 | -0.03062 | -0.36744
2026-07-30T12:40:13.674-04:00 | 819.781 | 13.663 | 165 | 5093087 | 345.8 | 0.405 | 1.6901 | 6.1616 | -3.5619 | -0.02608 | -0.31296
2026-07-30T12:40:18.666-04:00 | 824.781 | 13.7463 | 166 | 5098087 | 346.72 | 0.4507 | 1.6946 | 6.1355 | -3.588 | -0.02609 | -0.31308
2026-07-30T12:40:23.658-04:00 | 829.765 | 13.8294 | 167 | 5103087 | 347.72 | 0.4419 | 1.6995 | 6.1072 | -3.6163 | -0.02834 | -0.34117
2026-07-30T12:40:28.666-04:00 | 834.781 | 13.913 | 168 | 5108087 | 348.72 | 0.5303 | 1.7044 | 6.0788 | -3.6447 | -0.02835 | -0.33911
2026-07-30T12:40:33.657-04:00 | 839.765 | 13.9961 | 169 | 5113086 | 349.68 | 0.476 | 1.7091 | 6.0516 | -3.6719 | -0.02722 | -0.32769
2026-07-30T12:40:38.649-04:00 | 844.765 | 14.0794 | 170 | 5118087 | 350.52 | 0.5078 | 1.7132 | 6.0278 | -3.6957 | -0.02381 | -0.28572
2026-07-30T12:40:43.657-04:00 | 849.765 | 14.1628 | 171 | 5123087 | 351.48 | 0.4921 | 1.7179 | 6.0006 | -3.7229 | -0.02722 | -0.32664
2026-07-30T12:40:48.648-04:00 | 854.75 | 14.2458 | 172 | 5128087 | 352.28 | 0.4507 | 1.7218 | 5.9779 | -3.7456 | -0.02268 | -0.27298
2026-07-30T12:40:53.639-04:00 | 859.75 | 14.3292 | 173 | 5133087 | 353.24 | 0.433 | 1.7265 | 5.9507 | -3.7728 | -0.02722 | -0.32664
2026-07-30T12:40:58.647-04:00 | 864.75 | 14.4125 | 174 | 5138087 | 354.28 | 0.4507 | 1.7316 | 5.9212 | -3.8023 | -0.02948 | -0.35376
2026-07-30T12:41:03.638-04:00 | 869.75 | 14.4958 | 175 | 5143087 | 355.12 | 0.3307 | 1.7357 | 5.8974 | -3.8261 | -0.02381 | -0.28572
2026-07-30T12:41:08.631-04:00 | 874.734 | 14.5789 | 176 | 5148087 | 356.08 | 0.2932 | 1.7404 | 5.8702 | -3.8533 | -0.02722 | -0.32769
2026-07-30T12:41:13.638-04:00 | 879.75 | 14.6625 | 177 | 5153087 | 356.96 | 0.4507 | 1.7447 | 5.8452 | -3.8783 | -0.02495 | -0.29844
2026-07-30T12:41:18.630-04:00 | 884.734 | 14.7456 | 178 | 5158087 | 357.64 | 0.4677 | 1.748 | 5.8259 | -3.8976 | -0.01928 | -0.2321
2026-07-30T12:41:23.621-04:00 | 889.734 | 14.8289 | 179 | 5163087 | 358.88 | 0.3187 | 1.7541 | 5.7908 | -3.9327 | -0.03515 | -0.4218
2026-07-30T12:41:28.629-04:00 | 894.734 | 14.9122 | 180 | 5168087 | 359.68 | 0.476 | 1.758 | 5.7681 | -3.9554 | -0.02268 | -0.27216
2026-07-30T12:41:33.620-04:00 | 899.734 | 14.9956 | 181 | 5173087 | 360.68 | 0.476 | 1.7629 | 5.7397 | -3.9837 | -0.02835 | -0.3402
2026-07-30T12:41:38.613-04:00 | 904.719 | 15.0786 | 182 | 5178087 | 361.28 | 0.4507 | 1.7658 | 5.7227 | -4.0007 | -0.01701 | -0.20473
2026-07-30T12:41:43.620-04:00 | 909.734 | 15.1622 | 183 | 5183087 | 362.44 | 0.5 | 1.7715 | 5.6898 | -4.0336 | -0.03289 | -0.3935
2026-07-30T12:41:48.611-04:00 | 914.719 | 15.2453 | 184 | 5188087 | 363.04 | 0.3307 | 1.7744 | 5.6728 | -4.0506 | -0.01701 | -0.20473
2026-07-30T12:41:53.603-04:00 | 919.719 | 15.3286 | 185 | 5193086 | 363.84 | 0.375 | 1.7783 | 5.6502 | -4.0733 | -0.02268 | -0.27216
2026-07-30T12:41:58.611-04:00 | 924.719 | 15.412 | 186 | 5198087 | 364.84 | 0.4677 | 1.7832 | 5.6218 | -4.1017 | -0.02835 | -0.3402
2026-07-30T12:42:03.602-04:00 | 929.703 | 15.4951 | 187 | 5203087 | 365.48 | 0.4841 | 1.7863 | 5.6037 | -4.1198 | -0.01814 | -0.21838
2026-07-30T12:42:08.594-04:00 | 934.703 | 15.5784 | 188 | 5208087 | 366.36 | 0.4841 | 1.7906 | 5.5787 | -4.1448 | -0.02495 | -0.2994
2026-07-30T12:42:13.601-04:00 | 939.703 | 15.6617 | 189 | 5213087 | 367.08 | 0.3953 | 1.7941 | 5.5583 | -4.1652 | -0.02041 | -0.24492
2026-07-30T12:42:18.593-04:00 | 944.703 | 15.7451 | 190 | 5218087 | 367.92 | 0.25 | 1.7982 | 5.5345 | -4.189 | -0.02381 | -0.28572
2026-07-30T12:42:23.585-04:00 | 949.687 | 15.8281 | 191 | 5223087 | 368.4 | 0.4841 | 1.8006 | 5.5209 | -4.2026 | -0.01361 | -0.16384
2026-07-30T12:42:28.592-04:00 | 954.703 | 15.9117 | 192 | 5228086 | 369.36 | 0.5 | 1.8053 | 5.4937 | -4.2298 | -0.02722 | -0.3256
2026-07-30T12:42:33.583-04:00 | 959.687 | 15.9948 | 193 | 5233087 | 370.2 | 0.4841 | 1.8094 | 5.4699 | -4.2536 | -0.02381 | -0.28664
2026-07-30T12:42:38.591-04:00 | 964.703 | 16.0784 | 194 | 5238086 | 370.84 | 0.375 | 1.8125 | 5.4517 | -4.2718 | -0.01815 | -0.21711
2026-07-30T12:42:43.583-04:00 | 969.687 | 16.1615 | 195 | 5243087 | 371.32 | 0.4677 | 1.8149 | 5.4381 | -4.2854 | -0.0136 | -0.16372
2026-07-30T12:42:48.574-04:00 | 974.687 | 16.2448 | 196 | 5248086 | 372.16 | 0.375 | 1.819 | 5.4143 | -4.3092 | -0.02382 | -0.28584
2026-07-30T12:42:53.566-04:00 | 979.672 | 16.3279 | 197 | 5253087 | 372.92 | 0.25 | 1.8227 | 5.3928 | -4.3307 | -0.02154 | -0.25926
2026-07-30T12:42:58.574-04:00 | 984.687 | 16.4115 | 198 | 5258087 | 373.36 | 0.5 | 1.8248 | 5.3803 | -4.3432 | -0.01248 | -0.14931
2026-07-30T12:43:03.565-04:00 | 989.672 | 16.4945 | 199 | 5263086 | 374.08 | 0.3953 | 1.8283 | 5.3599 | -4.3636 | -0.02041 | -0.24566
2026-07-30T12:43:08.573-04:00 | 994.687 | 16.5781 | 200 | 5268087 | 374.88 | 0.3307 | 1.8323 | 5.3372 | -4.3863 | -0.02268 | -0.27135
2026-07-30T12:43:13.564-04:00 | 999.672 | 16.6612 | 201 | 5273086 | 375.2 | 0.3953 | 1.8338 | 5.3281 | -4.3954 | -0.00907 | -0.10917
2026-07-30T12:43:18.557-04:00 | 1004.672 | 16.7445 | 202 | 5278087 | 375.96 | 0.1768 | 1.8375 | 5.3066 | -4.4169 | -0.02155 | -0.2586
2026-07-30T12:43:23.563-04:00 | 1009.672 | 16.8279 | 203 | 5283087 | 376.4 | 0.5 | 1.8397 | 5.2941 | -4.4294 | -0.01247 | -0.14964
2026-07-30T12:43:28.555-04:00 | 1014.672 | 16.9112 | 204 | 5288087 | 377.04 | 0.433 | 1.8428 | 5.2759 | -4.4475 | -0.01815 | -0.2178
2026-07-30T12:43:33.547-04:00 | 1019.656 | 16.9943 | 205 | 5293086 | 377.56 | 0.5 | 1.8454 | 5.2612 | -4.4623 | -0.01474 | -0.17745
2026-07-30T12:43:38.554-04:00 | 1024.656 | 17.0776 | 206 | 5298086 | 378.16 | 0.4677 | 1.8483 | 5.2442 | -4.4793 | -0.01701 | -0.20412
2026-07-30T12:43:43.546-04:00 | 1029.656 | 17.1609 | 207 | 5303087 | 378.8 | 0.3953 | 1.8514 | 5.226 | -4.4974 | -0.01814 | -0.21768
2026-07-30T12:43:48.538-04:00 | 1034.64 | 17.244 | 208 | 5308086 | 379.2 | 0.375 | 1.8534 | 5.2147 | -4.5088 | -0.01134 | -0.13652
2026-07-30T12:43:53.545-04:00 | 1039.656 | 17.3276 | 209 | 5313087 | 379.8 | 0.4146 | 1.8563 | 5.1977 | -4.5258 | -0.01701 | -0.20347
2026-07-30T12:43:58.537-04:00 | 1044.64 | 17.4107 | 210 | 5318087 | 380.16 | 0.375 | 1.8581 | 5.1875 | -4.536 | -0.01021 | -0.12291
2026-07-30T12:44:03.529-04:00 | 1049.64 | 17.494 | 211 | 5323087 | 380.64 | 0.4677 | 1.8604 | 5.1739 | -4.5496 | -0.01361 | -0.16332
2026-07-30T12:44:08.535-04:00 | 1054.64 | 17.5773 | 212 | 5328087 | 381.16 | 0.3536 | 1.863 | 5.1591 | -4.5643 | -0.01474 | -0.17688
2026-07-30T12:44:13.528-04:00 | 1059.64 | 17.6607 | 213 | 5333087 | 381.8 | 0.5 | 1.8661 | 5.141 | -4.5825 | -0.01814 | -0.21768
2026-07-30T12:44:18.520-04:00 | 1064.625 | 17.7438 | 214 | 5338087 | 382.04 | 0.1768 | 1.8673 | 5.1342 | -4.5893 | -0.00681 | -0.081966
2026-07-30T12:44:23.526-04:00 | 1069.64 | 17.8273 | 215 | 5343087 | 382.56 | 0.5 | 1.8698 | 5.1194 | -4.604 | -0.01474 | -0.17635
2026-07-30T12:44:28.518-04:00 | 1074.625 | 17.9104 | 216 | 5348087 | 383.08 | 0.3953 | 1.8723 | 5.1047 | -4.6188 | -0.01474 | -0.17741
2026-07-30T12:44:33.511-04:00 | 1079.625 | 17.9938 | 217 | 5353086 | 383.44 | 0.5 | 1.8741 | 5.0945 | -4.629 | -0.0102 | -0.1224
2026-07-30T12:44:38.517-04:00 | 1084.625 | 18.0771 | 218 | 5358087 | 384 | 0.3953 | 1.8768 | 5.0786 | -4.6448 | -0.01588 | -0.19056
2026-07-30T12:44:43.509-04:00 | 1089.625 | 18.1604 | 219 | 5363087 | 384.44 | 0.5 | 1.879 | 5.0662 | -4.6573 | -0.01247 | -0.14964
2026-07-30T12:44:48.501-04:00 | 1094.609 | 18.2435 | 220 | 5368087 | 385 | 0.2795 | 1.8817 | 5.0503 | -4.6732 | -0.01588 | -0.19117
2026-07-30T12:44:53.508-04:00 | 1099.625 | 18.3271 | 221 | 5373087 | 385.08 | 0.4146 | 1.8821 | 5.048 | -4.6755 | -0.00227 | -0.027153
2026-07-30T12:44:58.501-04:00 | 1104.609 | 18.4101 | 222 | 5378087 | 385.68 | 0.4677 | 1.885 | 5.031 | -4.6925 | -0.01701 | -0.20478
2026-07-30T12:45:03.492-04:00 | 1109.594 | 18.4932 | 223 | 5383087 | 386 | 0.2795 | 1.8866 | 5.0219 | -4.7016 | -0.00907 | -0.10917
2026-07-30T12:45:08.499-04:00 | 1114.609 | 18.5768 | 224 | 5388086 | 386.36 | 0.5 | 1.8884 | 5.0117 | -4.7118 | -0.01021 | -0.12215
2026-07-30T12:45:13.491-04:00 | 1119.594 | 18.6599 | 225 | 5393087 | 386.92 | 0.375 | 1.8911 | 4.9958 | -4.7276 | -0.01587 | -0.19101
2026-07-30T12:45:18.483-04:00 | 1124.594 | 18.7432 | 226 | 5398087 | 387.24 | 0.433 | 1.8927 | 4.9868 | -4.7367 | -0.00907 | -0.10884
2026-07-30T12:45:23.491-04:00 | 1129.594 | 18.8266 | 227 | 5403087 | 387.68 | 0.4677 | 1.8948 | 4.9743 | -4.7492 | -0.01248 | -0.14976
2026-07-30T12:45:28.482-04:00 | 1134.594 | 18.9099 | 228 | 5408087 | 388.16 | 0.5449 | 1.8972 | 4.9607 | -4.7628 | -0.01361 | -0.16332
2026-07-30T12:45:33.475-04:00 | 1139.578 | 18.993 | 229 | 5413087 | 388.4 | 0.4841 | 1.8983 | 4.9539 | -4.7696 | -0.0068 | -0.081862
2026-07-30T12:45:38.481-04:00 | 1144.594 | 19.0766 | 230 | 5418087 | 388.92 | 0.25 | 1.9009 | 4.9391 | -4.7843 | -0.01474 | -0.17632
2026-07-30T12:45:43.473-04:00 | 1149.578 | 19.1596 | 231 | 5423087 | 389.16 | 0.4507 | 1.9021 | 4.9323 | -4.7911 | -0.00681 | -0.081982
2026-07-30T12:45:48.464-04:00 | 1154.578 | 19.243 | 232 | 5428087 | 389.32 | 0.4677 | 1.9028 | 4.9278 | -4.7957 | -0.00453 | -0.05436
2026-07-30T12:45:53.472-04:00 | 1159.578 | 19.3263 | 233 | 5433086 | 389.96 | 0.4507 | 1.906 | 4.9097 | -4.8138 | -0.01815 | -0.2178
2026-07-30T12:45:58.464-04:00 | 1164.578 | 19.4096 | 234 | 5438087 | 390.28 | 0.4507 | 1.9075 | 4.9006 | -4.8229 | -0.00907 | -0.10884
2026-07-30T12:46:03.455-04:00 | 1169.562 | 19.4927 | 235 | 5443087 | 390.6 | 0.4841 | 1.9091 | 4.8915 | -4.832 | -0.00907 | -0.10919
2026-07-30T12:46:08.463-04:00 | 1174.578 | 19.5763 | 236 | 5448087 | 391.04 | 0.3536 | 1.9112 | 4.8791 | -4.8444 | -0.01247 | -0.14916
2026-07-30T12:46:13.455-04:00 | 1179.562 | 19.6594 | 237 | 5453087 | 391.24 | 0.433 | 1.9122 | 4.8734 | -4.8501 | -0.00567 | -0.068258
2026-07-30T12:46:18.446-04:00 | 1184.562 | 19.7427 | 238 | 5458087 | 391.8 | 0.5 | 1.915 | 4.8575 | -4.866 | -0.01588 | -0.19056
2026-07-30T12:46:23.453-04:00 | 1189.562 | 19.826 | 239 | 5463087 | 392.12 | 0.5154 | 1.9165 | 4.8484 | -4.8751 | -0.00907 | -0.10884
2026-07-30T12:46:28.446-04:00 | 1194.562 | 19.9094 | 240 | 5468087 | 392.44 | 0.5 | 1.9181 | 4.8394 | -4.8841 | -0.00907 | -0.10884
2026-07-30T12:46:33.437-04:00 | 1199.547 | 19.9924 | 241 | 5473087 | 392.88 | 0.4146 | 1.9202 | 4.8269 | -4.8966 | -0.01248 | -0.15021
2026-07-30T12:46:38.444-04:00 | 1204.547 | 20.0758 | 242 | 5478087 | 393.08 | 0.2795 | 1.9212 | 4.8212 | -4.9023 | -0.00567 | -0.06804

## Summary
Metric | Value
Experiment name | DOPC_pH_change
Start time | 2026-07-30T12:26:33-04:00
End time | 2026-07-30T12:46:41-04:00
Stop reason | stopped by user
Operator notes | Add sample conditions, treatment, concentration, temperature, and UV timing here.
Serial port | COM3
Sample interval (s) | 5
Requested duration (min) | 60
Number of readings | 242
Initial pH | 9.7235
Final pH | 4.8212
Net pH change | -4.9023
Minimum pH | 4.8212
Maximum pH | 9.7235
Mean pH | 7.2444
pH standard deviation | 1.6114
Linear pH rate (pH/min) | -0.27538
Calibration slope | -0.02835
Calibration intercept | 15.965
Calibration R² | 0.99981
Calibration point count | 3