## Data
computer_timestamp | elapsed_seconds | elapsed_minutes | sample_number | arduino_millis | raw_adc | raw_sd | voltage | ph | delta_ph | ph_change_from_previous | ph_rate_from_previous_per_min
2026-07-30T12:48:59.793-04:00 | 0.297 | 0.00495 | 1 | 5619523 | 242.64 | 0.4801 | 1.1859 | 9.0862 | 0 | 0
2026-07-30T12:49:04.784-04:00 | 5.281 | 0.088017 | 2 | 5624522 | 242.08 | 0.2724 | 1.1832 | 9.1021 | 0.01587 | 0.01587 | 0.19105
2026-07-30T12:49:09.776-04:00 | 10.281 | 0.17135 | 3 | 5629522 | 242.44 | 0.4921 | 1.1849 | 9.0919 | 0.00567 | -0.0102 | -0.1224
2026-07-30T12:49:14.784-04:00 | 15.281 | 0.25468 | 4 | 5634523 | 242.8 | 0.4002 | 1.1867 | 9.0816 | -0.00454 | -0.01021 | -0.12252
2026-07-30T12:49:19.775-04:00 | 20.281 | 0.33802 | 5 | 5639523 | 242.52 | 0.4961 | 1.1853 | 9.0896 | 0.0034 | 0.00794 | 0.09528
2026-07-30T12:49:24.767-04:00 | 25.266 | 0.4211 | 6 | 5644523 | 242.48 | 0.5039 | 1.1851 | 9.0907 | 0.00453 | 0.00113 | 0.013601
2026-07-30T12:49:29.775-04:00 | 30.281 | 0.50468 | 7 | 5649523 | 242.76 | 0.433 | 1.1865 | 9.0828 | -0.00341 | -0.00794 | -0.094995
2026-07-30T12:49:34.766-04:00 | 35.266 | 0.58777 | 8 | 5654523 | 243.16 | 0.3644 | 1.1885 | 9.0714 | -0.01474 | -0.01133 | -0.13637
2026-07-30T12:49:39.759-04:00 | 40.266 | 0.6711 | 9 | 5659523 | 243.24 | 0.4239 | 1.1889 | 9.0692 | -0.01701 | -0.00227 | -0.02724
2026-07-30T12:49:44.766-04:00 | 45.266 | 0.75443 | 10 | 5664523 | 243.32 | 0.4635 | 1.1892 | 9.0669 | -0.01928 | -0.00227 | -0.02724
2026-07-30T12:49:49.757-04:00 | 50.25 | 0.8375 | 11 | 5669523 | 243.84 | 0.3644 | 1.1918 | 9.0522 | -0.03402 | -0.01474 | -0.17745
2026-07-30T12:49:54.749-04:00 | 55.25 | 0.92083 | 12 | 5674523 | 244.04 | 0.348 | 1.1928 | 9.0465 | -0.03969 | -0.00567 | -0.06804
2026-07-30T12:49:59.756-04:00 | 60.25 | 1.0042 | 13 | 5679523 | 244.12 | 0.3307 | 1.1932 | 9.0442 | -0.04196 | -0.00227 | -0.02724
2026-07-30T12:50:04.748-04:00 | 65.25 | 1.0875 | 14 | 5684523 | 244 | 0.4881 | 1.1926 | 9.0476 | -0.03856 | 0.0034 | 0.0408
2026-07-30T12:50:09.739-04:00 | 70.235 | 1.1706 | 15 | 5689523 | 244.64 | 0.4801 | 1.1957 | 9.0295 | -0.0567 | -0.01814 | -0.21834
2026-07-30T12:50:14.747-04:00 | 75.25 | 1.2542 | 16 | 5694523 | 244.44 | 0.4961 | 1.1947 | 9.0351 | -0.05103 | 0.00567 | 0.067836
2026-07-30T12:50:19.739-04:00 | 80.235 | 1.3373 | 17 | 5699523 | 244.64 | 0.4801 | 1.1957 | 9.0295 | -0.0567 | -0.00567 | -0.068245
2026-07-30T12:50:24.730-04:00 | 85.235 | 1.4206 | 18 | 5704523 | 244.64 | 0.4801 | 1.1957 | 9.0295 | -0.0567 | 0 | 0
2026-07-30T12:50:29.738-04:00 | 90.235 | 1.5039 | 19 | 5709522 | 244.96 | 0.3366 | 1.1973 | 9.0204 | -0.06578 | -0.00908 | -0.10896
2026-07-30T12:50:34.730-04:00 | 95.235 | 1.5873 | 20 | 5714523 | 245.24 | 0.4239 | 1.1986 | 9.0125 | -0.07371 | -0.00793 | -0.09516
2026-07-30T12:50:39.722-04:00 | 100.219 | 1.6703 | 21 | 5719523 | 245.08 | 0.2724 | 1.1978 | 9.017 | -0.06918 | 0.00453 | 0.054535
2026-07-30T12:50:44.730-04:00 | 105.235 | 1.7539 | 22 | 5724523 | 245.2 | 0.4002 | 1.1984 | 9.0136 | -0.07258 | -0.0034 | -0.04067
2026-07-30T12:50:49.721-04:00 | 110.219 | 1.837 | 23 | 5729523 | 245.2 | 0.4002 | 1.1984 | 9.0136 | -0.07258 | 0 | 0
2026-07-30T12:50:54.728-04:00 | 115.235 | 1.9206 | 24 | 5734523 | 245.68 | 0.4677 | 1.2008 | 9 | -0.08619 | -0.01361 | -0.1628
2026-07-30T12:50:59.720-04:00 | 120.219 | 2.0037 | 25 | 5739523 | 245.56 | 0.5 | 1.2002 | 9.0034 | -0.08279 | 0.0034 | 0.040931
2026-07-30T12:51:04.712-04:00 | 125.219 | 2.087 | 26 | 5744523 | 245.6 | 0.4881 | 1.2004 | 9.0023 | -0.08392 | -0.00113 | -0.01356
2026-07-30T12:51:09.702-04:00 | 130.203 | 2.1701 | 27 | 5749523 | 245.84 | 0.3698 | 1.2016 | 8.9955 | -0.09072 | -0.0068 | -0.081862
2026-07-30T12:51:14.711-04:00 | 135.203 | 2.2534 | 28 | 5754523 | 246 | 0.4881 | 1.2023 | 8.9909 | -0.09526 | -0.00454 | -0.05448
2026-07-30T12:51:19.702-04:00 | 140.203 | 2.3367 | 29 | 5759523 | 246.4 | 0.4921 | 1.2043 | 8.9796 | -0.1066 | -0.01134 | -0.13608
2026-07-30T12:51:24.694-04:00 | 145.188 | 2.4198 | 30 | 5764523 | 246.2 | 0.405 | 1.2033 | 8.9853 | -0.10093 | 0.00567 | 0.068245
2026-07-30T12:51:29.701-04:00 | 150.203 | 2.5034 | 31 | 5769523 | 246.4 | 0.4921 | 1.2043 | 8.9796 | -0.1066 | -0.00567 | -0.067836
2026-07-30T12:51:34.693-04:00 | 155.188 | 2.5865 | 32 | 5774523 | 246.72 | 0.4507 | 1.2059 | 8.9705 | -0.11567 | -0.00907 | -0.10917
2026-07-30T12:51:39.700-04:00 | 160.203 | 2.6701 | 33 | 5779523 | 246.92 | 0.3953 | 1.2068 | 8.9648 | -0.12134 | -0.00567 | -0.067836
2026-07-30T12:51:44.692-04:00 | 165.188 | 2.7531 | 34 | 5784523 | 246.96 | 0.3366 | 1.207 | 8.9637 | -0.12248 | -0.00114 | -0.013721
2026-07-30T12:51:49.683-04:00 | 170.188 | 2.8365 | 35 | 5789522 | 247.04 | 0.2073 | 1.2074 | 8.9614 | -0.12474 | -0.00226 | -0.02712
2026-07-30T12:51:54.676-04:00 | 175.172 | 2.9195 | 36 | 5794523 | 247.32 | 0.4593 | 1.2088 | 8.9535 | -0.13268 | -0.00794 | -0.095586
2026-07-30T12:51:59.683-04:00 | 180.188 | 3.0031 | 37 | 5799523 | 247.56 | 0.4961 | 1.21 | 8.9467 | -0.13948 | -0.0068 | -0.08134
2026-07-30T12:52:04.675-04:00 | 185.172 | 3.0862 | 38 | 5804523 | 247.56 | 0.4961 | 1.21 | 8.9467 | -0.13948 | 0 | 0
2026-07-30T12:52:09.681-04:00 | 190.188 | 3.1698 | 39 | 5809523 | 247.76 | 0.4285 | 1.2109 | 8.941 | -0.14515 | -0.00567 | -0.067823
2026-07-30T12:52:14.674-04:00 | 195.172 | 3.2529 | 40 | 5814523 | 247.92 | 0.3953 | 1.2117 | 8.9365 | -0.14969 | -0.00454 | -0.054655
2026-07-30T12:52:19.665-04:00 | 200.172 | 3.3362 | 41 | 5819523 | 248.24 | 0.4239 | 1.2133 | 8.9274 | -0.15876 | -0.00907 | -0.10884
2026-07-30T12:52:24.672-04:00 | 205.172 | 3.4195 | 42 | 5824523 | 248.28 | 0.4507 | 1.2135 | 8.9263 | -0.1599 | -0.00114 | -0.01368
2026-07-30T12:52:29.665-04:00 | 210.172 | 3.5029 | 43 | 5829523 | 248.56 | 0.4961 | 1.2149 | 8.9184 | -0.16783 | -0.00793 | -0.09516
2026-07-30T12:52:34.657-04:00 | 215.156 | 3.5859 | 44 | 5834523 | 248.48 | 0.5 | 1.2145 | 8.9206 | -0.16557 | 0.00226 | 0.027207
2026-07-30T12:52:39.663-04:00 | 220.156 | 3.6693 | 45 | 5839523 | 248.84 | 0.3698 | 1.2162 | 8.9104 | -0.17577 | -0.0102 | -0.1224
2026-07-30T12:52:44.655-04:00 | 225.156 | 3.7526 | 46 | 5844523 | 249.12 | 0.3248 | 1.2176 | 8.9025 | -0.18371 | -0.00794 | -0.09528
2026-07-30T12:52:49.647-04:00 | 230.141 | 3.8357 | 47 | 5849523 | 249.4 | 0.4961 | 1.219 | 8.8945 | -0.19165 | -0.00794 | -0.095567
2026-07-30T12:52:54.654-04:00 | 235.156 | 3.9193 | 48 | 5854523 | 249.4 | 0.4961 | 1.219 | 8.8945 | -0.19165 | 0 | 0
2026-07-30T12:52:59.646-04:00 | 240.141 | 4.0024 | 49 | 5859523 | 249.88 | 0.3248 | 1.2213 | 8.8809 | -0.20526 | -0.01361 | -0.16381
2026-07-30T12:53:04.637-04:00 | 245.141 | 4.0857 | 50 | 5864523 | 250.16 | 0.4593 | 1.2227 | 8.873 | -0.21319 | -0.00793 | -0.09516
2026-07-30T12:53:09.645-04:00 | 250.141 | 4.169 | 51 | 5869522 | 250.24 | 0.4239 | 1.2231 | 8.8707 | -0.21546 | -0.00227 | -0.02724
2026-07-30T12:53:14.637-04:00 | 255.141 | 4.2524 | 52 | 5874523 | 250.24 | 0.4239 | 1.2231 | 8.8707 | -0.21546 | 0 | 0
2026-07-30T12:53:19.629-04:00 | 260.125 | 4.3354 | 53 | 5879523 | 250.84 | 0.4677 | 1.226 | 8.8537 | -0.23247 | -0.01701 | -0.20478
2026-07-30T12:53:24.636-04:00 | 265.141 | 4.419 | 54 | 5884523 | 251.04 | 0.348 | 1.227 | 8.848 | -0.23814 | -0.00567 | -0.067823
2026-07-30T12:53:29.628-04:00 | 270.125 | 4.5021 | 55 | 5889523 | 251.2 | 0.405 | 1.2278 | 8.8435 | -0.24268 | -0.00454 | -0.054655
2026-07-30T12:53:34.619-04:00 | 275.125 | 4.5854 | 56 | 5894523 | 251.4 | 0.4921 | 1.2287 | 8.8378 | -0.24835 | -0.00567 | -0.06804
2026-07-30T12:53:39.626-04:00 | 280.125 | 4.6688 | 57 | 5899523 | 251.76 | 0.5154 | 1.2305 | 8.8276 | -0.25855 | -0.0102 | -0.1224
2026-07-30T12:53:44.618-04:00 | 285.125 | 4.7521 | 58 | 5904523 | 251.84 | 0.3698 | 1.2309 | 8.8254 | -0.26082 | -0.00227 | -0.02724
2026-07-30T12:53:49.610-04:00 | 290.11 | 4.8352 | 59 | 5909523 | 252.08 | 0.4801 | 1.2321 | 8.8186 | -0.26763 | -0.00681 | -0.081966
2026-07-30T12:53:54.617-04:00 | 295.11 | 4.9185 | 60 | 5914523 | 252.2 | 0.4002 | 1.2326 | 8.8151 | -0.27103 | -0.0034 | -0.0408
2026-07-30T12:53:59.609-04:00 | 300.11 | 5.0018 | 61 | 5919523 | 252.56 | 0.5 | 1.2344 | 8.8049 | -0.28123 | -0.0102 | -0.1224
2026-07-30T12:54:04.600-04:00 | 305.094 | 5.0849 | 62 | 5924523 | 252.96 | 0.1875 | 1.2364 | 8.7936 | -0.29257 | -0.01134 | -0.13652
2026-07-30T12:54:09.608-04:00 | 310.11 | 5.1685 | 63 | 5929523 | 253 | 0.2795 | 1.2366 | 8.7925 | -0.29371 | -0.00114 | -0.013636
2026-07-30T12:54:14.600-04:00 | 315.094 | 5.2516 | 64 | 5934523 | 253.12 | 0.3307 | 1.2371 | 8.7891 | -0.29711 | -0.0034 | -0.040931
2026-07-30T12:54:19.591-04:00 | 320.094 | 5.3349 | 65 | 5939523 | 253.52 | 0.5 | 1.2391 | 8.7777 | -0.30845 | -0.01134 | -0.13608
2026-07-30T12:54:24.599-04:00 | 325.094 | 5.4182 | 66 | 5944523 | 253.92 | 0.3903 | 1.2411 | 8.7664 | -0.31979 | -0.01134 | -0.13608
2026-07-30T12:54:29.591-04:00 | 330.094 | 5.5016 | 67 | 5949522 | 254.08 | 0.2652 | 1.2418 | 8.7619 | -0.32433 | -0.00454 | -0.05448
2026-07-30T12:54:34.582-04:00 | 335.078 | 5.5846 | 68 | 5954523 | 254.08 | 0.2652 | 1.2418 | 8.7619 | -0.32433 | 0 | 0
2026-07-30T12:54:39.590-04:00 | 340.094 | 5.6682 | 69 | 5959523 | 254.6 | 0.4841 | 1.2444 | 8.7471 | -0.33907 | -0.01474 | -0.17632
2026-07-30T12:54:44.581-04:00 | 345.078 | 5.7513 | 70 | 5964523 | 254.92 | 0.2724 | 1.2459 | 8.738 | -0.34814 | -0.00907 | -0.10919
2026-07-30T12:54:49.573-04:00 | 350.078 | 5.8346 | 71 | 5969523 | 255 | 0.4002 | 1.2463 | 8.7358 | -0.35041 | -0.00227 | -0.02724
2026-07-30T12:54:54.581-04:00 | 355.078 | 5.918 | 72 | 5974523 | 255.28 | 0.4463 | 1.2477 | 8.7278 | -0.35835 | -0.00794 | -0.09528
2026-07-30T12:54:59.572-04:00 | 360.078 | 6.0013 | 73 | 5979523 | 255.68 | 0.4719 | 1.2497 | 8.7165 | -0.36969 | -0.01134 | -0.13608
2026-07-30T12:55:04.564-04:00 | 365.063 | 6.0844 | 74 | 5984523 | 255.96 | 0.3423 | 1.251 | 8.7086 | -0.37762 | -0.00793 | -0.095446
2026-07-30T12:55:09.571-04:00 | 370.078 | 6.168 | 75 | 5989523 | 256.12 | 0.3307 | 1.2518 | 8.704 | -0.38216 | -0.00454 | -0.054317
2026-07-30T12:55:14.563-04:00 | 375.063 | 6.2511 | 76 | 5994523 | 256.08 | 0.2795 | 1.2516 | 8.7051 | -0.38103 | 0.00113 | 0.013601
2026-07-30T12:55:19.555-04:00 | 380.063 | 6.3344 | 77 | 5999523 | 256.52 | 0.5 | 1.2538 | 8.6927 | -0.3935 | -0.01247 | -0.14964
2026-07-30T12:55:24.562-04:00 | 385.063 | 6.4177 | 78 | 6004523 | 256.92 | 0.2652 | 1.2557 | 8.6813 | -0.40484 | -0.01134 | -0.13608
2026-07-30T12:55:29.554-04:00 | 390.047 | 6.5008 | 79 | 6009523 | 257.16 | 0.3644 | 1.2569 | 8.6745 | -0.41164 | -0.0068 | -0.081862
2026-07-30T12:55:34.546-04:00 | 395.047 | 6.5841 | 80 | 6014523 | 257.32 | 0.4593 | 1.2577 | 8.67 | -0.41618 | -0.00454 | -0.05448
2026-07-30T12:55:39.553-04:00 | 400.047 | 6.6675 | 81 | 6019523 | 258.08 | 0.4921 | 1.2614 | 8.6485 | -0.43773 | -0.02155 | -0.2586
2026-07-30T12:55:44.545-04:00 | 405.047 | 6.7508 | 82 | 6024523 | 258.12 | 0.3307 | 1.2616 | 8.6473 | -0.43886 | -0.00113 | -0.01356
2026-07-30T12:55:49.537-04:00 | 410.031 | 6.8339 | 83 | 6029522 | 258.24 | 0.5154 | 1.2622 | 8.6439 | -0.44226 | -0.0034 | -0.040931
2026-07-30T12:55:54.544-04:00 | 415.047 | 6.9175 | 84 | 6034523 | 258.8 | 0.405 | 1.2649 | 8.628 | -0.45814 | -0.01588 | -0.18995
2026-07-30T12:55:59.536-04:00 | 420.031 | 7.0005 | 85 | 6039523 | 259.24 | 0.433 | 1.2671 | 8.6156 | -0.47061 | -0.01247 | -0.15012
2026-07-30T12:56:04.528-04:00 | 425.031 | 7.0839 | 86 | 6044523 | 259.36 | 0.4921 | 1.2676 | 8.6122 | -0.47401 | -0.0034 | -0.0408
2026-07-30T12:56:09.535-04:00 | 430.031 | 7.1672 | 87 | 6049523 | 259.44 | 0.4921 | 1.268 | 8.6099 | -0.47628 | -0.00227 | -0.02724
2026-07-30T12:56:14.526-04:00 | 435.031 | 7.2505 | 88 | 6054523 | 259.96 | 0.4507 | 1.2706 | 8.5952 | -0.49102 | -0.01474 | -0.17688
2026-07-30T12:56:19.518-04:00 | 440.016 | 7.3336 | 89 | 6059523 | 260.08 | 0.2795 | 1.2712 | 8.5917 | -0.49443 | -0.00341 | -0.041043
2026-07-30T12:56:24.526-04:00 | 445.031 | 7.4172 | 90 | 6064523 | 260.44 | 0.5 | 1.2729 | 8.5816 | -0.50463 | -0.0102 | -0.12203
2026-07-30T12:56:29.517-04:00 | 450.016 | 7.5003 | 91 | 6069523 | 260.8 | 0.405 | 1.2747 | 8.5713 | -0.51484 | -0.01021 | -0.12289
2026-07-30T12:56:34.509-04:00 | 455.016 | 7.5836 | 92 | 6074523 | 261.16 | 0.3644 | 1.2764 | 8.5611 | -0.52504 | -0.0102 | -0.1224
2026-07-30T12:56:39.516-04:00 | 460.016 | 7.6669 | 93 | 6079523 | 261.64 | 0.4677 | 1.2788 | 8.5475 | -0.53865 | -0.01361 | -0.16332
2026-07-30T12:56:44.508-04:00 | 465.016 | 7.7503 | 94 | 6084523 | 261.6 | 0.4841 | 1.2786 | 8.5487 | -0.53752 | 0.00113 | 0.01356
2026-07-30T12:56:49.500-04:00 | 470 | 7.8333 | 95 | 6089523 | 262.28 | 0.4507 | 1.2819 | 8.5294 | -0.5568 | -0.01928 | -0.2321
2026-07-30T12:56:54.508-04:00 | 475 | 7.9167 | 96 | 6094523 | 262.52 | 0.5078 | 1.2831 | 8.5226 | -0.5636 | -0.0068 | -0.0816
2026-07-30T12:56:59.499-04:00 | 480 | 8 | 97 | 6099523 | 262.84 | 0.3644 | 1.2847 | 8.5135 | -0.57267 | -0.00907 | -0.10884
2026-07-30T12:57:04.491-04:00 | 484.985 | 8.0831 | 98 | 6104523 | 262.84 | 0.3644 | 1.2847 | 8.5135 | -0.57267 | 0 | 0
2026-07-30T12:57:09.498-04:00 | 490 | 8.1667 | 99 | 6109522 | 263.52 | 0.5078 | 1.288 | 8.4942 | -0.59195 | -0.01928 | -0.23067
2026-07-30T12:57:14.490-04:00 | 494.985 | 8.2498 | 100 | 6114524 | 263.72 | 0.4419 | 1.289 | 8.4886 | -0.59762 | -0.00567 | -0.068245
2026-07-30T12:57:19.482-04:00 | 499.985 | 8.3331 | 101 | 6119524 | 263.92 | 0.2652 | 1.2899 | 8.4829 | -0.60329 | -0.00567 | -0.06804
2026-07-30T12:57:24.489-04:00 | 504.985 | 8.4164 | 102 | 6124524 | 264.36 | 0.4841 | 1.2921 | 8.4704 | -0.61576 | -0.01247 | -0.14964
2026-07-30T12:57:29.481-04:00 | 509.985 | 8.4998 | 103 | 6129524 | 265.04 | 0.4419 | 1.2954 | 8.4511 | -0.63504 | -0.01928 | -0.23136
2026-07-30T12:57:34.472-04:00 | 514.969 | 8.5828 | 104 | 6134524 | 265.04 | 0.1976 | 1.2954 | 8.4511 | -0.63504 | 0 | 0
2026-07-30T12:57:39.480-04:00 | 519.985 | 8.6664 | 105 | 6139524 | 265.44 | 0.4921 | 1.2974 | 8.4398 | -0.64638 | -0.01134 | -0.13565
2026-07-30T12:57:44.472-04:00 | 524.969 | 8.7495 | 106 | 6144524 | 265.8 | 0.405 | 1.2991 | 8.4296 | -0.65659 | -0.01021 | -0.12291
2026-07-30T12:57:49.463-04:00 | 529.969 | 8.8328 | 107 | 6149524 | 266.12 | 0.3307 | 1.3007 | 8.4205 | -0.66566 | -0.00907 | -0.10884
2026-07-30T12:57:54.471-04:00 | 534.969 | 8.9162 | 108 | 6154524 | 266.12 | 0.3307 | 1.3007 | 8.4205 | -0.66566 | 0 | 0
2026-07-30T12:57:59.462-04:00 | 539.969 | 8.9995 | 109 | 6159524 | 266.72 | 0.4419 | 1.3036 | 8.4035 | -0.68267 | -0.01701 | -0.20412
2026-07-30T12:58:04.454-04:00 | 544.953 | 9.0826 | 110 | 6164524 | 267.04 | 0.1768 | 1.3052 | 8.3944 | -0.69174 | -0.00907 | -0.10919
2026-07-30T12:58:09.462-04:00 | 549.969 | 9.1662 | 111 | 6169524 | 267.2 | 0.3953 | 1.306 | 8.3899 | -0.69628 | -0.00454 | -0.054306
2026-07-30T12:58:14.453-04:00 | 554.953 | 9.2492 | 112 | 6174524 | 267.88 | 0.3187 | 1.3093 | 8.3706 | -0.71556 | -0.01928 | -0.2321
2026-07-30T12:58:19.445-04:00 | 559.938 | 9.3323 | 113 | 6179524 | 268.2 | 0.3853 | 1.3109 | 8.3615 | -0.72463 | -0.00907 | -0.10917
2026-07-30T12:58:24.452-04:00 | 564.953 | 9.4159 | 114 | 6184524 | 268.6 | 0.4921 | 1.3128 | 8.3502 | -0.73597 | -0.01134 | -0.13567
2026-07-30T12:58:29.444-04:00 | 569.938 | 9.499 | 115 | 6189523 | 268.96 | 0.3536 | 1.3146 | 8.34 | -0.74617 | -0.0102 | -0.12277
2026-07-30T12:58:34.435-04:00 | 574.938 | 9.5823 | 116 | 6194524 | 269.2 | 0.3853 | 1.3157 | 8.3332 | -0.75298 | -0.00681 | -0.08172
2026-07-30T12:58:39.443-04:00 | 579.938 | 9.6656 | 117 | 6199524 | 269.6 | 0.4841 | 1.3177 | 8.3219 | -0.76432 | -0.01134 | -0.13608
2026-07-30T12:58:44.435-04:00 | 584.938 | 9.749 | 118 | 6204524 | 269.72 | 0.4419 | 1.3183 | 8.3185 | -0.76772 | -0.0034 | -0.0408
2026-07-30T12:58:49.426-04:00 | 589.922 | 9.832 | 119 | 6209524 | 270.44 | 0.4921 | 1.3218 | 8.298 | -0.78813 | -0.02041 | -0.24571
2026-07-30T12:58:54.434-04:00 | 594.938 | 9.9156 | 120 | 6214524 | 270.72 | 0.4507 | 1.3232 | 8.2901 | -0.79607 | -0.00794 | -0.094976
2026-07-30T12:58:59.425-04:00 | 599.922 | 9.9987 | 121 | 6219524 | 270.84 | 0.3644 | 1.3238 | 8.2867 | -0.79947 | -0.0034 | -0.040931
2026-07-30T12:59:04.417-04:00 | 604.922 | 10.082 | 122 | 6224524 | 271.44 | 0.5 | 1.3267 | 8.2697 | -0.81648 | -0.01701 | -0.20412
2026-07-30T12:59:09.425-04:00 | 609.922 | 10.1654 | 123 | 6229524 | 271.76 | 0.4239 | 1.3282 | 8.2606 | -0.82555 | -0.00907 | -0.10884
2026-07-30T12:59:14.416-04:00 | 614.922 | 10.2487 | 124 | 6234524 | 271.96 | 0.4507 | 1.3292 | 8.255 | -0.83122 | -0.00567 | -0.06804
2026-07-30T12:59:19.408-04:00 | 619.906 | 10.3318 | 125 | 6239524 | 272.36 | 0.4921 | 1.3312 | 8.2436 | -0.84256 | -0.01134 | -0.13652
2026-07-30T12:59:24.415-04:00 | 624.922 | 10.4154 | 126 | 6244524 | 272.96 | 0.4507 | 1.3341 | 8.2266 | -0.85957 | -0.01701 | -0.20347
2026-07-30T12:59:29.408-04:00 | 629.906 | 10.4984 | 127 | 6249524 | 273 | 0.2795 | 1.3343 | 8.2255 | -0.86071 | -0.00114 | -0.013724
2026-07-30T12:59:34.398-04:00 | 634.891 | 10.5815 | 128 | 6254524 | 273.52 | 0.5 | 1.3369 | 8.2107 | -0.87545 | -0.01474 | -0.17741
2026-07-30T12:59:39.406-04:00 | 639.906 | 10.6651 | 129 | 6259524 | 274.08 | 0.2932 | 1.3396 | 8.1949 | -0.89132 | -0.01587 | -0.18987
2026-07-30T12:59:44.398-04:00 | 644.891 | 10.7482 | 130 | 6264524 | 274.48 | 0.5 | 1.3415 | 8.1835 | -0.90266 | -0.01134 | -0.13649
2026-07-30T12:59:49.389-04:00 | 649.891 | 10.8315 | 131 | 6269523 | 274.92 | 0.375 | 1.3437 | 8.171 | -0.91514 | -0.01248 | -0.14976
2026-07-30T12:59:54.397-04:00 | 654.891 | 10.9149 | 132 | 6274524 | 275.28 | 0.4507 | 1.3455 | 8.1608 | -0.92534 | -0.0102 | -0.1224
2026-07-30T12:59:59.389-04:00 | 659.891 | 10.9982 | 133 | 6279524 | 275.52 | 0.5078 | 1.3466 | 8.154 | -0.93215 | -0.00681 | -0.08172
2026-07-30T13:00:04.380-04:00 | 664.875 | 11.0813 | 134 | 6284524 | 275.84 | 0.375 | 1.3482 | 8.145 | -0.94122 | -0.00907 | -0.10919
2026-07-30T13:00:09.388-04:00 | 669.891 | 11.1649 | 135 | 6289524 | 276.48 | 0.4921 | 1.3513 | 8.1268 | -0.95937 | -0.01815 | -0.21711
2026-07-30T13:00:14.380-04:00 | 674.875 | 11.2479 | 136 | 6294524 | 276.92 | 0.3853 | 1.3535 | 8.1143 | -0.97184 | -0.01247 | -0.15012
2026-07-30T13:00:19.371-04:00 | 679.875 | 11.3313 | 137 | 6299524 | 276.96 | 0.2165 | 1.3537 | 8.1132 | -0.97297 | -0.00113 | -0.01356
2026-07-30T13:00:24.379-04:00 | 684.875 | 11.4146 | 138 | 6304524 | 277.68 | 0.4677 | 1.3572 | 8.0928 | -0.99338 | -0.02041 | -0.24492
2026-07-30T13:00:29.371-04:00 | 689.875 | 11.4979 | 139 | 6309523 | 278 | 0 | 1.3587 | 8.0837 | -1.0025 | -0.00908 | -0.10896
2026-07-30T13:00:34.362-04:00 | 694.86 | 11.581 | 140 | 6314524 | 278.24 | 0.433 | 1.3599 | 8.0769 | -1.0093 | -0.0068 | -0.081846
2026-07-30T13:00:39.370-04:00 | 699.875 | 11.6646 | 141 | 6319524 | 278.64 | 0.4677 | 1.3619 | 8.0656 | -1.0206 | -0.01134 | -0.13567
2026-07-30T13:00:44.361-04:00 | 704.86 | 11.7477 | 142 | 6324524 | 279.2 | 0.4841 | 1.3646 | 8.0497 | -1.0365 | -0.01588 | -0.19113
2026-07-30T13:00:49.352-04:00 | 709.86 | 11.831 | 143 | 6329524 | 279.48 | 0.4921 | 1.366 | 8.0418 | -1.0444 | -0.00794 | -0.09528
2026-07-30T13:00:54.361-04:00 | 714.86 | 11.9143 | 144 | 6334524 | 280.04 | 0.1768 | 1.3687 | 8.0259 | -1.0603 | -0.01587 | -0.19044
2026-07-30T13:00:59.352-04:00 | 719.86 | 11.9977 | 145 | 6339524 | 280.68 | 0.4677 | 1.3718 | 8.0077 | -1.0784 | -0.01814 | -0.21768
2026-07-30T13:01:04.344-04:00 | 724.844 | 12.0807 | 146 | 6344524 | 280.8 | 0.405 | 1.3724 | 8.0043 | -1.0818 | -0.00341 | -0.041051
2026-07-30T13:01:09.352-04:00 | 729.844 | 12.1641 | 147 | 6349523 | 281.44 | 0.566 | 1.3756 | 7.9862 | -1.1 | -0.01814 | -0.21768
2026-07-30T13:01:14.343-04:00 | 734.844 | 12.2474 | 148 | 6354524 | 281.84 | 0.375 | 1.3775 | 7.9749 | -1.1113 | -0.01134 | -0.13608
2026-07-30T13:01:19.334-04:00 | 739.828 | 12.3305 | 149 | 6359524 | 282.04 | 0.1768 | 1.3785 | 7.9692 | -1.117 | -0.00567 | -0.068258
2026-07-30T13:01:24.342-04:00 | 744.844 | 12.4141 | 150 | 6364524 | 282.52 | 0.5 | 1.3808 | 7.9556 | -1.1306 | -0.01361 | -0.1628
2026-07-30T13:01:29.334-04:00 | 749.828 | 12.4971 | 151 | 6369524 | 283.16 | 0.4593 | 1.384 | 7.9374 | -1.1487 | -0.01814 | -0.21838
2026-07-30T13:01:34.340-04:00 | 754.844 | 12.5807 | 152 | 6374524 | 283.56 | 0.5 | 1.3859 | 7.9261 | -1.1601 | -0.01134 | -0.13565
2026-07-30T13:01:39.333-04:00 | 759.828 | 12.6638 | 153 | 6379524 | 284.04 | 0.3423 | 1.3883 | 7.9125 | -1.1737 | -0.01361 | -0.16384
2026-07-30T13:01:44.324-04:00 | 764.828 | 12.7471 | 154 | 6384524 | 284.6 | 0.4841 | 1.391 | 7.8966 | -1.1896 | -0.01588 | -0.19056
2026-07-30T13:01:49.332-04:00 | 769.828 | 12.8305 | 155 | 6389524 | 285.04 | 0.1976 | 1.3932 | 7.8841 | -1.202 | -0.01247 | -0.14964
2026-07-30T13:01:54.324-04:00 | 774.828 | 12.9138 | 156 | 6394524 | 285 | 0.2795 | 1.393 | 7.8853 | -1.2009 | 0.00113 | 0.01356
2026-07-30T13:01:59.315-04:00 | 779.813 | 12.9969 | 157 | 6399524 | 285.76 | 0.5078 | 1.3967 | 7.8637 | -1.2225 | -0.02154 | -0.25926
2026-07-30T13:02:04.307-04:00 | 784.813 | 13.0802 | 158 | 6404524 | 286 | 0.3953 | 1.3978 | 7.8569 | -1.2293 | -0.00681 | -0.08172
2026-07-30T13:02:09.314-04:00 | 789.813 | 13.1636 | 159 | 6409524 | 286.32 | 0.4593 | 1.3994 | 7.8479 | -1.2383 | -0.00907 | -0.10884
2026-07-30T13:02:14.306-04:00 | 794.813 | 13.2469 | 160 | 6414524 | 287.08 | 0.2795 | 1.4031 | 7.8263 | -1.2599 | -0.02154 | -0.25848
2026-07-30T13:02:19.313-04:00 | 799.813 | 13.3302 | 161 | 6419524 | 287.56 | 0.5 | 1.4055 | 7.8127 | -1.2735 | -0.01361 | -0.16332
2026-07-30T13:02:24.305-04:00 | 804.813 | 13.4136 | 162 | 6424524 | 287.8 | 0.405 | 1.4066 | 7.8059 | -1.2803 | -0.00681 | -0.08172
2026-07-30T13:02:29.296-04:00 | 809.797 | 13.4966 | 163 | 6429523 | 288.32 | 0.4593 | 1.4092 | 7.7912 | -1.295 | -0.01474 | -0.17745
2026-07-30T13:02:34.303-04:00 | 814.797 | 13.58 | 164 | 6434524 | 288.88 | 0.5154 | 1.4119 | 7.7753 | -1.3109 | -0.01587 | -0.19044
2026-07-30T13:02:39.296-04:00 | 819.797 | 13.6633 | 165 | 6439524 | 289 | 0.3953 | 1.4125 | 7.7719 | -1.3143 | -0.00341 | -0.04092
2026-07-30T13:02:44.287-04:00 | 824.781 | 13.7464 | 166 | 6444524 | 289.56 | 0.5 | 1.4152 | 7.756 | -1.3302 | -0.01587 | -0.19105
2026-07-30T13:02:49.295-04:00 | 829.797 | 13.83 | 167 | 6449524 | 290.16 | 0.3644 | 1.4182 | 7.739 | -1.3472 | -0.01701 | -0.20347
2026-07-30T13:02:54.287-04:00 | 834.781 | 13.913 | 168 | 6454524 | 290.68 | 0.4677 | 1.4207 | 7.7242 | -1.3619 | -0.01474 | -0.17745
2026-07-30T13:02:59.278-04:00 | 839.781 | 13.9964 | 169 | 6459524 | 290.96 | 0.3536 | 1.4221 | 7.7163 | -1.3699 | -0.00794 | -0.09528
2026-07-30T13:03:04.286-04:00 | 844.781 | 14.0797 | 170 | 6464524 | 291.56 | 0.4921 | 1.425 | 7.6993 | -1.3869 | -0.01701 | -0.20412
2026-07-30T13:03:09.277-04:00 | 849.781 | 14.163 | 171 | 6469524 | 291.8 | 0.4921 | 1.4262 | 7.6925 | -1.3937 | -0.00681 | -0.08172
2026-07-30T13:03:14.269-04:00 | 854.766 | 14.2461 | 172 | 6474524 | 292.36 | 0.4921 | 1.4289 | 7.6766 | -1.4096 | -0.01587 | -0.19101
2026-07-30T13:03:19.276-04:00 | 859.781 | 14.3297 | 173 | 6479524 | 293.08 | 0.405 | 1.4325 | 7.6562 | -1.43 | -0.02041 | -0.24419
2026-07-30T13:03:24.269-04:00 | 864.766 | 14.4128 | 174 | 6484524 | 293.28 | 0.4507 | 1.4334 | 7.6505 | -1.4356 | -0.00567 | -0.068245
2026-07-30T13:03:29.260-04:00 | 869.766 | 14.4961 | 175 | 6489524 | 294.08 | 0.405 | 1.4373 | 7.6279 | -1.4583 | -0.02268 | -0.27216
2026-07-30T13:03:34.267-04:00 | 874.766 | 14.5794 | 176 | 6494524 | 294.44 | 0.4921 | 1.4391 | 7.6177 | -1.4685 | -0.01021 | -0.12252
2026-07-30T13:03:39.259-04:00 | 879.766 | 14.6628 | 177 | 6499524 | 294.68 | 0.476 | 1.4403 | 7.6109 | -1.4753 | -0.0068 | -0.0816
2026-07-30T13:03:44.250-04:00 | 884.75 | 14.7458 | 178 | 6504524 | 295.08 | 0.2932 | 1.4422 | 7.5995 | -1.4867 | -0.01134 | -0.13652
2026-07-30T13:03:49.258-04:00 | 889.75 | 14.8292 | 179 | 6509523 | 295.92 | 0.476 | 1.4463 | 7.5757 | -1.5105 | -0.02382 | -0.28584
2026-07-30T13:03:54.250-04:00 | 894.75 | 14.9125 | 180 | 6514524 | 296.08 | 0.2795 | 1.4471 | 7.5712 | -1.515 | -0.00453 | -0.05436
2026-07-30T13:03:59.242-04:00 | 899.735 | 14.9956 | 181 | 6519524 | 296.72 | 0.4507 | 1.4502 | 7.553 | -1.5332 | -0.01815 | -0.21846
2026-07-30T13:04:04.249-04:00 | 904.75 | 15.0792 | 182 | 6524524 | 297.36 | 0.4921 | 1.4534 | 7.5349 | -1.5513 | -0.01814 | -0.21703
2026-07-30T13:04:09.241-04:00 | 909.735 | 15.1623 | 183 | 6529524 | 297.72 | 0.5303 | 1.4551 | 7.5247 | -1.5615 | -0.01021 | -0.12289
2026-07-30T13:04:14.233-04:00 | 914.735 | 15.2456 | 184 | 6534524 | 297.96 | 0.4507 | 1.4563 | 7.5179 | -1.5683 | -0.0068 | -0.0816
2026-07-30T13:04:19.240-04:00 | 919.735 | 15.3289 | 185 | 6539524 | 298.68 | 0.552 | 1.4598 | 7.4974 | -1.5887 | -0.02041 | -0.24492
2026-07-30T13:04:24.231-04:00 | 924.735 | 15.4123 | 186 | 6544524 | 299.12 | 0.433 | 1.462 | 7.485 | -1.6012 | -0.01248 | -0.14976
2026-07-30T13:04:29.224-04:00 | 929.719 | 15.4953 | 187 | 6549524 | 299.52 | 0.5 | 1.4639 | 7.4736 | -1.6126 | -0.01134 | -0.13652
2026-07-30T13:04:34.231-04:00 | 934.735 | 15.5789 | 188 | 6554524 | 300.24 | 0.433 | 1.4674 | 7.4532 | -1.633 | -0.02041 | -0.24414
2026-07-30T13:04:39.222-04:00 | 939.719 | 15.662 | 189 | 6559524 | 300.8 | 0.405 | 1.4702 | 7.4373 | -1.6488 | -0.01588 | -0.19117
2026-07-30T13:04:44.214-04:00 | 944.719 | 15.7453 | 190 | 6564524 | 301.16 | 0.3536 | 1.4719 | 7.4271 | -1.659 | -0.0102 | -0.1224
2026-07-30T13:04:49.221-04:00 | 949.719 | 15.8287 | 191 | 6569524 | 301.76 | 0.4239 | 1.4749 | 7.4101 | -1.6761 | -0.01701 | -0.20412
2026-07-30T13:04:54.214-04:00 | 954.719 | 15.912 | 192 | 6574524 | 302.08 | 0.3953 | 1.4764 | 7.4011 | -1.6851 | -0.00907 | -0.10884
2026-07-30T13:04:59.205-04:00 | 959.703 | 15.9951 | 193 | 6579524 | 302.44 | 0.5 | 1.4782 | 7.3909 | -1.6953 | -0.01021 | -0.12291
2026-07-30T13:05:04.213-04:00 | 964.719 | 16.0787 | 194 | 6584524 | 303.12 | 0.3307 | 1.4815 | 7.3716 | -1.7146 | -0.01928 | -0.23062
2026-07-30T13:05:09.204-04:00 | 969.703 | 16.1617 | 195 | 6589523 | 303.52 | 0.5078 | 1.4835 | 7.3602 | -1.726 | -0.01134 | -0.13652
2026-07-30T13:05:14.196-04:00 | 974.703 | 16.2451 | 196 | 6594524 | 304.04 | 0.1768 | 1.486 | 7.3455 | -1.7407 | -0.01474 | -0.17688
2026-07-30T13:05:19.203-04:00 | 979.703 | 16.3284 | 197 | 6599524 | 304.76 | 0.5078 | 1.4895 | 7.3251 | -1.7611 | -0.02041 | -0.24492
2026-07-30T13:05:24.195-04:00 | 984.688 | 16.4115 | 198 | 6604524 | 305 | 0.2795 | 1.4907 | 7.3183 | -1.7679 | -0.00681 | -0.081966
2026-07-30T13:05:29.187-04:00 | 989.688 | 16.4948 | 199 | 6609524 | 305.56 | 0.4921 | 1.4935 | 7.3024 | -1.7838 | -0.01587 | -0.19044
2026-07-30T13:05:34.194-04:00 | 994.688 | 16.5781 | 200 | 6614524 | 306.44 | 0.4921 | 1.4978 | 7.2774 | -1.8087 | -0.02495 | -0.2994
2026-07-30T13:05:39.186-04:00 | 999.688 | 16.6615 | 201 | 6619524 | 306.64 | 0.4677 | 1.4987 | 7.2718 | -1.8144 | -0.00567 | -0.06804
2026-07-30T13:05:44.178-04:00 | 1004.672 | 16.7445 | 202 | 6624524 | 307.44 | 0.5 | 1.5026 | 7.2491 | -1.8371 | -0.02268 | -0.27303
2026-07-30T13:05:49.185-04:00 | 1009.688 | 16.8281 | 203 | 6629524 | 307.92 | 0.3853 | 1.505 | 7.2355 | -1.8507 | -0.01361 | -0.1628
2026-07-30T13:05:54.177-04:00 | 1014.672 | 16.9112 | 204 | 6634524 | 308.24 | 0.433 | 1.5065 | 7.2264 | -1.8598 | -0.00907 | -0.10919
2026-07-30T13:05:59.168-04:00 | 1019.672 | 16.9945 | 205 | 6639524 | 308.48 | 0.4921 | 1.5077 | 7.2196 | -1.8666 | -0.0068 | -0.0816
2026-07-30T13:06:04.175-04:00 | 1024.672 | 17.0779 | 206 | 6644524 | 309.2 | 0.3853 | 1.5112 | 7.1992 | -1.887 | -0.02042 | -0.24504
2026-07-30T13:06:09.167-04:00 | 1029.672 | 17.1612 | 207 | 6649524 | 309.68 | 0.476 | 1.5136 | 7.1856 | -1.9006 | -0.0136 | -0.1632
2026-07-30T13:06:14.159-04:00 | 1034.656 | 17.2443 | 208 | 6654524 | 310.16 | 0.3644 | 1.5159 | 7.172 | -1.9142 | -0.01361 | -0.16384
2026-07-30T13:06:19.166-04:00 | 1039.672 | 17.3279 | 209 | 6659524 | 310.84 | 0.375 | 1.5193 | 7.1527 | -1.9335 | -0.01928 | -0.23062
2026-07-30T13:06:24.158-04:00 | 1044.656 | 17.4109 | 210 | 6664524 | 311.16 | 0.3644 | 1.5208 | 7.1436 | -1.9425 | -0.00907 | -0.10919
2026-07-30T13:06:29.150-04:00 | 1049.656 | 17.4943 | 211 | 6669523 | 311.88 | 0.4239 | 1.5243 | 7.1232 | -1.9629 | -0.02041 | -0.24492
2026-07-30T13:06:34.157-04:00 | 1054.656 | 17.5776 | 212 | 6674524 | 312.12 | 0.3307 | 1.5255 | 7.1164 | -1.9698 | -0.00681 | -0.08172
2026-07-30T13:06:39.149-04:00 | 1059.656 | 17.6609 | 213 | 6679524 | 312.24 | 0.433 | 1.5261 | 7.113 | -1.9732 | -0.0034 | -0.0408
2026-07-30T13:06:44.140-04:00 | 1064.641 | 17.744 | 214 | 6684524 | 312.96 | 0.2165 | 1.5296 | 7.0926 | -1.9936 | -0.02041 | -0.24566
2026-07-30T13:06:49.148-04:00 | 1069.641 | 17.8274 | 215 | 6689524 | 313.52 | 0.5078 | 1.5324 | 7.0767 | -2.0095 | -0.01588 | -0.19056
2026-07-30T13:06:54.140-04:00 | 1074.641 | 17.9107 | 216 | 6694524 | 313.88 | 0.3187 | 1.5341 | 7.0665 | -2.0196 | -0.0102 | -0.1224
2026-07-30T13:06:59.131-04:00 | 1079.625 | 17.9937 | 217 | 6699524 | 314.6 | 0.4841 | 1.5376 | 7.0461 | -2.0401 | -0.02042 | -0.24583
2026-07-30T13:07:04.139-04:00 | 1084.641 | 18.0774 | 218 | 6704524 | 314.84 | 0.3644 | 1.5388 | 7.0393 | -2.0469 | -0.0068 | -0.08134
2026-07-30T13:07:09.131-04:00 | 1089.625 | 18.1604 | 219 | 6709524 | 315.08 | 0.2795 | 1.54 | 7.0325 | -2.0537 | -0.0068 | -0.081862
2026-07-30T13:07:14.123-04:00 | 1094.625 | 18.2437 | 220 | 6714524 | 315.56 | 0.5 | 1.5423 | 7.0189 | -2.0673 | -0.01361 | -0.16332
2026-07-30T13:07:19.130-04:00 | 1099.625 | 18.3271 | 221 | 6719524 | 315.92 | 0.3853 | 1.5441 | 7.0087 | -2.0775 | -0.01021 | -0.12252
2026-07-30T13:07:24.122-04:00 | 1104.625 | 18.4104 | 222 | 6724524 | 316.04 | 0.3307 | 1.5447 | 7.0053 | -2.0809 | -0.0034 | -0.0408
2026-07-30T13:07:29.113-04:00 | 1109.61 | 18.4935 | 223 | 6729524 | 316.72 | 0.5303 | 1.548 | 6.986 | -2.1002 | -0.01928 | -0.23206
2026-07-30T13:07:34.121-04:00 | 1114.625 | 18.5771 | 224 | 6734524 | 316.76 | 0.4146 | 1.5482 | 6.9849 | -2.1013 | -0.00113 | -0.013519
2026-07-30T13:07:39.112-04:00 | 1119.61 | 18.6602 | 225 | 6739524 | 317.04 | 0.3307 | 1.5496 | 6.9769 | -2.1092 | -0.00794 | -0.095567
2026-07-30T13:07:44.104-04:00 | 1124.61 | 18.7435 | 226 | 6744524 | 317.56 | 0.5 | 1.5521 | 6.9622 | -2.124 | -0.01474 | -0.17688
2026-07-30T13:07:49.112-04:00 | 1129.61 | 18.8268 | 227 | 6749523 | 317.68 | 0.4677 | 1.5527 | 6.9588 | -2.1274 | -0.0034 | -0.0408
2026-07-30T13:07:54.103-04:00 | 1134.61 | 18.9102 | 228 | 6754524 | 318.04 | 0.1768 | 1.5544 | 6.9486 | -2.1376 | -0.01021 | -0.12252
2026-07-30T13:07:59.095-04:00 | 1139.594 | 18.9932 | 229 | 6759524 | 318.6 | 0.4921 | 1.5572 | 6.9327 | -2.1535 | -0.01587 | -0.19105
2026-07-30T13:08:04.102-04:00 | 1144.61 | 19.0768 | 230 | 6764524 | 318.72 | 0.4507 | 1.5578 | 6.9293 | -2.1569 | -0.00341 | -0.040789
2026-07-30T13:08:09.094-04:00 | 1149.594 | 19.1599 | 231 | 6769524 | 318.88 | 0.3187 | 1.5586 | 6.9248 | -2.1614 | -0.00453 | -0.054535
2026-07-30T13:08:14.086-04:00 | 1154.578 | 19.243 | 232 | 6774524 | 319.32 | 0.4593 | 1.5607 | 6.9123 | -2.1739 | -0.01248 | -0.15024
2026-07-30T13:08:19.093-04:00 | 1159.594 | 19.3266 | 233 | 6779524 | 319.52 | 0.5078 | 1.5617 | 6.9066 | -2.1796 | -0.00567 | -0.067823
2026-07-30T13:08:24.085-04:00 | 1164.578 | 19.4096 | 234 | 6784524 | 320.04 | 0.3307 | 1.5642 | 6.8919 | -2.1943 | -0.01474 | -0.17745
2026-07-30T13:08:29.076-04:00 | 1169.578 | 19.493 | 235 | 6789524 | 320.08 | 0.2932 | 1.5644 | 6.8908 | -2.1954 | -0.00113 | -0.01356
2026-07-30T13:08:34.084-04:00 | 1174.578 | 19.5763 | 236 | 6794524 | 320.28 | 0.4419 | 1.5654 | 6.8851 | -2.2011 | -0.00567 | -0.06804
2026-07-30T13:08:39.075-04:00 | 1179.578 | 19.6596 | 237 | 6799524 | 320.68 | 0.476 | 1.5674 | 6.8738 | -2.2124 | -0.01134 | -0.13608
2026-07-30T13:08:44.067-04:00 | 1184.563 | 19.7427 | 238 | 6804524 | 321.12 | 0.3187 | 1.5695 | 6.8613 | -2.2249 | -0.01248 | -0.15021
2026-07-30T13:08:49.075-04:00 | 1189.578 | 19.8263 | 239 | 6809524 | 321.56 | 0.5 | 1.5717 | 6.8488 | -2.2374 | -0.01247 | -0.14919

## Summary
Metric | Value
Experiment name | DOPC_pH_change
Start time | 2026-07-30T12:48:59-04:00
End time | 2026-07-30T13:08:51-04:00
Stop reason | stopped by user
Operator notes | Add sample conditions, treatment, concentration, temperature, and UV timing here.
Serial port | COM3
Sample interval (s) | 5
Requested duration (min) | 60
Number of readings | 239
Initial pH | 9.0862
Final pH | 6.8488
Net pH change | -2.2374
Minimum pH | 6.8488
Maximum pH | 9.1021
Mean pH | 8.1649
pH standard deviation | 0.70231
Linear pH rate (pH/min) | -0.12048
Calibration slope | -0.02835
Calibration intercept | 15.965
Calibration R² | 0.99981
Calibration point count | 3