## Data
computer_timestamp | elapsed_seconds | elapsed_minutes | sample_number | arduino_millis | raw_adc | raw_sd | voltage | ph | delta_ph | ph_change_from_previous | ph_rate_from_previous_per_min
2026-07-30T13:11:07.047-04:00 | 0.281 | 0.0046833 | 1 | 6947579 | 220.76 | 0.5863 | 1.079 | 9.7065 | 0 | 0
2026-07-30T13:11:12.039-04:00 | 5.281 | 0.088017 | 2 | 6952578 | 220.76 | 0.4285 | 1.079 | 9.7065 | 0 | 0 | 0
2026-07-30T13:11:17.031-04:00 | 10.265 | 0.17108 | 3 | 6957578 | 221.08 | 0.2724 | 1.0805 | 9.6974 | -0.00907 | -0.00907 | -0.10919
2026-07-30T13:11:22.038-04:00 | 15.265 | 0.25442 | 4 | 6962578 | 221.28 | 0.4507 | 1.0815 | 9.6917 | -0.01474 | -0.00567 | -0.06804
2026-07-30T13:11:27.030-04:00 | 20.265 | 0.33775 | 5 | 6967578 | 221.56 | 0.4961 | 1.0829 | 9.6838 | -0.02268 | -0.00794 | -0.09528
2026-07-30T13:11:32.022-04:00 | 25.25 | 0.42083 | 6 | 6972578 | 221.92 | 0.4841 | 1.0847 | 9.6736 | -0.03288 | -0.0102 | -0.12277
2026-07-30T13:11:37.029-04:00 | 30.265 | 0.50442 | 7 | 6977577 | 222.08 | 0.3903 | 1.0854 | 9.6691 | -0.03742 | -0.00454 | -0.054317
2026-07-30T13:11:42.021-04:00 | 35.25 | 0.5875 | 8 | 6982578 | 222.2 | 0.4002 | 1.086 | 9.6656 | -0.04082 | -0.0034 | -0.040923
2026-07-30T13:11:47.012-04:00 | 40.25 | 0.67083 | 9 | 6987578 | 222.32 | 0.4593 | 1.0866 | 9.6623 | -0.04422 | -0.0034 | -0.0408
2026-07-30T13:11:52.020-04:00 | 45.25 | 0.75417 | 10 | 6992578 | 222.6 | 0.5625 | 1.088 | 9.6543 | -0.05216 | -0.00794 | -0.09528
2026-07-30T13:11:57.012-04:00 | 50.25 | 0.8375 | 11 | 6997578 | 222.6 | 0.4881 | 1.088 | 9.6543 | -0.05216 | 0 | 0
2026-07-30T13:12:02.004-04:00 | 55.234 | 0.92057 | 12 | 7002578 | 222.88 | 0.4285 | 1.0893 | 9.6464 | -0.0601 | -0.00794 | -0.095586
2026-07-30T13:12:07.011-04:00 | 60.25 | 1.0042 | 13 | 7007579 | 223 | 0.2795 | 1.0899 | 9.643 | -0.0635 | -0.0034 | -0.04067
2026-07-30T13:12:12.003-04:00 | 65.234 | 1.0872 | 14 | 7012579 | 223.12 | 0.3307 | 1.0905 | 9.6396 | -0.0669 | -0.0034 | -0.040931
2026-07-30T13:12:16.994-04:00 | 70.234 | 1.1706 | 15 | 7017579 | 223.32 | 0.4635 | 1.0915 | 9.6339 | -0.07257 | -0.00567 | -0.06804
2026-07-30T13:12:22.002-04:00 | 75.234 | 1.2539 | 16 | 7022579 | 223.44 | 0.4961 | 1.0921 | 9.6305 | -0.07597 | -0.0034 | -0.0408
2026-07-30T13:12:26.993-04:00 | 80.234 | 1.3372 | 17 | 7027579 | 223.52 | 0.5 | 1.0925 | 9.6282 | -0.07824 | -0.00227 | -0.02724
2026-07-30T13:12:31.985-04:00 | 85.219 | 1.4203 | 18 | 7032579 | 223.6 | 0.566 | 1.0929 | 9.626 | -0.08051 | -0.00227 | -0.027322
2026-07-30T13:12:36.993-04:00 | 90.234 | 1.5039 | 19 | 7037579 | 223.76 | 0.4285 | 1.0936 | 9.6214 | -0.08505 | -0.00454 | -0.054317
2026-07-30T13:12:41.984-04:00 | 95.219 | 1.587 | 20 | 7042579 | 223.96 | 0.1875 | 1.0946 | 9.6158 | -0.09072 | -0.00567 | -0.068245
2026-07-30T13:12:46.976-04:00 | 100.203 | 1.67 | 21 | 7047579 | 224.08 | 0.2724 | 1.0952 | 9.6123 | -0.09412 | -0.0034 | -0.040931
2026-07-30T13:12:51.984-04:00 | 105.219 | 1.7536 | 22 | 7052579 | 224.16 | 0.3644 | 1.0956 | 9.6101 | -0.09639 | -0.00227 | -0.027153
2026-07-30T13:12:56.975-04:00 | 110.203 | 1.8367 | 23 | 7057579 | 224.44 | 0.4921 | 1.097 | 9.6021 | -0.10432 | -0.00793 | -0.095465
2026-07-30T13:13:01.966-04:00 | 115.203 | 1.92 | 24 | 7062579 | 224.4 | 0.4961 | 1.0968 | 9.6033 | -0.10319 | 0.00113 | 0.01356
2026-07-30T13:13:06.974-04:00 | 120.203 | 2.0034 | 25 | 7067579 | 224.64 | 0.4801 | 1.0979 | 9.5965 | -0.10999 | -0.0068 | -0.0816
2026-07-30T13:13:11.966-04:00 | 125.203 | 2.0867 | 26 | 7072579 | 224.92 | 0.4841 | 1.0993 | 9.5885 | -0.11793 | -0.00794 | -0.09528
2026-07-30T13:13:16.957-04:00 | 130.187 | 2.1698 | 27 | 7077579 | 224.88 | 0.4285 | 1.0991 | 9.5897 | -0.1168 | 0.00113 | 0.013604
2026-07-30T13:13:21.965-04:00 | 135.203 | 2.2534 | 28 | 7082578 | 225.24 | 0.4239 | 1.1009 | 9.5795 | -0.127 | -0.0102 | -0.12201
2026-07-30T13:13:26.956-04:00 | 140.187 | 2.3364 | 29 | 7087579 | 225.36 | 0.4801 | 1.1015 | 9.5761 | -0.13041 | -0.00341 | -0.041051
2026-07-30T13:13:31.948-04:00 | 145.187 | 2.4198 | 30 | 7092579 | 225.48 | 0.5039 | 1.1021 | 9.5727 | -0.13381 | -0.0034 | -0.0408
2026-07-30T13:13:36.956-04:00 | 150.187 | 2.5031 | 31 | 7097579 | 225.52 | 0.4961 | 1.1022 | 9.5715 | -0.13494 | -0.00113 | -0.01356
2026-07-30T13:13:41.947-04:00 | 155.187 | 2.5864 | 32 | 7102579 | 225.8 | 0.4002 | 1.1036 | 9.5636 | -0.14288 | -0.00794 | -0.09528
2026-07-30T13:13:46.954-04:00 | 160.187 | 2.6698 | 33 | 7107579 | 226.08 | 0.3903 | 1.105 | 9.5556 | -0.15082 | -0.00794 | -0.09528
2026-07-30T13:13:51.946-04:00 | 165.187 | 2.7531 | 34 | 7112579 | 226.08 | 0.3903 | 1.105 | 9.5556 | -0.15082 | 0 | 0
2026-07-30T13:13:56.938-04:00 | 170.172 | 2.8362 | 35 | 7117579 | 226.24 | 0.4239 | 1.1058 | 9.5511 | -0.15535 | -0.00453 | -0.054524
2026-07-30T13:14:01.930-04:00 | 175.156 | 2.9193 | 36 | 7122579 | 226.44 | 0.4961 | 1.1067 | 9.5455 | -0.16102 | -0.00567 | -0.068258
2026-07-30T13:14:06.937-04:00 | 180.172 | 3.0029 | 37 | 7127579 | 226.84 | 0.4677 | 1.1087 | 9.5341 | -0.17236 | -0.01134 | -0.13565
2026-07-30T13:14:11.929-04:00 | 185.156 | 3.0859 | 38 | 7132579 | 226.84 | 0.4677 | 1.1087 | 9.5341 | -0.17236 | 0 | 0
2026-07-30T13:14:16.920-04:00 | 190.156 | 3.1693 | 39 | 7137579 | 227.12 | 0.3307 | 1.1101 | 9.5262 | -0.1803 | -0.00794 | -0.09528
2026-07-30T13:14:21.929-04:00 | 195.156 | 3.2526 | 40 | 7142579 | 227.32 | 0.4635 | 1.111 | 9.5205 | -0.18597 | -0.00567 | -0.06804
2026-07-30T13:14:26.919-04:00 | 200.156 | 3.3359 | 41 | 7147579 | 227.32 | 0.4635 | 1.111 | 9.5205 | -0.18597 | 0 | 0
2026-07-30T13:14:31.926-04:00 | 205.156 | 3.4193 | 42 | 7152579 | 227.6 | 0.4881 | 1.1124 | 9.5126 | -0.19391 | -0.00794 | -0.09528
2026-07-30T13:14:36.919-04:00 | 210.156 | 3.5026 | 43 | 7157579 | 228.04 | 0.4507 | 1.1146 | 9.5001 | -0.20638 | -0.01247 | -0.14964
2026-07-30T13:14:41.911-04:00 | 215.14 | 3.5857 | 44 | 7162578 | 227.96 | 0.3366 | 1.1142 | 9.5023 | -0.20412 | 0.00226 | 0.027207
2026-07-30T13:14:46.902-04:00 | 220.14 | 3.669 | 45 | 7167579 | 228.4 | 0.566 | 1.1163 | 9.4899 | -0.21659 | -0.01247 | -0.14964
2026-07-30T13:14:51.910-04:00 | 225.14 | 3.7523 | 46 | 7172579 | 228.4 | 0.4921 | 1.1163 | 9.4899 | -0.21659 | 0 | 0
2026-07-30T13:14:56.901-04:00 | 230.14 | 3.8357 | 47 | 7177579 | 228.72 | 0.4463 | 1.1179 | 9.4808 | -0.22566 | -0.00907 | -0.10884
2026-07-30T13:15:01.908-04:00 | 235.14 | 3.919 | 48 | 7182579 | 228.96 | 0.5266 | 1.1191 | 9.474 | -0.23247 | -0.00681 | -0.08172
2026-07-30T13:15:06.900-04:00 | 240.14 | 4.0023 | 49 | 7187579 | 229.08 | 0.2652 | 1.1196 | 9.4706 | -0.23587 | -0.0034 | -0.0408
2026-07-30T13:15:11.892-04:00 | 245.125 | 4.0854 | 50 | 7192579 | 229.24 | 0.4239 | 1.1204 | 9.4661 | -0.2404 | -0.00453 | -0.054524
2026-07-30T13:15:16.899-04:00 | 250.14 | 4.169 | 51 | 7197579 | 229.36 | 0.476 | 1.121 | 9.4627 | -0.24381 | -0.00341 | -0.040798
2026-07-30T13:15:21.892-04:00 | 255.125 | 4.2521 | 52 | 7202579 | 229.56 | 0.4961 | 1.122 | 9.457 | -0.24948 | -0.00567 | -0.068245
2026-07-30T13:15:26.883-04:00 | 260.125 | 4.3354 | 53 | 7207579 | 229.8 | 0.5625 | 1.1232 | 9.4502 | -0.25628 | -0.0068 | -0.0816
2026-07-30T13:15:31.890-04:00 | 265.125 | 4.4188 | 54 | 7212579 | 230.08 | 0.559 | 1.1245 | 9.4422 | -0.26422 | -0.00794 | -0.09528
2026-07-30T13:15:36.882-04:00 | 270.109 | 4.5018 | 55 | 7217579 | 230.32 | 0.4635 | 1.1257 | 9.4354 | -0.27102 | -0.0068 | -0.081862
2026-07-30T13:15:41.874-04:00 | 275.109 | 4.5851 | 56 | 7222579 | 230.48 | 0.5039 | 1.1265 | 9.4309 | -0.27556 | -0.00454 | -0.05448
2026-07-30T13:15:46.881-04:00 | 280.109 | 4.6685 | 57 | 7227579 | 230.48 | 0.5039 | 1.1265 | 9.4309 | -0.27556 | 0 | 0
2026-07-30T13:15:51.873-04:00 | 285.109 | 4.7518 | 58 | 7232579 | 230.92 | 0.3903 | 1.1286 | 9.4184 | -0.28803 | -0.01247 | -0.14964
2026-07-30T13:15:56.865-04:00 | 290.094 | 4.8349 | 59 | 7237579 | 230.96 | 0.1875 | 1.1288 | 9.4173 | -0.28917 | -0.00114 | -0.013721
2026-07-30T13:16:01.871-04:00 | 295.109 | 4.9185 | 60 | 7242578 | 231.2 | 0.405 | 1.13 | 9.4105 | -0.29597 | -0.0068 | -0.081356
2026-07-30T13:16:06.864-04:00 | 300.094 | 5.0016 | 61 | 7247579 | 231.48 | 0.5 | 1.1314 | 9.4026 | -0.30391 | -0.00794 | -0.095567
2026-07-30T13:16:11.856-04:00 | 305.094 | 5.0849 | 62 | 7252579 | 231.76 | 0.4285 | 1.1327 | 9.3946 | -0.31185 | -0.00794 | -0.09528
2026-07-30T13:16:16.863-04:00 | 310.094 | 5.1682 | 63 | 7257579 | 231.96 | 0.3366 | 1.1337 | 9.3889 | -0.31752 | -0.00567 | -0.06804
2026-07-30T13:16:21.855-04:00 | 315.094 | 5.2516 | 64 | 7262579 | 232.2 | 0.4002 | 1.1349 | 9.3821 | -0.32432 | -0.0068 | -0.0816
2026-07-30T13:16:26.846-04:00 | 320.078 | 5.3346 | 65 | 7267579 | 232.52 | 0.5 | 1.1365 | 9.3731 | -0.33339 | -0.00907 | -0.10919
2026-07-30T13:16:31.854-04:00 | 325.094 | 5.4182 | 66 | 7272579 | 232.72 | 0.4507 | 1.1374 | 9.3674 | -0.33906 | -0.00567 | -0.067823
2026-07-30T13:16:36.845-04:00 | 330.078 | 5.5013 | 67 | 7277579 | 232.8 | 0.4002 | 1.1378 | 9.3651 | -0.34133 | -0.00227 | -0.027327
2026-07-30T13:16:41.837-04:00 | 335.078 | 5.5846 | 68 | 7282579 | 233.24 | 0.5116 | 1.14 | 9.3527 | -0.3538 | -0.01247 | -0.14964
2026-07-30T13:16:46.844-04:00 | 340.078 | 5.668 | 69 | 7287579 | 233.28 | 0.4507 | 1.1402 | 9.3515 | -0.35494 | -0.00114 | -0.01368
2026-07-30T13:16:51.837-04:00 | 345.078 | 5.7513 | 70 | 7292579 | 233.64 | 0.4801 | 1.1419 | 9.3413 | -0.36514 | -0.0102 | -0.1224
2026-07-30T13:16:56.827-04:00 | 350.062 | 5.8344 | 71 | 7297579 | 233.76 | 0.433 | 1.1425 | 9.3379 | -0.36855 | -0.00341 | -0.041051
2026-07-30T13:17:01.835-04:00 | 355.062 | 5.9177 | 72 | 7302579 | 234.12 | 0.3307 | 1.1443 | 9.3277 | -0.37875 | -0.0102 | -0.1224
2026-07-30T13:17:06.826-04:00 | 360.062 | 6.001 | 73 | 7307579 | 234.08 | 0.3953 | 1.1441 | 9.3288 | -0.37762 | 0.00113 | 0.01356
2026-07-30T13:17:11.818-04:00 | 365.047 | 6.0841 | 74 | 7312579 | 234.48 | 0.5039 | 1.146 | 9.3175 | -0.38896 | -0.01134 | -0.13649
2026-07-30T13:17:16.825-04:00 | 370.062 | 6.1677 | 75 | 7317579 | 234.84 | 0.3698 | 1.1478 | 9.3073 | -0.39916 | -0.0102 | -0.12203
2026-07-30T13:17:21.817-04:00 | 375.047 | 6.2508 | 76 | 7322578 | 235.08 | 0.3953 | 1.149 | 9.3005 | -0.40597 | -0.00681 | -0.081966
2026-07-30T13:17:26.809-04:00 | 380.047 | 6.3341 | 77 | 7327579 | 235.28 | 0.4463 | 1.15 | 9.2948 | -0.41164 | -0.00567 | -0.06804
2026-07-30T13:17:31.816-04:00 | 385.047 | 6.4174 | 78 | 7332579 | 235.52 | 0.5 | 1.1511 | 9.288 | -0.41844 | -0.0068 | -0.0816
2026-07-30T13:17:36.809-04:00 | 390.047 | 6.5008 | 79 | 7337579 | 235.76 | 0.433 | 1.1523 | 9.2812 | -0.42525 | -0.00681 | -0.08172
2026-07-30T13:17:41.800-04:00 | 395.031 | 6.5838 | 80 | 7342579 | 236 | 0.2795 | 1.1535 | 9.2744 | -0.43205 | -0.0068 | -0.081862
2026-07-30T13:17:46.807-04:00 | 400.047 | 6.6674 | 81 | 7347579 | 236.2 | 0.405 | 1.1544 | 9.2688 | -0.43772 | -0.00567 | -0.067823
2026-07-30T13:17:51.800-04:00 | 405.031 | 6.7505 | 82 | 7352579 | 236.4 | 0.4921 | 1.1554 | 9.2631 | -0.44339 | -0.00567 | -0.068258
2026-07-30T13:17:56.791-04:00 | 410.031 | 6.8338 | 83 | 7357579 | 236.76 | 0.4285 | 1.1572 | 9.2529 | -0.45359 | -0.0102 | -0.1224
2026-07-30T13:18:01.798-04:00 | 415.031 | 6.9172 | 84 | 7362579 | 237.04 | 0.2073 | 1.1586 | 9.2449 | -0.46153 | -0.00794 | -0.09528
2026-07-30T13:18:06.790-04:00 | 420.031 | 7.0005 | 85 | 7367579 | 237.36 | 0.4801 | 1.1601 | 9.2359 | -0.47061 | -0.00908 | -0.10896
2026-07-30T13:18:11.782-04:00 | 425.015 | 7.0836 | 86 | 7372579 | 237.48 | 0.5 | 1.1607 | 9.2325 | -0.47401 | -0.0034 | -0.040931
2026-07-30T13:18:16.788-04:00 | 430.015 | 7.1669 | 87 | 7377579 | 237.8 | 0.4881 | 1.1623 | 9.2234 | -0.48308 | -0.00907 | -0.10884
2026-07-30T13:18:21.781-04:00 | 435.015 | 7.2502 | 88 | 7382579 | 238.04 | 0.4463 | 1.1634 | 9.2166 | -0.48988 | -0.0068 | -0.0816
2026-07-30T13:18:26.772-04:00 | 440 | 7.3333 | 89 | 7387579 | 238.52 | 0.4961 | 1.1658 | 9.203 | -0.50349 | -0.01361 | -0.16381
2026-07-30T13:18:31.780-04:00 | 445.015 | 7.4169 | 90 | 7392579 | 238.8 | 0.4002 | 1.1672 | 9.195 | -0.51143 | -0.00794 | -0.094995
2026-07-30T13:18:36.772-04:00 | 450 | 7.5 | 91 | 7397579 | 238.92 | 0.4841 | 1.1677 | 9.1916 | -0.51483 | -0.0034 | -0.040923
2026-07-30T13:18:41.764-04:00 | 455 | 7.5833 | 92 | 7402578 | 239.04 | 0.348 | 1.1683 | 9.1882 | -0.51823 | -0.0034 | -0.0408
2026-07-30T13:18:46.771-04:00 | 460 | 7.6667 | 93 | 7407579 | 239.36 | 0.4801 | 1.1699 | 9.1792 | -0.52731 | -0.00908 | -0.10896
2026-07-30T13:18:51.763-04:00 | 465 | 7.75 | 94 | 7412579 | 239.68 | 0.4677 | 1.1715 | 9.1701 | -0.53638 | -0.00907 | -0.10884
2026-07-30T13:18:56.754-04:00 | 469.984 | 7.8331 | 95 | 7417579 | 240.04 | 0.4463 | 1.1732 | 9.1599 | -0.54658 | -0.0102 | -0.12279
2026-07-30T13:19:01.761-04:00 | 475 | 7.9167 | 96 | 7422579 | 240.36 | 0.4801 | 1.1748 | 9.1508 | -0.55565 | -0.00907 | -0.10849
2026-07-30T13:19:06.753-04:00 | 479.984 | 7.9997 | 97 | 7427579 | 240.48 | 0.5 | 1.1754 | 9.1474 | -0.55906 | -0.00341 | -0.041051
2026-07-30T13:19:11.745-04:00 | 484.984 | 8.0831 | 98 | 7432579 | 240.6 | 0.4881 | 1.176 | 9.144 | -0.56246 | -0.0034 | -0.0408
2026-07-30T13:19:16.753-04:00 | 489.984 | 8.1664 | 99 | 7437579 | 241.12 | 0.433 | 1.1785 | 9.1293 | -0.5772 | -0.01474 | -0.17688
2026-07-30T13:19:21.744-04:00 | 494.984 | 8.2497 | 100 | 7442579 | 241.12 | 0.433 | 1.1785 | 9.1293 | -0.5772 | 0 | 0
2026-07-30T13:19:26.736-04:00 | 499.969 | 8.3328 | 101 | 7447579 | 241.56 | 0.5 | 1.1806 | 9.1168 | -0.58967 | -0.01247 | -0.15009
2026-07-30T13:19:31.743-04:00 | 504.984 | 8.4164 | 102 | 7452579 | 241.76 | 0.4285 | 1.1816 | 9.1111 | -0.59534 | -0.00567 | -0.067836
2026-07-30T13:19:36.735-04:00 | 509.969 | 8.4995 | 103 | 7457579 | 242.04 | 0.4463 | 1.183 | 9.1032 | -0.60328 | -0.00794 | -0.095567
2026-07-30T13:19:41.727-04:00 | 514.969 | 8.5828 | 104 | 7462579 | 242.36 | 0.4801 | 1.1846 | 9.0941 | -0.61235 | -0.00907 | -0.10884
2026-07-30T13:19:46.734-04:00 | 519.969 | 8.6661 | 105 | 7467579 | 242.64 | 0.4801 | 1.1859 | 9.0862 | -0.62029 | -0.00794 | -0.09528
2026-07-30T13:19:51.726-04:00 | 524.953 | 8.7492 | 106 | 7472579 | 242.84 | 0.4635 | 1.1869 | 9.0805 | -0.62596 | -0.00567 | -0.068258
2026-07-30T13:19:56.717-04:00 | 529.953 | 8.8325 | 107 | 7477579 | 243.16 | 0.3644 | 1.1885 | 9.0714 | -0.63503 | -0.00907 | -0.10884
2026-07-30T13:20:01.725-04:00 | 534.953 | 8.9159 | 108 | 7482578 | 243.48 | 0.5039 | 1.19 | 9.0624 | -0.64411 | -0.00908 | -0.10896
2026-07-30T13:20:06.716-04:00 | 539.953 | 8.9992 | 109 | 7487579 | 243.68 | 0.4719 | 1.191 | 9.0567 | -0.64978 | -0.00567 | -0.06804
2026-07-30T13:20:11.708-04:00 | 544.937 | 9.0823 | 110 | 7492579 | 244 | 0.4881 | 1.1926 | 9.0476 | -0.65885 | -0.00907 | -0.10919
2026-07-30T13:20:16.716-04:00 | 549.953 | 9.1659 | 111 | 7497579 | 244.28 | 0.4507 | 1.1939 | 9.0397 | -0.66679 | -0.00794 | -0.094976
2026-07-30T13:20:21.707-04:00 | 554.937 | 9.2489 | 112 | 7502579 | 244.64 | 0.4801 | 1.1957 | 9.0295 | -0.67699 | -0.0102 | -0.12279
2026-07-30T13:20:26.699-04:00 | 559.937 | 9.3323 | 113 | 7507579 | 244.92 | 0.2724 | 1.1971 | 9.0215 | -0.68493 | -0.00794 | -0.09528
2026-07-30T13:20:31.706-04:00 | 564.937 | 9.4156 | 114 | 7512579 | 245.2 | 0.4002 | 1.1984 | 9.0136 | -0.69287 | -0.00794 | -0.09528
2026-07-30T13:20:36.698-04:00 | 569.937 | 9.4989 | 115 | 7517579 | 245.44 | 0.4961 | 1.1996 | 9.0068 | -0.69967 | -0.0068 | -0.0816
2026-07-30T13:20:41.690-04:00 | 574.922 | 9.582 | 116 | 7522579 | 245.64 | 0.4801 | 1.2006 | 9.0011 | -0.70534 | -0.00567 | -0.068245
2026-07-30T13:20:46.697-04:00 | 579.937 | 9.6656 | 117 | 7527579 | 245.76 | 0.4285 | 1.2012 | 8.9977 | -0.70874 | -0.0034 | -0.040678
2026-07-30T13:20:51.689-04:00 | 584.922 | 9.7487 | 118 | 7532579 | 246.36 | 0.4801 | 1.2041 | 8.9807 | -0.72575 | -0.01701 | -0.20473
2026-07-30T13:20:56.680-04:00 | 589.922 | 9.832 | 119 | 7537579 | 246.68 | 0.4677 | 1.2057 | 8.9716 | -0.73483 | -0.00908 | -0.10896
2026-07-30T13:21:01.688-04:00 | 594.922 | 9.9154 | 120 | 7542579 | 246.76 | 0.4285 | 1.2061 | 8.9694 | -0.73709 | -0.00226 | -0.02712
2026-07-30T13:21:06.680-04:00 | 599.922 | 9.9987 | 121 | 7547579 | 246.96 | 0.3366 | 1.207 | 8.9637 | -0.74277 | -0.00568 | -0.06816
2026-07-30T13:21:11.671-04:00 | 604.906 | 10.0818 | 122 | 7552579 | 247.2 | 0.4002 | 1.2082 | 8.9569 | -0.74957 | -0.0068 | -0.081862
2026-07-30T13:21:16.679-04:00 | 609.906 | 10.1651 | 123 | 7557579 | 247.52 | 0.4961 | 1.2098 | 8.9478 | -0.75864 | -0.00907 | -0.10884
2026-07-30T13:21:21.671-04:00 | 614.906 | 10.2484 | 124 | 7562578 | 248 | 0.4002 | 1.2121 | 8.9342 | -0.77225 | -0.01361 | -0.16332
2026-07-30T13:21:26.662-04:00 | 619.89 | 10.3315 | 125 | 7567579 | 248.2 | 0.4002 | 1.2131 | 8.9285 | -0.77792 | -0.00567 | -0.068258
2026-07-30T13:21:31.669-04:00 | 624.906 | 10.4151 | 126 | 7572579 | 248.6 | 0.4841 | 1.2151 | 8.9172 | -0.78926 | -0.01134 | -0.13565
2026-07-30T13:21:36.661-04:00 | 629.89 | 10.4982 | 127 | 7577579 | 248.76 | 0.4285 | 1.2158 | 8.9127 | -0.79379 | -0.00453 | -0.054535
2026-07-30T13:21:41.653-04:00 | 634.89 | 10.5815 | 128 | 7582579 | 249.04 | 0.2073 | 1.2172 | 8.9047 | -0.80173 | -0.00794 | -0.09528
2026-07-30T13:21:46.661-04:00 | 639.89 | 10.6648 | 129 | 7587579 | 249.32 | 0.4635 | 1.2186 | 8.8968 | -0.80967 | -0.00794 | -0.09528
2026-07-30T13:21:51.652-04:00 | 644.89 | 10.7482 | 130 | 7592579 | 249.52 | 0.4961 | 1.2195 | 8.8911 | -0.81534 | -0.00567 | -0.06804
2026-07-30T13:21:56.643-04:00 | 649.875 | 10.8313 | 131 | 7597579 | 249.88 | 0.4285 | 1.2213 | 8.8809 | -0.82555 | -0.01021 | -0.12289
2026-07-30T13:22:01.651-04:00 | 654.89 | 10.9148 | 132 | 7602579 | 250.04 | 0.1976 | 1.2221 | 8.8764 | -0.83008 | -0.00453 | -0.054197
2026-07-30T13:22:06.643-04:00 | 659.875 | 10.9979 | 133 | 7607579 | 250.64 | 0.4801 | 1.225 | 8.8594 | -0.84709 | -0.01701 | -0.20473
2026-07-30T13:22:11.635-04:00 | 664.875 | 11.0813 | 134 | 7612579 | 250.84 | 0.3698 | 1.226 | 8.8537 | -0.85276 | -0.00567 | -0.06804
2026-07-30T13:22:16.643-04:00 | 669.875 | 11.1646 | 135 | 7617579 | 251 | 0.2795 | 1.2268 | 8.8492 | -0.8573 | -0.00454 | -0.05448
2026-07-30T13:22:21.634-04:00 | 674.875 | 11.2479 | 136 | 7622579 | 251.2 | 0.405 | 1.2278 | 8.8435 | -0.86297 | -0.00567 | -0.06804
2026-07-30T13:22:26.625-04:00 | 679.859 | 11.331 | 137 | 7627579 | 251.64 | 0.4841 | 1.2299 | 8.831 | -0.87544 | -0.01247 | -0.15012
2026-07-30T13:22:31.633-04:00 | 684.859 | 11.4143 | 138 | 7632579 | 251.96 | 0.3423 | 1.2315 | 8.822 | -0.88451 | -0.00907 | -0.10884
2026-07-30T13:22:36.625-04:00 | 689.859 | 11.4976 | 139 | 7637579 | 252.28 | 0.4463 | 1.233 | 8.8129 | -0.89359 | -0.00908 | -0.10896
2026-07-30T13:22:41.616-04:00 | 694.844 | 11.5807 | 140 | 7642578 | 252.8 | 0.4002 | 1.2356 | 8.7981 | -0.90833 | -0.01474 | -0.17741
2026-07-30T13:22:46.624-04:00 | 699.859 | 11.6643 | 141 | 7647579 | 252.72 | 0.4507 | 1.2352 | 8.8004 | -0.90606 | 0.00227 | 0.027159
2026-07-30T13:22:51.616-04:00 | 704.844 | 11.7474 | 142 | 7652579 | 253.04 | 0.348 | 1.2368 | 8.7913 | -0.91513 | -0.00907 | -0.10917
2026-07-30T13:22:56.608-04:00 | 709.844 | 11.8307 | 143 | 7657579 | 253.44 | 0.4921 | 1.2387 | 8.78 | -0.92647 | -0.01134 | -0.13608
2026-07-30T13:23:01.615-04:00 | 714.844 | 11.9141 | 144 | 7662579 | 253.56 | 0.5 | 1.2393 | 8.7766 | -0.92987 | -0.0034 | -0.0408
2026-07-30T13:23:06.606-04:00 | 719.844 | 11.9974 | 145 | 7667579 | 254.08 | 0.559 | 1.2418 | 8.7619 | -0.94462 | -0.01475 | -0.177
2026-07-30T13:23:11.598-04:00 | 724.828 | 12.0805 | 146 | 7672579 | 254.32 | 0.4593 | 1.243 | 8.7551 | -0.95142 | -0.0068 | -0.081862
2026-07-30T13:23:16.605-04:00 | 729.844 | 12.1641 | 147 | 7677579 | 254.64 | 0.4841 | 1.2446 | 8.746 | -0.96049 | -0.00907 | -0.10849
2026-07-30T13:23:21.597-04:00 | 734.828 | 12.2471 | 148 | 7682579 | 255.08 | 0.3903 | 1.2467 | 8.7335 | -0.97297 | -0.01248 | -0.15024
2026-07-30T13:23:26.604-04:00 | 739.844 | 12.3307 | 149 | 7687579 | 255.2 | 0.4002 | 1.2473 | 8.7301 | -0.97637 | -0.0034 | -0.04067
2026-07-30T13:23:31.596-04:00 | 744.828 | 12.4138 | 150 | 7692579 | 255.48 | 0.5762 | 1.2487 | 8.7222 | -0.98431 | -0.00794 | -0.095586
2026-07-30T13:23:36.588-04:00 | 749.828 | 12.4971 | 151 | 7697580 | 255.92 | 0.4841 | 1.2508 | 8.7097 | -0.99678 | -0.01247 | -0.14964
2026-07-30T13:23:41.580-04:00 | 754.812 | 12.5802 | 152 | 7702580 | 256.16 | 0.3644 | 1.252 | 8.7029 | -1.0036 | -0.0068 | -0.081862
2026-07-30T13:23:46.587-04:00 | 759.828 | 12.6638 | 153 | 7707580 | 256.68 | 0.476 | 1.2545 | 8.6881 | -1.0183 | -0.01475 | -0.17644
2026-07-30T13:23:51.579-04:00 | 764.812 | 12.7469 | 154 | 7712580 | 256.76 | 0.4239 | 1.2549 | 8.6859 | -1.0206 | -0.00226 | -0.027207
2026-07-30T13:23:56.586-04:00 | 769.828 | 12.8305 | 155 | 7717580 | 257.32 | 0.4593 | 1.2577 | 8.67 | -1.0365 | -0.01588 | -0.18995
2026-07-30T13:24:01.578-04:00 | 774.812 | 12.9135 | 156 | 7722579 | 257.6 | 0.559 | 1.259 | 8.6621 | -1.0444 | -0.00794 | -0.095586
2026-07-30T13:24:06.569-04:00 | 779.797 | 12.9966 | 157 | 7727580 | 258.2 | 0.3853 | 1.262 | 8.645 | -1.0614 | -0.01701 | -0.20473
2026-07-30T13:24:11.576-04:00 | 784.812 | 13.0802 | 158 | 7732580 | 258.56 | 0.5 | 1.2637 | 8.6349 | -1.0716 | -0.0102 | -0.12203
2026-07-30T13:24:16.569-04:00 | 789.797 | 13.1633 | 159 | 7737580 | 258.92 | 0.3853 | 1.2655 | 8.6246 | -1.0818 | -0.01021 | -0.12289
2026-07-30T13:24:21.560-04:00 | 794.797 | 13.2466 | 160 | 7742580 | 259.28 | 0.4507 | 1.2673 | 8.6144 | -1.092 | -0.01021 | -0.12252
2026-07-30T13:24:26.567-04:00 | 799.797 | 13.3299 | 161 | 7747580 | 259.84 | 0.375 | 1.27 | 8.5986 | -1.1079 | -0.01587 | -0.19044
2026-07-30T13:24:31.560-04:00 | 804.797 | 13.4133 | 162 | 7752580 | 260.12 | 0.3307 | 1.2714 | 8.5906 | -1.1159 | -0.00794 | -0.09528
2026-07-30T13:24:36.552-04:00 | 809.781 | 13.4963 | 163 | 7757580 | 260.4 | 0.4921 | 1.2727 | 8.5827 | -1.1238 | -0.00794 | -0.095586
2026-07-30T13:24:41.558-04:00 | 814.797 | 13.5799 | 164 | 7762580 | 261.04 | 0.3423 | 1.2759 | 8.5645 | -1.1419 | -0.01814 | -0.21699
2026-07-30T13:24:46.551-04:00 | 819.781 | 13.663 | 165 | 7767580 | 261.44 | 0.4921 | 1.2778 | 8.5532 | -1.1533 | -0.01134 | -0.13652
2026-07-30T13:24:51.542-04:00 | 824.781 | 13.7463 | 166 | 7772580 | 262 | 0.2795 | 1.2805 | 8.5373 | -1.1691 | -0.01588 | -0.19056
2026-07-30T13:24:56.549-04:00 | 829.781 | 13.8297 | 167 | 7777580 | 262.4 | 0.4921 | 1.2825 | 8.526 | -1.1805 | -0.01134 | -0.13608
2026-07-30T13:25:01.541-04:00 | 834.781 | 13.913 | 168 | 7782580 | 262.92 | 0.3853 | 1.285 | 8.5112 | -1.1952 | -0.01474 | -0.17688
2026-07-30T13:25:06.533-04:00 | 839.765 | 13.9961 | 169 | 7787580 | 263.36 | 0.4841 | 1.2872 | 8.4988 | -1.2077 | -0.01247 | -0.15012
2026-07-30T13:25:11.539-04:00 | 844.781 | 14.0797 | 170 | 7792580 | 263.88 | 0.3187 | 1.2897 | 8.484 | -1.2225 | -0.01475 | -0.17644
2026-07-30T13:25:16.532-04:00 | 849.765 | 14.1627 | 171 | 7797580 | 264.4 | 0.4921 | 1.2923 | 8.4693 | -1.2372 | -0.01474 | -0.17745
2026-07-30T13:25:21.524-04:00 | 854.765 | 14.2461 | 172 | 7802579 | 264.92 | 0.375 | 1.2948 | 8.4545 | -1.2519 | -0.01474 | -0.17688
2026-07-30T13:25:26.531-04:00 | 859.765 | 14.3294 | 173 | 7807580 | 265.4 | 0.4921 | 1.2972 | 8.4409 | -1.2655 | -0.01361 | -0.16332
2026-07-30T13:25:31.522-04:00 | 864.75 | 14.4125 | 174 | 7812580 | 266 | 0.4921 | 1.3001 | 8.4239 | -1.2825 | -0.01701 | -0.20473
2026-07-30T13:25:36.515-04:00 | 869.75 | 14.4958 | 175 | 7817580 | 266.36 | 0.4921 | 1.3019 | 8.4137 | -1.2928 | -0.0102 | -0.1224
2026-07-30T13:25:41.522-04:00 | 874.75 | 14.5792 | 176 | 7822580 | 267.2 | 0.3953 | 1.306 | 8.3899 | -1.3166 | -0.02382 | -0.28584
2026-07-30T13:25:46.513-04:00 | 879.75 | 14.6625 | 177 | 7827580 | 267.76 | 0.6495 | 1.3087 | 8.374 | -1.3324 | -0.01587 | -0.19044
2026-07-30T13:25:51.506-04:00 | 884.734 | 14.7456 | 178 | 7832580 | 268.28 | 0.4507 | 1.3112 | 8.3593 | -1.3472 | -0.01474 | -0.17745
2026-07-30T13:25:56.512-04:00 | 889.75 | 14.8292 | 179 | 7837580 | 268.84 | 0.3644 | 1.314 | 8.3434 | -1.3631 | -0.01588 | -0.18995
2026-07-30T13:26:01.504-04:00 | 894.734 | 14.9122 | 180 | 7842580 | 269.48 | 0.4921 | 1.3171 | 8.3253 | -1.3812 | -0.01815 | -0.2185
2026-07-30T13:26:06.496-04:00 | 899.734 | 14.9956 | 181 | 7847580 | 270.12 | 0.3307 | 1.3202 | 8.3071 | -1.3994 | -0.01814 | -0.21768
2026-07-30T13:26:11.504-04:00 | 904.734 | 15.0789 | 182 | 7852580 | 270.56 | 0.5 | 1.3224 | 8.2947 | -1.4118 | -0.01247 | -0.14964
2026-07-30T13:26:16.495-04:00 | 909.734 | 15.1622 | 183 | 7857580 | 271.16 | 0.3644 | 1.3253 | 8.2776 | -1.4288 | -0.01701 | -0.20412
2026-07-30T13:26:21.488-04:00 | 914.719 | 15.2453 | 184 | 7862580 | 271.8 | 0.405 | 1.3284 | 8.2595 | -1.447 | -0.01815 | -0.21846
2026-07-30T13:26:26.494-04:00 | 919.734 | 15.3289 | 185 | 7867580 | 272.44 | 0.4921 | 1.3316 | 8.2414 | -1.4651 | -0.01814 | -0.21703
2026-07-30T13:26:31.487-04:00 | 924.719 | 15.412 | 186 | 7872580 | 273.28 | 0.4419 | 1.3357 | 8.2175 | -1.4889 | -0.02382 | -0.2867
2026-07-30T13:26:36.478-04:00 | 929.719 | 15.4953 | 187 | 7877580 | 273.8 | 0.4146 | 1.3382 | 8.2028 | -1.5037 | -0.01474 | -0.17688
2026-07-30T13:26:41.485-04:00 | 934.719 | 15.5786 | 188 | 7882579 | 274.48 | 0.5 | 1.3415 | 8.1835 | -1.523 | -0.01927 | -0.23124
2026-07-30T13:26:46.477-04:00 | 939.719 | 15.662 | 189 | 7887580 | 275.16 | 0.3536 | 1.3449 | 8.1642 | -1.5422 | -0.01928 | -0.23136
2026-07-30T13:26:51.469-04:00 | 944.703 | 15.745 | 190 | 7892580 | 275.8 | 0.5 | 1.348 | 8.1461 | -1.5604 | -0.01815 | -0.2185
2026-07-30T13:26:56.476-04:00 | 949.703 | 15.8284 | 191 | 7897580 | 276.32 | 0.4593 | 1.3505 | 8.1313 | -1.5751 | -0.01474 | -0.17688
2026-07-30T13:27:01.468-04:00 | 954.703 | 15.9117 | 192 | 7902580 | 277.08 | 0.3953 | 1.3543 | 8.1098 | -1.5967 | -0.02154 | -0.25848
2026-07-30T13:27:06.460-04:00 | 959.687 | 15.9948 | 193 | 7907580 | 277.56 | 0.4921 | 1.3566 | 8.0962 | -1.6103 | -0.01361 | -0.16384
2026-07-30T13:27:11.467-04:00 | 964.703 | 16.0784 | 194 | 7912580 | 278.24 | 0.5154 | 1.3599 | 8.0769 | -1.6296 | -0.01928 | -0.23062
2026-07-30T13:27:16.459-04:00 | 969.687 | 16.1614 | 195 | 7917580 | 279.08 | 0.3953 | 1.364 | 8.0531 | -1.6534 | -0.02381 | -0.28664
2026-07-30T13:27:21.451-04:00 | 974.687 | 16.2448 | 196 | 7922580 | 279.68 | 0.4677 | 1.367 | 8.0361 | -1.6704 | -0.01701 | -0.20412
2026-07-30T13:27:26.458-04:00 | 979.687 | 16.3281 | 197 | 7927580 | 280.28 | 0.4507 | 1.3699 | 8.0191 | -1.6874 | -0.01702 | -0.20424
2026-07-30T13:27:31.450-04:00 | 984.687 | 16.4114 | 198 | 7932580 | 280.96 | 0.3536 | 1.3732 | 7.9998 | -1.7067 | -0.01927 | -0.23124
2026-07-30T13:27:36.441-04:00 | 989.672 | 16.4945 | 199 | 7937580 | 281.64 | 0.4677 | 1.3765 | 7.9805 | -1.7259 | -0.01928 | -0.23206
2026-07-30T13:27:41.449-04:00 | 994.687 | 16.5781 | 200 | 7942580 | 282.28 | 0.4507 | 1.3797 | 7.9624 | -1.7441 | -0.01814 | -0.21703
2026-07-30T13:27:46.440-04:00 | 999.672 | 16.6612 | 201 | 7947580 | 282.92 | 0.476 | 1.3828 | 7.9442 | -1.7622 | -0.01815 | -0.21846
2026-07-30T13:27:51.432-04:00 | 1004.672 | 16.7445 | 202 | 7952580 | 283.56 | 0.5 | 1.3859 | 7.9261 | -1.7804 | -0.01814 | -0.21768
2026-07-30T13:27:56.439-04:00 | 1009.672 | 16.8279 | 203 | 7957580 | 284.24 | 0.433 | 1.3892 | 7.9068 | -1.7996 | -0.01928 | -0.23136
2026-07-30T13:28:01.431-04:00 | 1014.672 | 16.9112 | 204 | 7962579 | 284.84 | 0.375 | 1.3922 | 7.8898 | -1.8167 | -0.01701 | -0.20412
2026-07-30T13:28:06.423-04:00 | 1019.656 | 16.9943 | 205 | 7967580 | 285.36 | 0.4921 | 1.3947 | 7.8751 | -1.8314 | -0.01474 | -0.17745
2026-07-30T13:28:11.430-04:00 | 1024.672 | 17.0779 | 206 | 7972580 | 286.04 | 0.3423 | 1.398 | 7.8558 | -1.8507 | -0.01928 | -0.23062
2026-07-30T13:28:16.422-04:00 | 1029.656 | 17.1609 | 207 | 7977580 | 286.6 | 0.4841 | 1.4008 | 7.8399 | -1.8666 | -0.01588 | -0.19117
2026-07-30T13:28:21.413-04:00 | 1034.64 | 17.244 | 208 | 7982580 | 287.12 | 0.3307 | 1.4033 | 7.8252 | -1.8813 | -0.01474 | -0.17745
2026-07-30T13:28:26.421-04:00 | 1039.656 | 17.3276 | 209 | 7987580 | 287.8 | 0.4921 | 1.4066 | 7.8059 | -1.9006 | -0.01928 | -0.23062
2026-07-30T13:28:31.413-04:00 | 1044.64 | 17.4107 | 210 | 7992580 | 288.24 | 0.433 | 1.4088 | 7.7934 | -1.913 | -0.01247 | -0.15012
2026-07-30T13:28:36.405-04:00 | 1049.64 | 17.494 | 211 | 7997580 | 288.8 | 0.5 | 1.4115 | 7.7775 | -1.9289 | -0.01588 | -0.19056
2026-07-30T13:28:41.412-04:00 | 1054.64 | 17.5773 | 212 | 8002580 | 289.56 | 0.5 | 1.4152 | 7.756 | -1.9505 | -0.02154 | -0.25848
2026-07-30T13:28:46.404-04:00 | 1059.64 | 17.6607 | 213 | 8007580 | 290 | 0.3953 | 1.4174 | 7.7435 | -1.9629 | -0.01248 | -0.14976
2026-07-30T13:28:51.395-04:00 | 1064.625 | 17.7437 | 214 | 8012580 | 290.56 | 0.5 | 1.4201 | 7.7276 | -1.9788 | -0.01587 | -0.19101
2026-07-30T13:28:56.403-04:00 | 1069.64 | 17.8273 | 215 | 8017580 | 291.2 | 0.3953 | 1.4233 | 7.7095 | -1.997 | -0.01815 | -0.21715
2026-07-30T13:29:01.395-04:00 | 1074.625 | 17.9104 | 216 | 8022580 | 291.68 | 0.4677 | 1.4256 | 7.6959 | -2.0106 | -0.0136 | -0.16369
2026-07-30T13:29:06.386-04:00 | 1079.625 | 17.9937 | 217 | 8027580 | 292.24 | 0.5154 | 1.4283 | 7.68 | -2.0265 | -0.01588 | -0.19056
2026-07-30T13:29:11.394-04:00 | 1084.625 | 18.0771 | 218 | 8032580 | 292.8 | 0.405 | 1.4311 | 7.6641 | -2.0423 | -0.01588 | -0.19056
2026-07-30T13:29:16.385-04:00 | 1089.625 | 18.1604 | 219 | 8037580 | 293.24 | 0.433 | 1.4332 | 7.6517 | -2.0548 | -0.01247 | -0.14964
2026-07-30T13:29:21.376-04:00 | 1094.609 | 18.2435 | 220 | 8042579 | 293.76 | 0.4146 | 1.4358 | 7.6369 | -2.0695 | -0.01474 | -0.17745
2026-07-30T13:29:26.384-04:00 | 1099.625 | 18.3271 | 221 | 8047580 | 294.32 | 0.4593 | 1.4385 | 7.6211 | -2.0854 | -0.01588 | -0.18995
2026-07-30T13:29:31.376-04:00 | 1104.609 | 18.4101 | 222 | 8052580 | 294.88 | 0.3187 | 1.4413 | 7.6052 | -2.1013 | -0.01587 | -0.19105
2026-07-30T13:29:36.367-04:00 | 1109.594 | 18.4932 | 223 | 8057580 | 295.2 | 0.3953 | 1.4428 | 7.5961 | -2.1104 | -0.00908 | -0.10929
2026-07-30T13:29:41.375-04:00 | 1114.609 | 18.5768 | 224 | 8062580 | 295.84 | 0.3644 | 1.4459 | 7.578 | -2.1285 | -0.01814 | -0.21703
2026-07-30T13:29:46.367-04:00 | 1119.594 | 18.6599 | 225 | 8067580 | 296.28 | 0.4507 | 1.4481 | 7.5655 | -2.141 | -0.01247 | -0.15009
2026-07-30T13:29:51.358-04:00 | 1124.594 | 18.7432 | 226 | 8072580 | 296.88 | 0.433 | 1.451 | 7.5485 | -2.158 | -0.01701 | -0.20412
2026-07-30T13:29:56.366-04:00 | 1129.594 | 18.8266 | 227 | 8077580 | 297.4 | 0.4921 | 1.4536 | 7.5337 | -2.1727 | -0.01475 | -0.177
2026-07-30T13:30:01.358-04:00 | 1134.594 | 18.9099 | 228 | 8082580 | 297.96 | 0.4507 | 1.4563 | 7.5179 | -2.1886 | -0.01587 | -0.19044
2026-07-30T13:30:06.349-04:00 | 1139.578 | 18.993 | 229 | 8087580 | 298.52 | 0.5 | 1.459 | 7.502 | -2.2045 | -0.01588 | -0.19117
2026-07-30T13:30:11.357-04:00 | 1144.594 | 19.0766 | 230 | 8092580 | 299.04 | 0.3307 | 1.4616 | 7.4872 | -2.2192 | -0.01474 | -0.17632
2026-07-30T13:30:16.348-04:00 | 1149.578 | 19.1596 | 231 | 8097580 | 299.52 | 0.5 | 1.4639 | 7.4736 | -2.2328 | -0.01361 | -0.16384
2026-07-30T13:30:21.340-04:00 | 1154.578 | 19.243 | 232 | 8102580 | 299.92 | 0.25 | 1.4659 | 7.4623 | -2.2442 | -0.01134 | -0.13608
2026-07-30T13:30:26.348-04:00 | 1159.578 | 19.3263 | 233 | 8107580 | 300.24 | 0.433 | 1.4674 | 7.4532 | -2.2532 | -0.00907 | -0.10884
2026-07-30T13:30:31.339-04:00 | 1164.578 | 19.4096 | 234 | 8112580 | 300.72 | 0.606 | 1.4698 | 7.4396 | -2.2669 | -0.01361 | -0.16332
2026-07-30T13:30:36.331-04:00 | 1169.562 | 19.4927 | 235 | 8117580 | 301.24 | 0.5154 | 1.4723 | 7.4249 | -2.2816 | -0.01474 | -0.17745
2026-07-30T13:30:41.338-04:00 | 1174.578 | 19.5763 | 236 | 8122579 | 301.68 | 0.4677 | 1.4745 | 7.4124 | -2.2941 | -0.01247 | -0.14916
2026-07-30T13:30:46.330-04:00 | 1179.562 | 19.6594 | 237 | 8127580 | 302.16 | 0.4677 | 1.4768 | 7.3988 | -2.3077 | -0.01361 | -0.16384
2026-07-30T13:30:51.321-04:00 | 1184.562 | 19.7427 | 238 | 8132580 | 302.44 | 0.5 | 1.4782 | 7.3909 | -2.3156 | -0.00794 | -0.09528
2026-07-30T13:30:56.329-04:00 | 1189.562 | 19.826 | 239 | 8137580 | 302.88 | 0.4239 | 1.4804 | 7.3784 | -2.3281 | -0.01247 | -0.14964
2026-07-30T13:31:01.321-04:00 | 1194.562 | 19.9094 | 240 | 8142580 | 303.2 | 0.3853 | 1.4819 | 7.3693 | -2.3372 | -0.00908 | -0.10896
2026-07-30T13:31:06.312-04:00 | 1199.547 | 19.9924 | 241 | 8147580 | 303.56 | 0.5 | 1.4837 | 7.3591 | -2.3474 | -0.0102 | -0.12277
2026-07-30T13:31:11.320-04:00 | 1204.547 | 20.0758 | 242 | 8152580 | 303.96 | 0.3423 | 1.4856 | 7.3478 | -2.3587 | -0.01134 | -0.13608
2026-07-30T13:31:16.312-04:00 | 1209.547 | 20.1591 | 243 | 8157580 | 304.2 | 0.3853 | 1.4868 | 7.341 | -2.3655 | -0.00681 | -0.08172
2026-07-30T13:31:21.303-04:00 | 1214.531 | 20.2422 | 244 | 8162580 | 304.84 | 0.4677 | 1.4899 | 7.3228 | -2.3837 | -0.01814 | -0.21838
2026-07-30T13:31:26.311-04:00 | 1219.547 | 20.3258 | 245 | 8167580 | 305 | 0.4921 | 1.4907 | 7.3183 | -2.3882 | -0.00454 | -0.054306
2026-07-30T13:31:31.302-04:00 | 1224.531 | 20.4088 | 246 | 8172580 | 305.32 | 0.4677 | 1.4923 | 7.3092 | -2.3973 | -0.00907 | -0.10919
2026-07-30T13:31:36.295-04:00 | 1229.531 | 20.4922 | 247 | 8177580 | 305.8 | 0.405 | 1.4946 | 7.2956 | -2.4109 | -0.01361 | -0.16332
2026-07-30T13:31:41.302-04:00 | 1234.531 | 20.5755 | 248 | 8182580 | 306.2 | 0.4841 | 1.4966 | 7.2843 | -2.4222 | -0.01134 | -0.13608
2026-07-30T13:31:46.293-04:00 | 1239.531 | 20.6588 | 249 | 8187580 | 306.32 | 0.4593 | 1.4972 | 7.2809 | -2.4256 | -0.0034 | -0.0408
2026-07-30T13:31:51.285-04:00 | 1244.515 | 20.7419 | 250 | 8192580 | 306.84 | 0.4677 | 1.4997 | 7.2661 | -2.4404 | -0.01474 | -0.17745
2026-07-30T13:31:56.292-04:00 | 1249.531 | 20.8255 | 251 | 8197580 | 307.16 | 0.3644 | 1.5013 | 7.257 | -2.4494 | -0.00907 | -0.10849
2026-07-30T13:32:01.284-04:00 | 1254.515 | 20.9086 | 252 | 8202579 | 307.48 | 0.4921 | 1.5028 | 7.248 | -2.4585 | -0.00907 | -0.10919
2026-07-30T13:32:06.276-04:00 | 1259.515 | 20.9919 | 253 | 8207580 | 307.72 | 0.5303 | 1.504 | 7.2412 | -2.4653 | -0.00681 | -0.08172
2026-07-30T13:32:11.283-04:00 | 1264.515 | 21.0752 | 254 | 8212580 | 308.2 | 0.3853 | 1.5064 | 7.2275 | -2.4789 | -0.01361 | -0.16332
2026-07-30T13:32:16.276-04:00 | 1269.515 | 21.1586 | 255 | 8217580 | 308.56 | 0.5 | 1.5081 | 7.2173 | -2.4891 | -0.0102 | -0.1224
2026-07-30T13:32:21.282-04:00 | 1274.515 | 21.2419 | 256 | 8222580 | 309 | 0.2795 | 1.5103 | 7.2049 | -2.5016 | -0.01248 | -0.14976
2026-07-30T13:32:26.275-04:00 | 1279.515 | 21.3252 | 257 | 8227580 | 309.2 | 0.3853 | 1.5112 | 7.1992 | -2.5073 | -0.00567 | -0.06804
2026-07-30T13:32:31.266-04:00 | 1284.5 | 21.4083 | 258 | 8232580 | 309.72 | 0.4507 | 1.5138 | 7.1845 | -2.522 | -0.01474 | -0.17741
2026-07-30T13:32:36.257-04:00 | 1289.484 | 21.4914 | 259 | 8237580 | 309.92 | 0.3853 | 1.5148 | 7.1788 | -2.5277 | -0.00567 | -0.068258
2026-07-30T13:32:41.266-04:00 | 1294.5 | 21.575 | 260 | 8242580 | 310.4 | 0.4921 | 1.5171 | 7.1652 | -2.5413 | -0.01361 | -0.1628
2026-07-30T13:32:46.257-04:00 | 1299.484 | 21.6581 | 261 | 8247580 | 310.84 | 0.4677 | 1.5193 | 7.1527 | -2.5538 | -0.01247 | -0.15012
2026-07-30T13:32:51.264-04:00 | 1304.5 | 21.7417 | 262 | 8252580 | 310.96 | 0.3536 | 1.5198 | 7.1493 | -2.5572 | -0.0034 | -0.04067
2026-07-30T13:32:56.256-04:00 | 1309.484 | 21.8247 | 263 | 8257580 | 311.4 | 0.5 | 1.522 | 7.1368 | -2.5696 | -0.01248 | -0.15024
2026-07-30T13:33:01.247-04:00 | 1314.484 | 21.9081 | 264 | 8262580 | 311.84 | 0.375 | 1.5241 | 7.1244 | -2.5821 | -0.01247 | -0.14964
2026-07-30T13:33:06.255-04:00 | 1319.484 | 21.9914 | 265 | 8267580 | 312.08 | 0.2795 | 1.5253 | 7.1176 | -2.5889 | -0.0068 | -0.0816
2026-07-30T13:33:11.247-04:00 | 1324.484 | 22.0747 | 266 | 8272580 | 312.48 | 0.4921 | 1.5273 | 7.1062 | -2.6002 | -0.01134 | -0.13608
2026-07-30T13:33:16.238-04:00 | 1329.469 | 22.1578 | 267 | 8277580 | 312.8 | 0.4921 | 1.5288 | 7.0972 | -2.6093 | -0.00907 | -0.10917
2026-07-30T13:33:21.230-04:00 | 1334.469 | 22.2411 | 268 | 8282579 | 313.08 | 0.405 | 1.5302 | 7.0892 | -2.6173 | -0.00794 | -0.09528
2026-07-30T13:33:26.237-04:00 | 1339.469 | 22.3245 | 269 | 8287580 | 313.4 | 0.4921 | 1.5318 | 7.0801 | -2.6263 | -0.00907 | -0.10884
2026-07-30T13:33:31.229-04:00 | 1344.469 | 22.4078 | 270 | 8292580 | 313.88 | 0.3187 | 1.5341 | 7.0665 | -2.6399 | -0.01361 | -0.16332
2026-07-30T13:33:36.236-04:00 | 1349.469 | 22.4911 | 271 | 8297580 | 314.04 | 0.4419 | 1.5349 | 7.062 | -2.6445 | -0.00454 | -0.05448
2026-07-30T13:33:41.229-04:00 | 1354.469 | 22.5745 | 272 | 8302580 | 314.28 | 0.4507 | 1.5361 | 7.0552 | -2.6513 | -0.0068 | -0.0816
2026-07-30T13:33:46.220-04:00 | 1359.453 | 22.6575 | 273 | 8307580 | 314.68 | 0.4677 | 1.538 | 7.0438 | -2.6626 | -0.01134 | -0.13652
2026-07-30T13:33:51.227-04:00 | 1364.453 | 22.7409 | 274 | 8312580 | 315.12 | 0.3307 | 1.5402 | 7.0314 | -2.6751 | -0.01248 | -0.14976
2026-07-30T13:33:56.219-04:00 | 1369.453 | 22.8242 | 275 | 8317580 | 315.12 | 0.3307 | 1.5402 | 7.0314 | -2.6751 | 0 | 0
2026-07-30T13:34:01.211-04:00 | 1374.437 | 22.9073 | 276 | 8322580 | 315.48 | 0.4921 | 1.5419 | 7.0212 | -2.6853 | -0.0102 | -0.12279
2026-07-30T13:34:06.218-04:00 | 1379.453 | 22.9909 | 277 | 8327580 | 315.8 | 0.5 | 1.5435 | 7.0121 | -2.6944 | -0.00907 | -0.10849
2026-07-30T13:34:11.210-04:00 | 1384.437 | 23.0739 | 278 | 8332580 | 316.04 | 0.3307 | 1.5447 | 7.0053 | -2.7012 | -0.00681 | -0.081982
2026-07-30T13:34:16.202-04:00 | 1389.437 | 23.1573 | 279 | 8337580 | 316.32 | 0.4677 | 1.546 | 6.9973 | -2.7091 | -0.00794 | -0.09528
2026-07-30T13:34:21.209-04:00 | 1394.437 | 23.2406 | 280 | 8342580 | 316.8 | 0.4921 | 1.5484 | 6.9837 | -2.7227 | -0.0136 | -0.1632
2026-07-30T13:34:26.201-04:00 | 1399.437 | 23.3239 | 281 | 8347580 | 316.96 | 0.4593 | 1.5492 | 6.9792 | -2.7273 | -0.00454 | -0.05448
2026-07-30T13:34:31.192-04:00 | 1404.422 | 23.407 | 282 | 8352580 | 317.08 | 0.405 | 1.5498 | 6.9758 | -2.7307 | -0.0034 | -0.040923
2026-07-30T13:34:36.200-04:00 | 1409.437 | 23.4906 | 283 | 8357580 | 317.44 | 0.4921 | 1.5515 | 6.9656 | -2.7409 | -0.01021 | -0.12215
2026-07-30T13:34:41.191-04:00 | 1414.422 | 23.5737 | 284 | 8362579 | 317.68 | 0.4677 | 1.5527 | 6.9588 | -2.7477 | -0.0068 | -0.081846
2026-07-30T13:34:46.183-04:00 | 1419.422 | 23.657 | 285 | 8367580 | 317.96 | 0.4507 | 1.5541 | 6.9509 | -2.7556 | -0.00794 | -0.09528
2026-07-30T13:34:51.191-04:00 | 1424.422 | 23.7404 | 286 | 8372580 | 318.12 | 0.3307 | 1.5548 | 6.9463 | -2.7601 | -0.00454 | -0.05448
2026-07-30T13:34:56.182-04:00 | 1429.422 | 23.8237 | 287 | 8377580 | 318.4 | 0.4921 | 1.5562 | 6.9384 | -2.7681 | -0.00793 | -0.09516
2026-07-30T13:35:01.174-04:00 | 1434.406 | 23.9068 | 288 | 8382580 | 318.76 | 0.5078 | 1.558 | 6.9282 | -2.7783 | -0.01021 | -0.12291
2026-07-30T13:35:06.181-04:00 | 1439.422 | 23.9904 | 289 | 8387580 | 319.04 | 0.5229 | 1.5593 | 6.9202 | -2.7862 | -0.00794 | -0.094976
2026-07-30T13:35:11.173-04:00 | 1444.406 | 24.0734 | 290 | 8392580 | 319.16 | 0.4593 | 1.5599 | 6.9168 | -2.7896 | -0.0034 | -0.040931
2026-07-30T13:35:16.165-04:00 | 1449.406 | 24.1568 | 291 | 8397580 | 319.52 | 0.5078 | 1.5617 | 6.9066 | -2.7998 | -0.01021 | -0.12252
2026-07-30T13:35:21.172-04:00 | 1454.406 | 24.2401 | 292 | 8402580 | 319.84 | 0.3644 | 1.5632 | 6.8976 | -2.8089 | -0.00907 | -0.10884
2026-07-30T13:35:26.164-04:00 | 1459.39 | 24.3232 | 293 | 8407579 | 320 | 0 | 1.564 | 6.893 | -2.8134 | -0.00453 | -0.054535
2026-07-30T13:35:31.156-04:00 | 1464.39 | 24.4065 | 294 | 8412580 | 320.16 | 0.3644 | 1.5648 | 6.8885 | -2.818 | -0.00454 | -0.05448
2026-07-30T13:35:36.163-04:00 | 1469.39 | 24.4898 | 295 | 8417580 | 320.48 | 0.4921 | 1.5664 | 6.8794 | -2.827 | -0.00907 | -0.10884
2026-07-30T13:35:41.155-04:00 | 1474.39 | 24.5732 | 296 | 8422580 | 321 | 0.4921 | 1.5689 | 6.8647 | -2.8418 | -0.01474 | -0.17688
2026-07-30T13:35:46.147-04:00 | 1479.375 | 24.6562 | 297 | 8427580 | 321.24 | 0.433 | 1.5701 | 6.8579 | -2.8486 | -0.00681 | -0.081966
2026-07-30T13:35:51.154-04:00 | 1484.39 | 24.7398 | 298 | 8432580 | 321.52 | 0.5078 | 1.5715 | 6.8499 | -2.8565 | -0.00794 | -0.094995
2026-07-30T13:35:56.145-04:00 | 1489.375 | 24.8229 | 299 | 8437580 | 321.76 | 0.5078 | 1.5726 | 6.8431 | -2.8633 | -0.0068 | -0.081846
2026-07-30T13:36:01.138-04:00 | 1494.375 | 24.9062 | 300 | 8442579 | 321.92 | 0.476 | 1.5734 | 6.8386 | -2.8679 | -0.00454 | -0.05448
2026-07-30T13:36:06.145-04:00 | 1499.375 | 24.9896 | 301 | 8447580 | 322.4 | 0.566 | 1.5758 | 6.825 | -2.8815 | -0.0136 | -0.1632
2026-07-30T13:36:11.137-04:00 | 1504.375 | 25.0729 | 302 | 8452580 | 322.52 | 0.5796 | 1.5763 | 6.8216 | -2.8849 | -0.00341 | -0.04092
2026-07-30T13:36:16.128-04:00 | 1509.359 | 25.156 | 303 | 8457580 | 322.88 | 0.3187 | 1.5781 | 6.8114 | -2.8951 | -0.0102 | -0.12279
2026-07-30T13:36:21.136-04:00 | 1514.375 | 25.2396 | 304 | 8462580 | 323.04 | 0.3423 | 1.5789 | 6.8068 | -2.8996 | -0.00454 | -0.054306
2026-07-30T13:36:26.127-04:00 | 1519.359 | 25.3226 | 305 | 8467580 | 323.64 | 0.4677 | 1.5818 | 6.7898 | -2.9166 | -0.01701 | -0.20478
2026-07-30T13:36:31.119-04:00 | 1524.359 | 25.406 | 306 | 8472580 | 323.92 | 0.476 | 1.5832 | 6.7819 | -2.9246 | -0.00794 | -0.09528
2026-07-30T13:36:36.126-04:00 | 1529.359 | 25.4893 | 307 | 8477580 | 324.08 | 0.405 | 1.584 | 6.7774 | -2.9291 | -0.00453 | -0.05436
2026-07-30T13:36:41.119-04:00 | 1534.359 | 25.5726 | 308 | 8482580 | 324.48 | 0.4921 | 1.5859 | 6.766 | -2.9404 | -0.01134 | -0.13608
2026-07-30T13:36:46.110-04:00 | 1539.344 | 25.6557 | 309 | 8487580 | 324.76 | 0.4239 | 1.5873 | 6.7581 | -2.9484 | -0.00794 | -0.095567
2026-07-30T13:36:51.117-04:00 | 1544.344 | 25.7391 | 310 | 8492580 | 325.04 | 0.3307 | 1.5887 | 6.7501 | -2.9563 | -0.00794 | -0.09528
2026-07-30T13:36:56.110-04:00 | 1549.344 | 25.8224 | 311 | 8497580 | 325.24 | 0.433 | 1.5896 | 6.7445 | -2.962 | -0.00567 | -0.06804
2026-07-30T13:37:01.101-04:00 | 1554.328 | 25.9055 | 312 | 8502580 | 325.64 | 0.4677 | 1.5916 | 6.7331 | -2.9733 | -0.01134 | -0.13652
2026-07-30T13:37:06.108-04:00 | 1559.344 | 25.9891 | 313 | 8507580 | 325.8 | 0.405 | 1.5924 | 6.7286 | -2.9779 | -0.00453 | -0.054187
2026-07-30T13:37:11.100-04:00 | 1564.328 | 26.0721 | 314 | 8512580 | 326.16 | 0.3536 | 1.5941 | 6.7184 | -2.9881 | -0.01021 | -0.12291
2026-07-30T13:37:16.092-04:00 | 1569.328 | 26.1555 | 315 | 8517580 | 326.56 | 0.5 | 1.5961 | 6.707 | -2.9994 | -0.01134 | -0.13608
2026-07-30T13:37:21.099-04:00 | 1574.328 | 26.2388 | 316 | 8522579 | 326.8 | 0.405 | 1.5973 | 6.7002 | -3.0062 | -0.0068 | -0.0816
2026-07-30T13:37:26.091-04:00 | 1579.328 | 26.3221 | 317 | 8527580 | 326.96 | 0.4507 | 1.598 | 6.6957 | -3.0108 | -0.00454 | -0.05448
2026-07-30T13:37:31.083-04:00 | 1584.312 | 26.4052 | 318 | 8532580 | 327.24 | 0.4419 | 1.5994 | 6.6878 | -3.0187 | -0.00794 | -0.095586

## Summary
Metric | Value
Experiment name | DOPC_pH_change
Start time | 2026-07-30T13:11:06-04:00
End time | 2026-07-30T13:37:35-04:00
Stop reason | stopped by user
Operator notes | Add sample conditions, treatment, concentration, temperature, and UV timing here.
Serial port | COM3
Sample interval (s) | 5
Requested duration (min) | 60
Number of readings | 318
Initial pH | 9.7065
Final pH | 6.6878
Net pH change | -3.0187
Minimum pH | 6.6878
Maximum pH | 9.7065
Mean pH | 8.3691
pH standard deviation | 0.98524
Linear pH rate (pH/min) | -0.12707
Calibration slope | -0.02835
Calibration intercept | 15.965
Calibration R² | 0.99981
Calibration point count | 3